## October-2021
Tentative Planned Outages for the month of October-2021 of Hospet Urban
Name of Division | Name of Subdivision | Name of SubStation | Name of Feeder | Feeder Code | Feeder Type | Date | Outage From | Outage To | Duration Of Outage | Outage Type | Area Affected | Reason of Outage
Hosapete Urban | USD-1 | 33KV MUSS, HOSAPETE | F-5 AMARAVATHI FEEDER | 40020575589 | URBAN | 5.10.2021 | 10:00:00AM | 01:00:00PM | 3 Houurs | Scheduled maintainance | Industrial area, Rajeev Nagar, Chittawadigi, Amaravathi, Sai Ram Badavane, Kalyan Nagar, Mallinath Layout | Jungle cutting & line GOS maintainance
| USD-1 | 33KV MUSS, HOSAPETE | F-10 Patel Nagar | 40020575588 | URBAN | 8.10.2021 | 10:00:00AM | 01:00:00PM | 3 Houurs | Scheduled maintainance | Indira Nagar, Rayal orchid Hotel | Line GOS Maintainance
| USD-2 | 110KV MUSS SANKALAPURA | F8-MP.PRAKASH NAGAR | 40020575601 | URBAN | 6.10.2021 | 10:30:00PM | 01:30:00PM | 3 Houurs | SCHELDULED | MP.PRAKASH NAGAR, SANKALAPURA, A.S.GUDI, SAI COLONY, KN.HALLI | GOS MAINTENANCE AND JUNGLE CUTTING
| USD-2 | 33KV MUSS | F11 HAMPI ROAD | 40020575584 | URBAN | 22.10.2021 | 10:30:00PM | 01:30:00PM | 3 Houurs | SCHELDULED | SUNNADA BHAATTI , JAIN COLONY , HAMPI ROAD, | GOS MAINTENANCE
| RSD | Kampli AE-1 | 110/11KV MUSS Kampli | F-2Kampli Town | Urban | 08.10.2021 | 11:00:00PM | 01:00:00PM | 2 Hours | Scheduled | Kakubalu, GV Gere, Pk Halli & Vaddarahalli | Jungle Cutting
| RSD | Kampli AE-1 | 110/11KV MUSS Kampli | F-4Kampli Kottal | Urban | 10.10.2021 | 10:30:00PM | 12:30:00PM | 1 Hour | Scheduled | Kakubalu, GV Gere, Kallahalli & Rajapura | DTC Mantainance
| RSD | Kampli AE-1 | 110/11KV MUSS Kampli | F-3Industrial | Urban | 15.10.201 | 10:00:00AM | 11:00:00AM | 1 Hour | Scheduled | Nagenahalli, Hosuru, Basavanadurga, Benakapura | 11KV GOS Mantanance
| RSD | Kampli AE-1 | 110/11KV MUSS Kampli | F-12 Basaveshwara Nagara | Urban | 16.10.2021 | 11:30:00AM | 12:30:00PM | 1 Hour | Scheduled | PK Halli, Vadrahalli, BV Gere | Stringing of 11KV Loose Spans
| RSD | Kampli AE-1 | 110/11KV MUSS Kampli | F-13Prabhu Camp | Urban | 20.10.2021 | 10:00:00AM | 1:00:00PM | 3Hours | Scheduled | PK Halli, Vadrahalli, BV Gere , Gadiganuru, Dharmasagara & Bhuvanahalli | Replacement of Damaged Poles
| RSD | Kamalapura | 110/11KV MUSS Kamalapura | F-12 Kamalapura Town | Urban | 06.10.2021 | 9:00:00AM | 11:00:00AM | 2 Hours | Scheduled | M.M.Halli Town & Nandibandi Pumpset | Jungle Cutting & Insulater Manatanance
| RSD | Kamalapura | 110/11KV MUSS Kamalapura | F-3Nallapura | NJY | 10.10.2021 | 10:00:00PM | 01:00:00PM | 3 Houurs | Scheduled | Garaga, Nagalapura, Pothalakatte & TB Thanda ETC | Stringing of 11KV Loose Spans
| RSD | Kamalapura | 110/11KV MUSS Kamalapura | F-2 Malapanagudi | Rural | 10.10.2021 | 10:00:00PM | 01:00:00PM | 3 Houurs | Scheduled | Hanumanahalli, Galemmagudi Danapura | GOS Mantanance & Jungle Cutting
| RSD | Kamalapura | 110/11KV MUSS Kamalapura | F-4 University | Rural | 15.10.2021 | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Gunda, Byalakundi, DN Kere & Gollarahalli | Jungle Cutting
| RSD | Kampli AE-2 | 110/11KV MUSS Kampli | F-6Vidyapeeta | NJY | 25.10.2021 | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Haruvanahalli, Chilakanahatti, Thimmalapura & TB Thanda | Jungle Cutting & replacement of Pin Insulater
| RSD | Kampli AE-2 | 110/11KV MUSS Kampli | F-8 KT Pura | IP | 08.10.2021 | 09:00:00AM | 11:00:00AM | 2 Hours | Scheduled | Main Bazar, Basavanna Temple, Housing Board Colony, Sn Pet Are | Mantanance Work
| RSD | Kampli AE-2 | 110/11KV MUSS Kampli | F-3 Belagodhal | IP | 08.10.2021 | 10:00:00AM | 12:00:00PM | 2 Hours | Scheduled | Vinayaka Nagara, Idira Nagara, Sanapura Road, Kottal Road | DTC Wiring
| RSD | Hosapete Rural | 110/11KV MUSS Sanklapura | F-5Basavanadurga | NJY | 09.10.2021 | 09:00:00AM | 01:00:00PM | 4Hours | Scheduled | Kottal | GOS Mantanance
| RSD | Hosapete Rural | 110/11KV MUSS Sanklapura | F-7P.K.Halli | IP | 11.1.0.2021 | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Basaveshwara Nagara, Maruthi Nagara | Line Mantanance
| RSD | Hosapete Rural | 110/11KV MUSS Sanklapura | F-7 B.V.gere | IP | 14.10.2021 | 10:00:00AM | 12:00:00PM | 2 Hours | Scheduled | Sugar Factory, Prabhu Camp, Huligemma Camp | Line Mantanance
| RSD | Hosapete Rural | 110/11KV MUSS Kamalapura | F-13Rajapura | NJY | 16.10.2021 | 09:00:00AM | 12:00:00PM | 3 Hours | Scheduled | Kamalapura Town | Jungle Cutting
| RSD | Hosapete Rural | 110/11KV MUSS Kamalapura | F-13Hostel | NJY | 18.10.2021 | 09:00:00AM | 12:00:00PM | 3 Hours | Scheduled | Nallapura, Hosa Chinnapura SR Thanda | GOS Mantanance
| RSD | M.M.Halli | 66/11KV Venkatapura | F-1 M.M.Halli | Urban | 9.10.2021 | 11:00:00AM | 06:00:00PM | 7 Hours | Scheduled | Hosa Malapanagudi, galemmagudi | Stringing of 11KV Loose Spans
| RSD | M.M.Halli | 66/11KV Venkatapura | F-9 Thimmalapura | NJY | 11.10.2021 | 12:00:00AM | 02:00:00PM | 2 Hours | Scheduled | University, Nallapura | GOS Mantanance & Jungle Cutting
| RSD | M.M.Halli | 66/11KV Venkatapura | F-2Galemmagudi | NJY | 14.10.2021 | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Ramasagara, Kanavi Thimmalapura | Jungle Cuuting
| RSD | M.M.Halli | 66/11KV Venkatapura | F-8Nagalapura | IP | 15.10.2021 | 07:00:00AM | 10:00:00PM | 3 Houurs | Scheduled | KT Pura Gouramma kere | Jungle Cuuting
| RSD | M.M.Halli | 66/11KV Venkatapura | F-6Chilakanahatti | IP | 18.10.2021 | 10:00:00PM | 02:00:00PM | 4 Houurs | Scheduled | Belagodhal | Jungle Cuuting