## Ootages Yadgir Divn
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (June-2021)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F9 TOWN | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | GANDHI CHOUK, TOWN AREAS
2 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F10 AMBEDKAR NAGAR | 2021-06-12 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | AMBEDKAR NAGAR,KANAK CIRCLE ,HATTIKUNI ROAD
3 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F4 INDUSTRIAL | 2021-06-12 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | INDUSTRILA AREA,GUNJ AREA
4 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F1 MM NAGAR | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | APMC YARD,
5 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F5 LAXMINAGAR | 2021-06-12 | 9:00 | 13:00 | FENCING CLEANING WORK | 9480844516 | LAXMIANGAR,LUCKYNAGAR ,AMAR LAYOUT,,BASAVESHWAR NAGAR
6 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F2 RAILWAY STATION | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 9480844516 | STATION AREA,CHIRANJIVI NAGARA,AZIZ COLONY ,NAZARATH COLONY
7 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F6 MINI VIDHAN SOUDA | 2021-06-12 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9480844516 | VIDHAN SOUDHA &SP OFFICE AREA
8 | YADGIR | HATTIKUNI | 33/11KV HATTIKUNI | F1 NJY TUMKUR | 2021-06-12 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395655 | ABBETUMKUR HEDAGIMADRA,TALAK,BOMMASHETTNALLI,,ARIKERA B, ACHOLA
9 | YADGIR | YADGIR RURAL | - | F3 BACHWAR | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395655 | SAMNAPUR &SOUDHAGAR TANDAA,BACHWAR TANDAA,HATTAIKUNI CAMP,
10 | YADGIR | YADGIR RURAL | 33/11 KV BALICHAKRA | BALICHAKRA NJY | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652 | BALICHAKRA,MAILPAUR,HALIGERA,KILLANAKERA-
11 | YADGIR | YADGIR RURAL | 33/11 KV BALICHAKRA | BALICHAKRA NJY | 2021-06-12 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652
12 | Shahapur | Bendegumbali | 33/11 kv station Bendegumbali | Kurihal Njy Feeder | 12.06.2021 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847465 | Abhisihal,Rotnadagi,Konkal,Channur.J,Kurihal
13 | Shahapur | Wandurga | 33/11 kv station Gogi | Hoskera IP Feeder | 12.06.2021 | 10:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847427 | Meghanayak thanda,Nagnetagi thanda,Baglanayak thanda,Wandurga ,Channur.K
14 | Shahapur | Wandurga | 33/11 kv station Gogi | Wandurga Njy Feeder | 13.06.2021 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Taki thanda,Mestri Doddi,Ramesh thnada,Ganganayak thanda,Sevunayak thanda
15 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Markal Njy Feeder | 12.06.2021 | 9:00 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Hattigudur dhaba,M.Kollur,Anwar Camp,Savoor,Tonnur,Katamanalli,Goudur,Yakchinthi
16 | Shahapur | Sagar | 33KV Muss Sagar | Shettigera Njy Feeder | 13.06.2021 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Mahalroza,Dariyapur,Renukanagar,Dariyapur cross,Ganganal village
17 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 26.06.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Gogi,Singanalli,Kanchalkavi
18 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 27.06.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | Mudbul,Hothpeth,Halbhavi,Madriki,Hulkal.k,Maktapur,Hothpeth Thanda,Solapur,Kodamanalli,Shakapur,Diggi,Sadyapur,Saidapur
19 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-2 Halisagar Feeder | 12.06.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Laxmi nagar,Devinagar,Mallayyanagar,Venkateshnagar,Ganganagar,Shirwal cross,S.B.Nagar
20 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-1 Shahapur Feeder | 13.06.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Ganeshnagar,Jalgaroni,Oldsbi Bank,Ground t/c,Machkardoddi
21 | Shahapur | Sirwal | 110KV Muss Shahapur | Sirwal Njy Feeder | 12.06.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Itaga.S,Ibrahimpur village,Anabi,Madnal, Madnal camp
22 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 13.06.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Tokapur thanda,Tokapur,Tadibidi,T.Wadgera,Kurkunda,Kadamagera,Bolari
23 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 12.06.2021 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | Vidyanagar,Kawaspura,Ganganagar,Newbusstand,Industrial area,Indranagar
24 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 12.06.2021 | 9:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
25 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 26.06.2021 | 10:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
26 | Shorapur | Unit-2 | 110/33/11 KVA Muss SURPUR | F2-KARNAL | 12.06.2021 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9880083649 | KUPPAGAL, LINGADALLI, KARNAL, CHOWDESHWARAL,
27 | Shorapur | Unit-2 | 110/33/11 KVA Muss SURPUR | F2-KARNAL | 26.06.2021 | 9:00 | 5:00PM | Jungle cutting,Transformer Structure work | 9880083649 | KUPPAGAL, LINGADALLI, KARNAL, CHOWDESHWARAL,
28 | Shorapur | DEVAPUR | 110/33/11 KVA Muss SURPUR | F10-HAAVINAAL | 12.06.2021 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KAVADIMATTI, GODIHAL, HAAVINAAL, ALDAL, NAGARAL
29 | Shorapur | DEVAPUR | 110/33/11 KVA Muss SURPUR | F10-HAAVINAAL | 26.06.2021 | 10:00 | 2:30 | Jungle cutting,Transformer Structure work | 8431600179 | KAVADIMATTI, GODIHAL, HAAVINAAL, ALDAL, NAGARAL
30 | Shorapur | kakkera | 33kv/11kv,Kakkera | F4-W/S | 12.06.2021 | 10:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9900464673 | NINGAPUR, HOSUR PAI DOODI, SEEGEHALLA, BUGALGATTI, BANDOODI
31 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 12.06.2021 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | MANGAL BAZAR,DOOL PET,MARGAMMA TEMPLE, KADECHOOR
32 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F7-TOWN | 26.06.2021 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | NEW COURT, TASHIL ROAD, SUB JAIL,
33 | Gurmitkal | Gurmitkal | 110/33/11 KV Gurmitkal | Putpak IP | 12.06.2021 | 10:00 | 12.00pm | Maintainance work | 9448395653 | putpak,chandriki, dantapur, mallapur , keshawar, madepalli
34 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | dharmpur IP | 12.06.2021 | 10:00 | 12.00pm | Maintainance work | 7619284818 | Gunjanoor, chinnakar, dharmpur , dharmpur tanda , bettadahali
35 | Gurmitkal | Gajarkot | 33/11 KV Gajarkot | Gajarkot NJY | 13.06.2021 | 10:00 | 13:30 | Maintainance work | 9448395697 | Gajarkot, devarahalli
36 | Gurmitkal | Jaigram | 33/11 KV Jaigram | Kanekal NJY | 12.06.2021 | 10:00 | 13:30 | Maintainance work | 9449384104 | kanekal,madhwar,sambra, vankasambra,kalebelagundi
37 | Gurmitkal | Konkal | 110/33/11 KV Konkal | Minaspur IP | 13.06.2021 | 10:00 | 12.00pm | Maintainance work | 9480847314 | ammappally, muslepally, minaspur
38 | Hunasagi | Hunasagi Rural | 33/11KV Hunasagi | Rajanakolur NJY | 12.06.2021 | 08.00AM | 12.00PM | Maintainace Work | 97480844503 | Rajanakolur Rajanalur tanda Tirtha PN Tanda Bommanaguda Bailkunti Toladinni Sonnapur Tanda Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.KRa
39 | Hunasagi | Kodekal | 33/11KV Kodekal | Dasimayya NJY | 13.06.2021 | 08.00AM | 12.00PM | Maintainace Work | 9449597463 | Mudanur B , Mudanur K Mudanur Tanda Hadral, Teggali ,Rampur, Shakapur,Agani Karibavi Agatirtha,