## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (Aug-2022)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F10 AMBEDKAR NAGAR | 13-08-2022&14-08-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | HATTIKUNI ROAD,MUSLIMPURA
2 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F9 TOWN | 13-08-2022&14-08-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | BOVI WADA,GANDHI CHOWK
3 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F6 MINI VIDHAN SOUDHA | 13-08-2022&14-08-2022 | 9:00 | 13:00 | TC YARD CLEANING | 9480844516 | PWD QUTERS,SP OFFICE
4 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F5 LAXMI NAGAR | 13-08-2022&14-08-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9480844516 | R V SCHOOL, BASAVESHWARA NAGAR
5 | YADGIR | YERGOLE | 33/11KV YERGOLE | F5 WADNALLI IP | 13-08-2022&14-08-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9071908110 | WADNALLI,WADNALLI THANDA
6 | YADGIR | YERGOLE | 33/11KV YERGOLE | F3 VENKATESH NAGAR IP | 13-08-2022&14-08-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9071908110 | VENAKTESH NAGAR DODDA THANDA,KENCHGARHALLI
7 | YADGIR | YADGIR RURAL | 110 KVA YADGIR | F12 PAGALAPUR NJY | 13-08-2022&14-08-2022 | 9:00 | 13:00 | SLANTED POLE,LOOSE PAN,JUNGLE CUTTING | 9448395655 | LINGERI,MALHAR,SAWOOR
8 | YADGIR | YADGIR RURAL | 110 KVA YADGIR | F8 MUNDARAGI NJY | 13-08-2022&14-08-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395655 | BELGERA,ASHNAL
9 | YADGIR | YADGIR RURAL | 33/11 KV BALICHAKRA | F1 KILLANKERA | 13-08-2022&14-08-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652 | GOUDGERA,KILLANKERA
10 | Shahapur | Bendegumbali | 110/33/11KV Muss Wadgera | Machnur Njy Feeder | 13.08.2022 | 0.375 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847465 | Konhalli,Kandalli,Machnoor,Shivanoor,Joldadagi
11 | Shahapur | Wandurga | 33/11 kv station Chamnal | Budnoor Njy Feeder | 14.08.2022 | 0.41667 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847427 | Ukkinal,Ukkinal Thanda,Kemunayak Thanda,Doigudda,Chandapur,Kadamagera,Budnur
12 | Shahapur | Wandurga | 33/11 kv station Gogi | Wandurga Njy Feeder | 13.08.2022 | 0.375 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Rabbanalli,Karkalli,Rajapur,Kakkasagera,Dharshnapur,Hoskera
13 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Rastapur Njy Feeder | 27.08.2022 | 0.375 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Golgera,Rastapur,Vibhuthihalli,Tippanalli,Benakanalli,Kanyakollur
14 | Shahapur | Sagar | 33KV Muss Sagar | Sagar Njy Feeder | 13.08.2022 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Sagar village
15 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 14.08.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Singanalli,Kanchalakavi,Gogi
16 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 28.08.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | Diggi,Saidapur,Hulkal.K,Madriki,Mudbul,Hothpeth,Saldapur
17 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-2 Halisagar Feeder | 13.08.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Laxminagar,Halisagar,Kanakanagar,Devinagar
18 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-1 Shahapur Feeder | 27.08.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Market Area,Gandhi Chowk,
19 | Shahapur | Sirwal | 110KV Muss Shahapur | Sirwal Njy Feeder | 14.08.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Sirwal,Anabi,Hursagundagi,Madnal
20 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 13.08.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Hanchinal,Tekaral,Gundagurthi,Bolari,Kyatnal
21 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 14.08.2022 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | Khaji Colony,Mustafa Area,Indranagar,Asar Mohalla,Vidyanagar
22 | Hunasagi | Hunasagi Rural | 33/11KV Hunasagi | Sadab NJY | 13.08.2022 | 08.00AM | 12.00PM | Maintainace Work | 9480844510 | Maddinamani, Devapur J , Kawri Camp , Islampur Cors,Islampur,Kolihal,Kolihal Dodda Tanda, Kolihal Sanna Tanda, S K P Camp, Gundalager,Araker Cross ,Araker J,Yadahalli,Yadahalli Camp, Sadab Cross, Sadab
23 | Hunasagi | Hunasagi Rural | 33/11KV Kodekal | Rajankolur IP | 14.07.2022 | 08.00AM | 12.00PM | Maintainace Work | 9900868887 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.K
24 | Gurmitkal | Gurmitkal | 110kv Gurmitkal | f3 chandriki | 13.08.2022 | 0.41667 | 12.00pm | Maintainance work | 9448395653 | kchandriki,keshwar,putpak
25 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | Kandkur NJY | 13.08.2022 | 0.41667 | 12.00pm | Maintainance work | 9900590783 | Kandkur , Chintanahalli, Magdampur & paspool
26 | Gurmitkal | Gajarkot | 110/33/11 KV Konkal | F6 Anpur njy | 14.08.2022 | 0.41667 | 0.5625 | Maintainance work | 8152021594 | anpur,kuntimari,minaspur
27 | Gurmitkal | Jaigram | 33/11 KV Gajarkot | rampur ip | 27.08.2022 | 0.41667 | 0.5625 | Maintainance work | 9448395697 | Rampur ,shivapur,tatlgera,yempad
28 | Gurmitkal | Konkal | 110/33/11 KV Konkal | Minaspur IP | 28.08.2022 | 0.41667 | 12.00pm | Maintainance work | 8152021594 | ammappally, muslepally, minaspur
29 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | 63 KVA KARAKAL VILLAGE & 63 KVA Karadakal camp DTC"S | 07.08.2022 | 9:00 | 04:00PM | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 8431600179 | KARADAKAL VILLAGE,
30 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F6-PARSNALLI | 13.08.2022 | 10:00 | 04:00PM | Junglr cutting & Restringing of loose spans on Parasanali feeder. | 8431600179 | PARSNALLI, NADKOOR,YERIYAPUR,KARDKAL,JAINAPUR, KIRDALLI,YEGGANDODDI, GODRIHAL
31 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | GUTTIBASAWANNA | 14.08.2022 | 10:00 | 04:00PM | Junglr cutting on Guttibasawanna feeder. | 8431600179 | AINAPUR, YAKTAPUR, BOMMANALLI, DORNALLI, BEVINAL. B. TALLOLLI & HUVINALLI VILLAGE'S
32 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | 63 KVA WANADAGNOOR VILLAGE, 63 KVA CHINCHOLI VILLAGE DTC"S | 21.08.2022 | 10:00 | 04:00PM | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 8431600179 | WANADAGNO0R, & CHINCHOLI VILLAGE'S
33 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | 100 + 25 KNA JALIBENCHI VILLAGE | 07.08.2022 | 9:00 | 4:00PM | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 9880083649 | ONLY JALIBENCHI VILLAGE | `
34 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F2-AMMAPUR IP | 13.08.2022 | 9:00 | 5:00PM | Junglr cutting on AMMAPUR IP feeder. | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
35 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | 2 X 100 KVA KANNALLI VILLAGE DTC"S | 14.08.2022 | 9:00 | 5:00PM | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 9880083649 | ONLY KANNALLI VILLAGE
36 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | MANGALORE NJY | 21.08.2022 | 9:00 | 5:00PM | Jungle cutting on MANGALORE NJY feeder. | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
37 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 07.08.2022 | 9:00 | 4:00PM | Jungle cutting & Replacement disk insulator, restringing of loose span on MANGALORE NJY feeder. | 9900464673 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
38 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | 63 KVA KBJJNL CAMP & 25 KVA SC WARD KAKKERA DTC"S | 13.08.2022 | 10:00 | 2:30 | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 9900464673 | KBJNL CAMP & SC WARD AREA KAKKERA ONLY
39 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | 63 KVA JUMPERDODDI & 63 KVA MM DOODI DTC"S | 14.08.2022 | 10:00 | 2:30 | Tree branches cutting LT side, Transformer Maintanenece work, LT jumps replacement & Staightening of slanted poles with Restringing of loose spans | 9900464673 | JUMPER DODDI & MM DODDI ONLY
40 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | KAKKERA W/S FEEDER | 21.08.2022 | 0.41667 | 4:00PM | Jungle cutting with replacement of jump"s | 9900464673 | WATER SUPPLY
41 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 07.08.2022 | 0.41667 | 4.00PM | DTC Maintanence work | 8618029567 | MANDAL BHATTI & NAV BHARATH
42 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 13.08.2022 | 0.41667 | 4.00PM | DTC Maintanence work | 8618029567 | KALYAN MANTAP, GOVT HOSPITAL & 250 KVA TIMMAPUR BUSSTAND
43 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | Shorapur Town feeder | 14.08.2022 | 0.41667 | 4.00PM | DTC Maintanence work | 8618029567 | KEMBHAVI ROAD & SHORAPUR BUS STAND area of Shorapur town
44 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | Shorapur Town feeder | 21.08.2022 | 0.41667 | 4.00PM | DTC Maintanence work | 8618029567 | ZP Office & OLD BUS STAND area of Shorapur town