## Nov-2021
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Scheduled Outage Information (Tentitive)
Details of Power Shut Down due to maintenance of Distribution System Nov-2021
Sl no | Date | Sub divn | Name of feder | From (HH:MM) | To (HH:MM) | TOTAL Hrs. | Reason
1 | 2021-11-03 | Yadrami | F1-GUGIHAL(NJY) | 11:00 | 16:50 | 5:50 | JUNGLE CUTTING
2 | 2021-11-05 | Yadrami | F1-GUGIHAL(NJY) | 11:55 | 15:00 | 3:05 | DTC ERRECTION WORK
3 | 2021-11-08 | Yadrami | F1-GUGIHAL(NJY) | 8:30 | 10:45 | 2:15 | JUNGLE CUTTING
4 | 2021-11-10 | Yadrami | F1-GUGIHAL(NJY) | 12:20 | 15:00 | 2:40 | JUNGLE CUTTING
5 | 2021-11-15 | Yadrami | F1-GUGIHAL(NJY) | 14:20 | 18:45 | 4:25 | MAINTANANCE WORK
6 | 2021-11-19 | Yadrami | F1-GUGIHAL(NJY) | 12:00 | 17:45 | 5:45 | JUNGLE CUTTING
7 | 2021-11-23 | Yadrami | F1-GUGIHAL(NJY) | 13:10 | 15:00 | 1:50 | DTC ERRECTION
8 | 2021-11-26 | Yadrami | F1-GUGIHAL(NJY) | 12:20 | 15:25 | 3:05 | MAINTANANCE WORK
9 | 2024-11-01 | Yadrami | F2-YADRAMI(NJY) | 9:25 | 15:55 | 1:00 | JUNGLE CUTTING
1 | 2021-11-06 | Yadrami | F2-YADRAMI(NJY) | 15:35 | 18:00 | 2:25 | DTC ERRECTION WORK
2 | 2021-11-08 | Yadrami | F2-YADRAMI(NJY) | 10:25 | 13:00 | 2:50 | JUNGLE CUTTING
3 | 2021-11-10 | Yadrami | F2-YADRAMI(NJY) | 11:00 | 12:15 | 1:15 | MAINTAINANCE WORK
4 | 2021-11-15 | Yadrami | F2-YADRAMI(NJY) | 10:45 | 15:25 | 4:40 | MAINTAINANCE WORK
5 | 2021-11-17 | Yadrami | F2-YADRAMI(NJY) | 14:20 | 16:25 | 2:05 | JUNGLE CUTTING
6 | 2021-11-01 | Yadrami | F3-KADKOL(IP) | 14:10 | 16:20 | 2:10 | DTC ERRECTION WORK
7 | 2021-11-04 | Yadrami | F3-KADKOL(IP) | 15:00 | 19:20 | 4:20 | JUNGLE CUTTING
8 | 2021-11-06 | Yadrami | F3-KADKOL(IP) | 17:20 | 20:25 | 3:05 | MAINTAINANACE WORK
9 | 2021-11-08 | Yadrami | F3-KADKOL(IP) | 12:00 | 15:30 | 3:30 | JUNGLE CUTTING
10 | 2021-11-10 | Yadrami | F3-KADKOL(IP) | 11:25 | 14:00 | 2:35 | JUNGLE CUTTING
11 | 2021-11-14 | Yadrami | F3-KADKOL(IP) | 14:25 | 16:22 | 1:57 | DTC ERRECTION WORK
12 | 2021-11-03 | Yadrami | F4-WADGERA(IP) | 16:40 | 17:55 | 1:15 | LINE FAULT
13 | 2021-11-05 | Yadrami | F4-WADGERA(IP) | 9:00 | 11:25 | 2:25 | wire cutt work
14 | 2021-11-08 | Yadrami | F4-WADGERA(IP) | 9:00 | 11:40 | 2:40 | DTC ERRECTION WORK
15 | 2021-11-16 | Yadrami | F4-WADGERA(IP) | 14:25 | 16:22 | 1:57 | MAINTAINANACE WORK
16 | 2021-11-19 | Yadrami | F4-WADGERA(IP) | 16:10 | 18:50 | 2:40 | JUNGLE CUTTING
17 | 2021-11-23 | Yadrami | F4-WADGERA(IP) | 12:30 | 14:10 | 1:40 | JUNGLE CUTTING
18 | 2021-11-02 | Yadrami | F5-ARALAGUNDGI(NJY) | 14:30 | 16:00 | 1:30 | JUNGLE CUTTING
19 | 2021-11-04 | Yadrami | F5-ARALAGUNDGI(NJY) | 7:20 | 10:20 | 3:00 | DTC CLEANING
20 | 2021-11-14 | Yadrami | F5-ARALAGUNDGI(NJY) | 14:35 | 15:45 | 1:10 | MAINTANANCE WORK
21 | 2021-11-16 | Yadrami | F5-ARALAGUNDGI(NJY) | 12:05 | 15:20 | 3:15 | JUNGLE CUTTING
22 | 2021-11-18 | Yadrami | F5-ARALAGUNDGI(NJY) | 16:35 | 17:35 | 1:00 | MAINTANANCE WORK
23 | 2021-11-20 | Yadrami | F5-ARALAGUNDGI(NJY) | 11:20 | 12:20 | 1:00 | JUNGLE CUTTING
24 | 2021-11-23 | Yadrami | F5-ARALAGUNDGI(NJY) | 10:35 | 11:40 | 1:05 | DTC ERRECTION
25 | 2021-11-28 | Yadrami | F5-ARALAGUNDGI(NJY) | 8:50 | 12:20 | 3:30 | MAINTANANCE WORK
26 | 2021-01-02 | Yadrami | F6-ALOOR | 12:10 | 13:45 | 1:35 | LINE FAULT
27 | 2021-11-03 | Yadrami | F6-ALOOR | 14:00 | 15:50 | 1:50 | TC SHIFTING WORK
28 | 6/011/2021 | Yadrami | F6-ALOOR | 12:00 | 14:25 | 2:25 | MAINTAINANACE WORK
29 | 2021-11-07 | Yadrami | F6-ALOOR | 11:20 | 12:20 | 1:00 | JUNGLE CUTTING
30 | 2021-11-09 | Yadrami | F6-ALOOR | 11:25 | 15:20 | 3:55 | JUNGLE CUTTING
31 | 2021-11-15 | Yadrami | F6-ALOOR | 9:20 | 12:05 | 2:45 | DTC ERRECTION WORK
32 | 2021-11-16 | Yadrami | F6-ALOOR | 10:40 | 14:30 | 3:50 | MAINTAINANACE WORK
33 | 2021-11-21 | Yadrami | F6-ALOOR | 11:00 | 12:15 | 1:15 | JUNGLE CUTTING
34 | 2021-11-26 | Yadrami | F6-ALOOR | 11:00 | 14:20 | 3:20 | JUNGLE CUTTING
35 | 2021-11-03 | Yadrami | 33/11KV MUSS BILWAR | 11:25 | 15:20 | 3:55 | MAINTAINANACE WORK
36 | 2021-11-09 | Yadrami | 33/11KV MUSS BILWAR | 10:25 | 13:00 | 2:35 | DTC ERRECTION
37 | 2021-11-13 | Yadrami | 33/11KV MUSS BILWAR | 11:00 | 12:15 | 1:15 | JUNGLE CUTTING
38 | 2021-11-24 | Yadrami | 33/11KV MUSS BILWAR | 15:20 | 17:45 | 2:25 | DTC CLEANING
39 | 2021-11-02 | Yadrami | F4 JAMAKANDI IP | 16:20 | 17:40 | 1:20 | LINE FAULT
40 | 2021-11-04 | Yadrami | F4 JAMAKANDI IP | 11:00 | 14:50 | 3:50 | LINE FAULT
41 | 2021-11-06 | Yadrami | F4 JAMAKANDI IP | 11:55 | 15:00 | 3:05 | LINE FAULT
42 | 2021-11-10 | Yadrami | F4 JAMAKANDI IP | 8:30 | 10:45 | 2:15 | GK WORK
43 | 2021-11-12 | Yadrami | F4 JAMAKANDI IP | 12:20 | 15:00 | 2:40 | DTC ERRECTION
44 | 2021-11-17 | Yadrami | F4 JAMAKANDI IP | 14:20 | 18:45 | 4:25 | JUNGLE CUTTING
45 | 2021-11-22 | Yadrami | F4 JAMAKANDI IP | 12:00 | 17:45 | 5:45 | MAINTAINANACE WORK
46 | 2021-11-02 | Yadrami | F5 PADADALLI NJY | 13:10 | 15:00 | 1:50 | JUNGLE CUTTING
47 | 2021-11-04 | Yadrami | F5 PADADALLI NJY | 12:20 | 15:25 | 3:05 | DTC ERRECTION
48 | 2021-11-06 | Yadrami | F5 PADADALLI NJY | 9:25 | 12:55 | 3:30 | MAINTAINANACE WORK
49 | 2021-11-13 | Yadrami | F5 PADADALLI NJY | 15:35 | 18:00 | 2:25 | DTC CLEANING
50 | 2024-11-02 | Yadrami | F6 CHIGARALLI NJY | 10:25 | 13:00 | 1:00 | JUNGLE CUTTING
51 | 2021-11-04 | Yadrami | F6 CHIGARALLI NJY | 11:00 | 12:15 | 1:15 | DTC ERRECTION WORK
52 | 2021-11-08 | Yadrami | F6 CHIGARALLI NJY | 15:40 | 18:30 | 2:50 | JUNGLE CUTTING
53 | 2021-11-11 | Yadrami | F6 CHIGARALLI NJY | 12:25 | 14:25 | 2:00 | MAINTAINANCE WORK
54 | 2021-11-13 | Yadrami | F6 CHIGARALLI NJY | 10:45 | 15:25 | 4:40 | MAINTAINANCE WORK
55 | 2021-11-17 | Yadrami | F6 CHIGARALLI NJY | 14:20 | 16:25 | 2:05 | JUNGLE CUTTING
56 | 2021-11-02 | Yadrami | F1 MALLI NJY | 14:10 | 16:20 | 3:00 | JUNGLE CUTTING
57 | 2021-11-04 | Yadrami | F1 MALLI NJY | 15:00 | 19:20 | 1:00 | DTC ERRECTION WORK
58 | 2021-11-10 | Yadrami | F1 MALLI NJY | 17:20 | 20:25 | 2:10 | JUNGLE CUTTING
59 | 2021-11-19 | Yadrami | F1 MALLI NJY | 12:00 | 15:30 | 1:00 | MAINTAINANCE WORK
60 | 2021-11-23 | Yadrami | F1 MALLI NJY | 11:25 | 14:00 | 1:00 | MAINTAINANCE WORK
61 | 2021-11-27 | Yadrami | F1 MALLI NJY | 14:25 | 16:22 |  | JUNGLE CUTTING
62 | 2021-11-03 | Yadrami | F2 KONDAGULI IP | 16:10 | 18:50 | 2:40 | LT WORK
63 | 2021-11-06 | Yadrami | F2 KONDAGULI IP | 12:30 | 14:10 | 1:40 | HT WORK
64 | 2021-11-09 | Yadrami | F2 KONDAGULI IP | 14:30 | 16:00 | 1:30 | TC CABLE WORK
65 | 2021-11-11 | Yadrami | F2 KONDAGULI IP | 7:20 | 10:20 | 3:00 | LINE FAULT
66 | 2021-11-13 | Yadrami | F2 KONDAGULI IP | 14:35 | 15:45 | 1:10 | LT WORK
67 | 2021-11-21 | Yadrami | F2 KONDAGULI IP | 12:05 | 6:05 | 6:00 | TC CLEANING WORK
68 | 2021-11-02 | Yadrami | F3 SUMBAD NJY | 16:35 | 17:35 | 1:10 | TC WORK
69 | 2021-11-04 | Yadrami | F3 SUMBAD NJY | 11:20 | 12:20 | 2:45 | JUNGLE CUTTING
70 | 2021-11-08 | Yadrami | F3 SUMBAD NJY | 10:35 | 11:40 | 1:20 | TC WORK
71 | 2021-11-11 | Yadrami | F3 SUMBAD NJY | 8:50 | 12:20 | 1:50 | HT JUMP WORK
72 | 2021-11-15 | Yadrami | F3 SUMBAD NJY | 11:20 | 13:20 | 4:45 | TC CABLE WORK
73 | 2021-11-19 | Yadrami | F3 SUMBAD NJY | 11:00 | 12:15 | 1:00 | 11KV JUMP WORK
74 | 2021-11-25 | Yadrami | F3 SUMBAD NJY | 16:30 | 17:35 | 1:20 | JUNGLE CUTTING
75 | 2021-11-03 | Yadrami | F4 MAGANAGERA NJY | 15:15 | 17:40 | 1:05 | JUNGLE CUTTING
76 | 2021-11-05 | Yadrami | F4 MAGANAGERA NJY | 16:25 | 19:25 | 1:50 | DTC CLEANING
77 | 2021-11-06 | Yadrami | F4 MAGANAGERA NJY | 13:15 | 15:20 | 1:00 | MAINTANANCE WORK
78 | 2021-11-11 | Yadrami | F4 MAGANAGERA NJY | 9:15 | 10:45 | 1:05 | JUNGLE CUTTING
79 | 2021-11-17 | Yadrami | F4 MAGANAGERA NJY | 13:10 | 15:20 | 4:25 | DTC ERRECTION WORK
80 | 2111/2021 | Yadrami | F4 MAGANAGERA NJY | 12:20 | 14:00 | 3:00 | JUNGLE CUTTING
81 | 2021-11-23 | Yadrami | F4 MAGANAGERA NJY | 12:20 | 14:00 | 2:10 | JUNGLE CUTTING
82 | 2021-11-01 | Yadrami | F5 KURALAGERA IP | 11:40 | 12:45 | 1:05 | DTC ERRECTION WORK
83 | 2021-11-03 | Yadrami | F5 KURALAGERA IP | 17:15 | 19:05 | 1:50 | JUNGLE CUTTING
84 | 2021-11-09 | Yadrami | F5 KURALAGERA IP | 11:15 | 12:15 | 1:00 | DTC CLEANING
85 | 2021-11-11 | Yadrami | F5 KURALAGERA IP | 9:15 | 10:45 | 1:05 | MAINTANANCE WORK
86 | 2021-11-14 | Yadrami | F5 KURALAGERA IP | 13:10 | 15:20 | 4:25 | JUNGLE CUTTING
87 | 2021-11-21 | Yadrami | F5 KURALAGERA IP | 12:20 | 14:00 | 3:00 | MAINTANANCE WORK
88 | 2021-11-24 | Yadrami | F5 KURALAGERA IP | 12:20 | 14:00 | 2:10 | JUNGLE CUTTING
89 | 2021-11-22 | Yadrami | F5 KURALAGERA IP | 11:40 | 12:45 | 1:30 | DTC ERRECTION
90 | 2021-11-25 | Yadrami | F5 KURALAGERA IP | 17:15 | 19:05 | 2:10 | MAINTANANCE WORK
91 | 2021-11-27 | Yadrami | F5 KURALAGERA IP | 11:15 | 12:15 | 1:40 | DTC ERRECTION
92 | 2021-11-03 | Shahabad | F1 Auxillary | 11:40 | 12:55
93 | 2021-11-04 | Shahabad | F2 Railway Station | 1:40 | 2:15
94 | 2021-11-06 | Shahabad | F2 Railway Station | 12:30 | 1:45
95 | 2021-11-09 | Shahabad | F4 Town | 1:40 | 2:15
96 | 2021-11-12 | Shahabad | F8 Old Shahabad | 11:50 | 12:55
97 | 2021-11-13 | Shahabad | F4 Town | 11:40 | 12:55
98 | 2021-11-16 | Shahabad | F8 Old Shahabad | 1:40 | 2:15
99 | 2021-11-20 | Shahabad | F2 Railway Station | 2:30 | 3:45
100 | 2021-11-24 | Shahabad | F4 Town | 10:00 | 11:15
101 | 2021-11-04 | Shahabad | F3 Bennur | 12:20 | 1:45
102 | 2021-11-09 | Shahabad | F11 Chandralamba | 1:40 | 2:35
103 | 2021-11-14 | Shahabad | F7 HMP | 12:30 | 1:45
104 | 2021-11-20 | Shahabad | F3 Bennur | 10:00 | 11:15
105 | 2021-11-24 | Shahabad | F11 Chandralamba | 1:40 | 2:15
106 | 2021-11-06 | Shahabad | F1 Wadi | 12:20 | 1:56
107 | 2021-11-09 | Shahabad | F5 Halkatta | 1:20 | 2:45
108 | 2021-11-24 | Shahabad | F1 Wadi | 10:00 | 11:15
109 | 2021-11-03 | Shahabad | F11 Chandralamba | 11:50 | 12:23
110 | 2021-11-09 | Shahabad | F10 Water Supply | 1:45 | 2:15
111 | 2021-11-20 | Shahabad | F2 Konchur | 10:00 | 11:15
112 | 2021-11-06 | Shahabad | F2 Konchur | 11:40 | 12:35
113 | 2021-11-09 | Shahabad | F3 Kumbarhalli | 12:30 | 1:58
114 | 2021-11-13 | Shahabad | F4 Nalwar | 1:40 | 2:55
115 | 2021-11-15 | Shahabad | F4 Chandralamba | 11:50 | 12:40
116 | 2021-11-16 | Shahabad | F2 Konchur | 10:00 | 11:15
117 | 2021-11-17 | Shahabad | F3 Kumbarhalli | 11:40 | 12:35
118 | 2021-11-13 | Shahabad | F5 Halkatta | 12:45 | 1:57
119 | 2021-11-18 | Shahabad | F3 Kumbarhalli | 2:30 | 3:45
120 | 2021-11-20 | Shahabad | F4 Nalwar | 1:40 | 2:35
121 | 2021-11-03 | Shahabad | F4 Nalwar | 12:45 | 1:57
122 | 2021-11-06 | Shahabad | F4 Chandralamba | 2:30 | 3:45
123 | 2021-11-24 | Shahabad | F4 Chandralamba | 12:20 | 1:56
124 | 2021-11-27 | Shahabad | F5 Halkatta | 10:00 | 11:15
125 | 08.11.2021 | Chitapur | Railway station | 11:25 | 15:10 | 3:45 | JUNGLE CUTTING
126 | 11.11.2021 | Chitapur | Railway station | 11:15 | 16:10 | 4:55 | DTC MAINTENENCE WORK
127 | 12.11.2021 | Chitapur | Bhaharpet Feeder | 9:10 | 12:10 | 3:00 | JUNGLE CUTTING
128 | 15.11.2021 | Chitapur | Bhaharpet Feeder | 10:00 | 13:10 | 3:10 | DTC MAINTENENCE WORK
129 | 08.11.2021 | Chitapur | Industrial | 9:20 | 11:20 | 2:00 | JUNGLE CUTTING
130 | 08.11.2021 | Chitapur | NJY Mudbool | 8:50 | 14:10 | 5:20 | JUNGLE CUTTING
131 | 09.11.2021 | Chitapur | NJY Mudbool | 9:10 | 11:10 | 2:00 | DTC MAINTENENCE WORK
132 | 10.11.2021 | Chitapur | Diggion-Satnoor | 9:40 | 12:10 | 2:30 | JUNGLE CUTTING
133 | 09.11.2021 | Chitapur | Ramthirth | 10:05 | 13:10 | 3:05 | DTC MAINTENENCE WORK
134 | 11.11.2021 | Chitapur | Ramthirth | 9:10 | 14:05 | 4:55 | JUNGLE CUTTING
135 | 12.11.2021 | Chitapur | Dandgund | 9:20 | 11:55 | 2:35 | JUNGLE CUTTING
136 | 15.11.2021 | Chitapur | Dandgund | 9:35 | 15:25 | 5:50 | MAINTAINANACE WORK
137 | 09.11.2021 | Chitapur | Rawoor | 10:00 | 15:25 | 5:25 | JUNGLE CUTTING
138 | 10.11.2021 | Chitapur | Rawoor | 9:40 | 13:20 | 3:40 | DTC MAINTENENCE WORK