## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (April-2022)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F9 TOWN | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | CHAKKARKATTA,GANDHI CHOUK, TOWN AREAS
2 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F10 AMBEDKAR NAGAR | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | AMBEDKAR NAGAR,KANAK CIRCLE ,HATTIKUNI ROAD
3 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F4 INDUSTRIAL | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | INDUSTRILA AREA,GUNJ APMC AREA
4 | YADGIR | UNIT-I | 110/33/11KV YADGIR | F1 MM NAGAR | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | MANIKESHWARI NAGAR
5 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F5 LAXMINAGAR | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | FENCING CLEANING WORK | 9480844516 | LAXMIANGAR,LUCKYNAGAR ,AMAR LAYOUT,,BASAVESHWAR NAGAR
6 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F2 RAILWAY STATION | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9480844516 | STATION AREA,CHIRANJIVI NAGARA,AZIZ COLONY ,NAZARATH COLONY
7 | YADGIR | UNIT-II | 110/33/11KV YADGIR | F6 MINI VIDHAN SOUDA | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9480844516 | VIDHAN SOUDHA &SP OFFICE AREA
8 | YADGIR | HATTIKUNI | 33/11KV HATTIKUNI | F1 NJY TUMKUR | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395655 | ABBETUMKUR HEDAGIMADRA,TALAK,BOMMASHETTNALLI,,ARIKERA B, ACHOLA
9 | YADGIR | YADGIR RURAL | - | F3 BACHWAR | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395655 | SAMNAPUR &SOUDHAGAR TANDAA,BACHWAR TANDAA,HATTAIKUNI CAMP,
10 | YADGIR | YADGIR RURAL | 33/11 KV BALICHAKRA | BALICHAKRA NJY | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652 | BALICHAKRA,MAILPAUR,HALIGERA,KILLANAKERA-
11 | YADGIR | YADGIR RURAL | 33/11 KV BALICHAKRA | BALICHAKRA NJY | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652
12 | YADGIR | HATTIKUNI | 33/11KV YERGOL | YERGOL NJY | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | FENCING CLEANING WORK | 9448395655 | YERGOLA VILLAGE
13 | YADGIR | SAIDAPUR | 110/33/11KV SAIDAPUR | BADDEPPALY NJY | 09-04-2022 & 10-04-2022 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395654 | BADDEPALLI VILLAGE
14 | Gurmitkal | Gurmitkal | 110/33/11 KV Gurmitkal | Putpak IP | 10.04.22 | 10:00 | 12.00pm | Maintainance work | 9448395653 | putpak,chandriki, dantapur, mallapur , keshawar, madepalli
15 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | Kandkur NJY | 10.04.22 | 10:00 | 12.00pm | Maintainance work | 7619284818 | Kandkur , Chintanahalli, Magalmpur & paspool
16 | Gurmitkal | Gajarkot | 33/11 KV Gajarkot | Gajarkot NJY | 11.04.22 | 10:00 | 13:30 | Maintainance work | 9448395697 | Gajarkot, devarahalli
17 | Gurmitkal | Jaigram | 33/11 KV Jaigram | Kanekal NJY | 24.04.22 | 10:00 | 13:30 | Maintainance work | 9449384104 | kanekal,madhwar,sambra, vankasambra,kalebelagundi
18 | Gurmitkal | Konkal | 110/33/11 KV Konkal | anpur NJY | 25.04.22 | 10:00 | 12.00pm | Maintainance work | 9480847314 | ammappally, muslepally, minaspur
19 | Shahapur | Bendegumbali | 110/33/11KV Muss Wadgera | Kurihaal Njy Feeder | 09.04.2022 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847465 | Tumkur,Konkal,Channur,Kamalanayak thanda,Kanti nayak thanda,Kurihaal
20 | Shahapur | Wandurga | 33/11 kv station Chamnal | Budnoor Njy Feeder | 09.04.2022 | 10:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847427 | B.Kadamagera,Budnur,B.Kadmagaera,Dorigudda,Chamanal thanda,Ukkinal,Ukkinal thanda
21 | Shahapur | Wandurga | 33/11 kv station Gogi | Wandurga Njy Feeder | 10.04.2022 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Rabbanalli,Karkalli,Rajapur,Kakkasagera,Dharshnapur,Haranagera,Ganganayak thanda,Ramunayak thanda,Hoskera
22 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Rastapur Njy Feeder | 09.04.2022 | 9:00 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Rastapur,Golgera,Vibhuthihalli,Tipanetagi,Kanyakollur,Benakanalli,Kanyakollur thanda
23 | Shahapur | Sagar | 33KV Muss Sagar | Sagar Njy Feeder | 10.04.2022 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Sagar
24 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 09.04.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Gogi.P,Gogi,k
25 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 23.04.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | Diggi,Madriki,Halbhavi,Mudbool,Soldapur,Hothpeth
26 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-2 Halisagar Feeder | 23.04.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Devinagar,Basaveshwara nagar,Halbhavi Road,Kanaka Nagar,Laxmi Nagar
27 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-1 Shahapur Feeder | 24.04.2022 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Chamundeshwari Nagar,Gandi chowk,Kumbar oni
28 | Shahapur | Sirwal | 110KV Muss Shahapur | Sirwal Njy Feeder | 09.04.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Sirwal,Madnal,Hursagundagi.Ibrahimpur
29 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 09.04.2022 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Gundagurthi,Hanchinal,Kadamagera,Bolari,Tekaral,Kyatnal
30 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 10.04.2022 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | Khawaspur,Indranagar,New bus stand area,Ashraya colony,Mamta colony
31 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 09.04.2022 | 9:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
32 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 2022-04-23 | 10:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
33 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F1-MANGALORE NJY | 09.04.2022 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR,JAALIBENCHI, MANGALORE,KANNALLI,BAICHBAL,KUDLGI,KACHAKNOOR,K.TALLAHALLI | `
34 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F1-MANGALORE NJY | 2022-04-23 | 9:00 | 5:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR,JAALIBENCHI, MANGALORE,KANNALLI,BAICHBAL,KUDLGI,KACHAKNOOR,K.TALLAHALLI
35 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 10.04.2022 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
36 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 2022-04-23 | 10:00 | 2:30 | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
37 | Shorapur | kakkera | 33kv/11kv,Kakkera | F3-KAKKERA | 10.04.2022 | 10:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9900464673 | KAKKERA
38 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F4-W/S | 10.04.2022 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | WATER SUPPLY TOWN
39 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F4-W/S | 2022-04-23 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | WATER SUPPLY TOWN
40 | Hunasagi | Kodekal | 33/11KV Kodekal | Rajanakolur NJY | 09.04.2022 | 08.00AM | 12.00PM | Maintainace Work | 9480844509 | Rajanakolur Rajanalur tanda Tirtha PN Tanda Bommanaguda Bailkunti Toladinni Sonnapur Tanda Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.KRa
41 | Hunasagi | Hunasagi | 110/11KV Kemabavi | Dasimayya NJY | 10.04.2022 | 08.00AM | 12.00PM | Maintainace Work | 9480844510 | Mudanur B , Mudanur K Mudanur Tanda Hadral, Teggali ,Rampur, Shakapur,Agani Karibavi Agatirtha,