## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (Nov-2021)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | Yadgir | UNIT-I | 110/33/11KV YADGIR | F9 TOWN | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | GANDHI CHOUK, TOWN AREAS
2 | Yadgir | UNIT-I | 110/33/11KV YADGIR | F10 AMBEDKAR NAGAR | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | AMBEDKAR NAGAR,KANAK CIRCLE ,HATTIKUNI ROAD
3 | Yadgir | UNIT-I | 110/33/11KV YADGIR | F4 INDUSTRIAL | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 944839565 | INDUSTRILA AREA,GUNJ AREA
4 | Yadgir | UNIT-I | 110/33/11KV YADGIR | F1 MM NAGAR | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | TC CABLE CHANGING | 944839565 | APMC YARD,
5 | Yadgir | UNIT-II | 110/33/11KV YADGIR | F5 LAXMINAGAR | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | FENCING CLEANING WORK | 9480844516 | LAXMIANGAR,LUCKYNAGAR ,AMAR LAYOUT,,BASAVESHWAR NAGAR
6 | Yadgir | UNIT-II | 110/33/11KV YADGIR | F2 RAILWAY STATION | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | TC CABLE CHANGING | 9480844516 | STATION AREA,CHIRANJIVI NAGARA,AZIZ COLONY ,NAZARATH COLONY
7 | Yadgir | UNIT-II | 110/33/11KV YADGIR | F6 MINI VIDHAN SOUDA | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9480844516 | VIDHAN SOUDHA &SP OFFICE AREA
8 | Yadgir | HATTIKUNI | 33/11KV HATTIKUNI | F1 NJY TUMKUR | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395655 | ABBETUMKUR HEDAGIMADRA,TALAK,BOMMASHETTNALLI,,ARIKERA B, ACHOLA
9 | Yadgir | HATTIKUNI | 33/11KV HATTIKUNI | F3 BACHWAR | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395655 | SAMNAPUR &SOUDHAGAR TANDAA,BACHWAR TANDAA,HATTAIKUNI CAMP,
10 | Yadgir | YADGIR RURAL | 33/11 KV BALICHAKRA | BALICHAKRA NJY | 13-11-2021 & 14-11-2021 | 9:00 | 13:00 | TC CABLE CHANGING | 9448395652 | BALICHAKRA,MAILPAUR,HALIGERA,KILLANAKERA-
11 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F6-PARSNALLI | 13.11.2021 | 9:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | PARSNALLI, NADKOOR,YERIYAPUR,KARDKAL,JAINAPUR, KIRDALLI,YEGGANDODDI, GODRIHAL
12 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F6-PARSNALLI | 27.11.2021 | 10:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | PARSNALLI, NADKOOR,YERIYAPUR,KARDKAL,JAINAPUR, KIRDALLI,YEGGANDODDI, GODRIHAL
13 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F2-AMMAPUR IP | 13.11.2021 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
14 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F2-AMMAPUR IP | 27.11.2021 | 9:00 | 5:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
15 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 13.11.2021 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
16 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 27.11.2021 | 10:00 | 2:30 | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
17 | Shorapur | kakkera | 33kv/11kv,Kakkera | F5- W/S | 13.11.2021 | 10:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9900464673 | WATER SUPPLY, KAKKERA TOWN
18 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 13.11.2021 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | MANGAL BAZAR,DOOL PET,MARGAMMA TEMPLE, KADECHOOR
19 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 27.11.2021 | 0.41667 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | MANGAL BAZAR,DOOL PET,MARGAMMA TEMPLE, KADECHOOR
20 | Gurmitkal | Gurmitkal | 110/33/11 KV Gurmitkal | Gurmitkal | 13.11.2021 | 0.41667 | 12.00pm | Maintainance work | 9448395653 | Gurmitkal town
21 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | Kandkur NJY | 13.11.2021 | 0.41667 | 12.00pm | Maintainance work | 7619284818 | Kandkur , Chintanahalli, Magalmpur & pushpull
22 | Gurmitkal | Gajarkot | 33/11 KV Gajarkot | Kakalwar NJY | 13.11.2021 | 0.41667 | 13:30 | Maintainance work | 9448395697 | Kaklwar. MT pally , siddapur ,chapetla
23 | Gurmitkal | Jaigram | 33/11 KV Jaigram | Jaigram NJY | 27.11.2021 | 0.41667 | 13:30 | Maintainance work | 9449384104 | Jaigram,azalapur,bassapur,idloor,wadavatta
24 | Gurmitkal | Konkal | 110/33/11 KV Konkal | Minaspur IP | 27.11.2021 | 0.41667 | 12.00pm | Maintainance work | 9480847314 | ammappally, muslepally, minaspur
25 | Hunasagi | Hunasagi Rural | 33/11KV Hunasagi | B.Salavadagi | 16.01.2021 | 08.00AM | 12.00PM | Maintainace Work | 97480844510 | Bannahatti,Kojapur,Kuppi,Dyamanal,Malnoor,Gulabal
26 | Hunasagi | Rajankollur | 33/11KV Kodekal | Geddalamari IP | 16.01.2021 | 08.00AM | 12.00PM | Maintainace Work | 9480847503 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.K
27 | Shahapur | Bendegumbali | 110/33/11 kv station Wadgera | Kurihal Njy Feeder | 13.11.2021 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847465 | Konkal,gondenoor ,channu,
28 | Shahapur | Wandurga | 33/11 kv station Chamnal | Chamnal NJY | 13.11.2021 | 10:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847427 | Chamnal,Chamnal thanda,Nadiyal gundapur
29 | Shahapur | Wandurga | 33/11 kv station Gogi | Wandurga Njy Feeder | 14.11.2021 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Wanadurga,aldal,kakkesgera,hosakera,rajapur
30 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Markal Njy Feeder | 13.11.2021 | 9:00 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Rastapur,savoor,kanyakolur,birnoor,basantpur
31 | Shahapur | Sagar | 33KV Muss Sagar | Shettigera Njy Feeder | 13.11.2021 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Sagar,shettikera
32 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 13.11.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Gogi peth,kanchankavi,Gogi.k
33 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 27.11.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | sadyapur,naganatagi,shahapur thanda,hothpeth,mudbul,maktapur,engalagi,halbhavi
34 | Shahapur | Unit-1 | 110 KV Muss Shahapur | F-2 Halisagar Feeder | 27.11.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Ganesh nagar,halisagar, market area,kolur base,old tahsil office
35 | Shahapur | Unit-1 | 110 KV Muss Shahapur | F-1 Shahapur Feeder | 28.11.2021 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Basaveshwar chowk,halbavi road,venkkateshwar nagar,basaveshwara nagar
36 | Shahapur | Sirwal | 110KV Muss Shahapur | Sirwal Njy Feeder | 13.11.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Sirwal,anabi,imbrahimpur,madnal
37 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 14.11.2021 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Tokapur thanda,Tokapur,Tadibidi,T.Wadgera,Kurkunda,Kadamagera,Bolari,tekaral
38 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 28.11.2021 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | B.Gudi kada office ,vidyanagar, bapugouda nagar ,guttipeth