## 15.04.19 (hidden)
Schedule Outages of Sedam Division as on 15.04.2019
Sl no | Section | Sub-dvn | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill |  | Nill | Nill | 15.04.19
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda
7 | Kurkunta | Sedam | 9 am to 11 am | F2 Somapalli IP | Somapalli, Mdakal, Kontanpalli, Rajol, Eranapalli, Telkur, Habal.T, Yaddalli, Hayyal & Sangavi.T | Maintenance work | 15.04.19
8 | Sedam |  | Nill | Nill | Nill | Nill | 15.04.19
9 | Mudhol
10 | Malkhed
11 | Mothakpalli
12 | Kodla |  | 11 am to 4 pm | Batgera NJY feeder, Ranjol IP feeder, | Batgera.B, Batgera.K, Batgera gate, Ranjol, Sindhanamadu, Madwar Rudrawar, Kachwar, Chitkanpalli | NCC work | 15.04.19

## 16.04.19 (hidden)
Schedule Outages of Sedam Division as on 16.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 16.04.2019
2 | Sulepeth |  | Sulepeth 33/11KV S/S | 10.00 a.m to 12.00p.m | Mogha feeder | Yalakpalli,Huvinbhavi,Rustampur,Ganjigera,Tadpalli,Pastapur,Mogha,Mogha Thanda | NJY Biffurcation Work
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 10.00 a.m to 2.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 16.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 16.04.2019
8 | Sedam
9 | Mudhol
10 | Malkhed
11 | Mothakpalli
12 | Kodla |  | 220KV R/S Station Batgera Station | 11.00 a.m to 5.00p.m | Ranjol IP Feeder Batgera Njy Feeder | Madwar,Kachawar,Ranjol,Chitkanpally,Rudrawar,Madaranagasapalli,Sindhanmadu,Kachawar,T.Bommanahalli Villages with Ip feeder | HT-Re conductoring work (DDGJUY) | 16.04.2019

## 17.04.19 (hidden)
Schedule Outages of Sedam Division as on 17.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill | Nil | Nil | Nil | Nil | 17.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11:00 a.m to 3:00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY wroks | 17.04.2019
7 | Kurkunta | Sedam | Nil | Nil | Nil | Nil | Nil | 17.04.2019
8 | Sedam
9 | Mudhol |  | Mughol 33/11KV sub-station | 11:00 a.m to 1:00p.m | Adki feeder | Adki village, Adki thanda | Maintenance work | 17.04.2019
10 | Malkhed |  | Nil | Nil | Nil | Nil | Nil | 17.04.2019
11 | Mothakpalli
12 | Kodla

## 26.04.19 (hidden)
Schedule Outages of Sedam Division as on 26.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill | Nil | Nil | Nil | Nil | 26.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | NILL | NILL | NILL | NILL | NILL | 26.04.2019
7 | Kurkunta | Sedam | Nil | Nil | Nil | Nil | Nil | 26.04.2019
8 | Sedam
9 | Mudhol |  | NILL | NILL | NILL | NILL | NILL | 26.04.2019
10 | Malkhed |  | Nil | Nil | Nil | Nil | Nil | 26.04.2019
11 | Mothakpalli
12 | Kodla

## 27.04.19 (hidden)
Schedule Outages of Sedam Division as on 27.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 27.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 10.00 a.m to 1.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 27.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 27.04.2019
8 | Sedam
9 | Mudhol |  | Mudhol 33/11KV S/S | 7.00 a.m to 11.00p.m | F3 Mudhol Feeder | Mudhol Town | Shifting of 11KV Line Road widening work
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  | 220KV R/S Station Batgera Station | 10.00 a.m to 6.00p.m | Ranjol IP Feeder Batgera Njy Feeder | Madwar,Kachawar,Ranjol,Chitkanpally,Rudrawar,Madaranagasapalli,Sindhanmadu,Kachawar,T.Bommanahalli Villages with Ip feeder | HT-Re conductoring work (DDGJUY) | 27.04.2019

## 28.04.19 (hidden)
Schedule Outages of Sedam Division as on 28.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 28.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | Nil | Nil | Nil | Nil | 28.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 28.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  | 33/11 KV Kodla | 10.00AM to 4:00PM | Alloli | Kalkmba & Benknalli Villages | DDUGJY Works | 28.04.2019

## 30.04.19 (hidden)
Schedule Outages of Sedam Division as on 30.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 30.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  |  | Nil | Nil | Nil | Nil | 30.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 30.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 30.04.2019

## 01.05.19 (hidden)
Schedule Outages of Sedam Division as on 01.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 30.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  |  | Nil | Nil | Nil | Nil | 30.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 30.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 30.04.2019

## 02.05.19 (hidden)
Schedule Outages of Sedam Division as on 02.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 02.05.2019
2 | Sulepeth |  | SULEPETH 33/11KV S/S | 10.30 a.m to 2.00p.m | F6 Gadikeshwar Feeder | Tegaltippi,Halchera | Maintenance Work
3 | Ratkal |  |  | Nil | Nil | Nil | Nil
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11.00 a.m to 2.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 02.05.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 02.05.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 02.05.2019

## 03.05.19 (hidden)
Schedule Outages of Sedam Division as on 03.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 03.05.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11.30 p.m to 4.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | Tripping 5 MVA Transformer | Executive Engineer O&M Sedam along with RT Sub-divn Staff Attending the Fault at 33 KV MUSS Nidagunda Due to Dark Out the station
[5 empty] | F5 Huvinhalli Feeder | Huvinahlli,Sirolli
[5 empty] | F2Nidagunda | Nidagunda,Venkatapur,Jettur,Halkoda, Potungal
[5 empty] | F4 Karchakhed | Karchakhed,Chatrasala
[5 empty] | F3 Sirolli Ipset | Huvinahlli,Sirolli,Nidagunda,Venkatapur,Jettur,Halkoda, Potungal,
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | . | 03.05.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 03.05.2019

## March-2021 (hidden)
Schedule Outages of Sedam Division for the month of March-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | Sedam feeder, | Sedam town | Maintenance works | 15.03.2021
2 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | Kamalavati feeder | Sedam town | Maintenance works | 16.03.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 19.03.2021
4 |  |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV MalkhedNJY feeder | Malkhed, Bijanalli, Kishan singh thanda | Maintenance works | 20.03.2021
5 |  |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Nilhalli NJY feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 21.03.2021
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Kurkunta NJY feeder | Kurkunta, Telkur, Habal.T, | Maintenance works | 16.03.2021
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal NJY feeder | Madkal, Sompalli, Industrial | Maintenance works | 18.03.2021
8 | Mudhol |  | 33/11KV Mudhol s/s | 10:00 AM to 2:00 PM | 11KV Adki NJY feeder | Adki, Sompalli, Eranapalli, Gopanpalli | Maintenance works | 15.03.2021
9 |  |  | 33/11KV Mudhol s/s | 10:00 AM to 2:00 PM | 11KV Mudhol NJY feeder | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 21.03.2021
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Kodla NJY feeder | Kodla, Mustalli, | Maintenance works | 16.03.2021
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Alolli, Benkanalli, NJY feeder | Benkanalli, Allolli, Kalkamba, | Maintenance works | 20.03.2021
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Mothakpalli NJY feeder | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 17.03.2021
13 |  |  | 110/11KV Gurumitkal s/s | 10:00 AM to 2:00 PM | 11KV Yanagundi NJY feeder | Yanagundi, Pakal, Shankarajipur, Jiledapalli | Maintenance works | 21.03.2021
14 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 2:00 PM | F1 Nidgunda | Penchampalli, Bedagpalli, Ramteerth, Yakapur | Maintenance works | 25.03.2021 to 30.03.2021
15 |  |  |  | 10:00 AM to 2:00 PM | F2 Sulepeth | Sulepeth town | Maintenance works
16 | Konchavaram |  | 33/11KV Konchavaram s/s | 10:00 AM to 5:00 PM | Mogdampur feeder | Pochavaram, Mogadampur, Shivrampur | Maintenance works | 21.03.2021 to 30.03.2021
17 | Chimmanchod |  | 33/11KV Chimmanchod s/s | 10:00 AM to 5:00 PM | F4 Chimmanchod IP | Chimmanchod, Garampalli, Kanakpur, Narnal, Nagral | Maintenance works | 25.03.2021

## Apr-2021 (hidden)
Schedule Outages of Sedam Division for the month of April-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 05.04.2021
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Jakotiya feeder | Sedam town | Maintenance works | 08.04.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 06.04.2021
4 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 09.04.2021
5 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Mugnoor IP feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 11.04.2021
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Industrial feeder | Kurkunta quarry | Maintenance works | 07.04.2021
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 09.04.2021
8 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 06.04.2021
9 |  |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Malkapalli IP feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 09.04.2021
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 12.04.2021
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 09.04.2021
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 15.04.2021
13 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 13.04.2021
14 | Ratkal | Chincholi | 11KV Ainapur | 10:00 AM to 5:00 PM | Bhuyar Rural feeder | Khanapur, Bhuyar.B, Old Ningadalli, Dharmunyak thanda, Dongru nayak thanda | Bifurcation of work | 01.04.2021 to 08.04.2021
15 |  | Chincholi |  | 10:00 AM to 5:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Bifurcation of work
16 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 5:00 PM | F3 Koravi NJY feeder | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli | Maintenance works | 08.04.2021
17 |  | Chincholi |  |  | F5 Beernalli IP | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, | Maintenance works | 08.04.2021
18 |  | Chincholi |  |  | F6 Gadikeshwar | Gadikeshwar, Rudnoor, Chintapalli, Raikod, Bhutpur | Maintenance works | 08.04.2021
19 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 5:00 PM | Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Bifurcation of work | 08.04.2021 to 15.04.2021
20 |  | Chincholi |  |  |  |  | Bifurcation of work | 20.04.2021 to 25.04.2021

## March-2021 (C&M) (hidden)
Schedule Outages of Sedam Division for the month of March-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Mudhol | Sedam | Mudhol | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-03-02
5 | Kodla |  | Kodla | 10-30AM TO 5-30PM |  | Kodla, Mustalli | Maintenance works | 2021-03-10
9 | Mudhol |  | Kolkunda | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kolkunda, Bidarched, Kadcharla | Maintenance works | 2021-03-19
7 | Mothakpalli |  | Tolmamdi | 10-30AM TO 5-30PM |  | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 2021-03-15
11 | Malkhed |  | Malkhed | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-24
2 | Sulepeth |  | Sulepete | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-04
3 | Chincholi | Chincholi | Miriyan | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-06
4 | Konchavaram |  | Konchawaram | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-08
6 | Ratkal |  | Ainapur | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-12
8 | Nindgunda |  | Nidagunda | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-17
10 | Ratkal |  | Ratkal | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-22
12 | Chimmanchod |  | Chimmanchod | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-29

## April-2021 (C&M) (hidden)
Schedule Outages of Sedam Division for the month of April-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Malkhed | Sedam | Malkhed | 10-30AM TO 5-30PM |  | Malkhed, Bijanalli, Kishan singh thanda | Maintenance works | 2021-04-01
2 | Kodla |  | Kodla | 10-30AM TO 5-30PM |  | Kodla, Mustalli, | Maintenance works | 2021-04-28
3 | Mothakpalli |  | Tolmamdi | 10-30AM TO 5-30PM |  | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 2021-04-07
4 | Mudhol |  | Kolkunda | 10-30AM TO 5-30PM |  | Kolkunda, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-04-12
5 | Mudhol |  | Mudhol | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-04-17
6 | Ratkal | Chincholi | Ainapur | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-05
7 | Nidgunda |  | Nidagunda | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-09
8 | Ratkal |  | Ratkal | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-15
9 | Sulepeth |  | Sulepete | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-19
10 | Chincholi |  | Miriyan | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-22
11 | Konchavaram |  | Konchawaram | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-26
12 | Chimmanchod |  | Chimmanchod | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-30

## Jan-21 (hidden)
Schedule Outages of Sedam Division for the month of Jan-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 04.01.2022
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Kamlavthi feeder | Sedam town | Maintenance works | 5.01.2022
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Kukkunda IP | Kukunda, Totanalli, Yadga, Arebomanalli , | Maintenance works | 04.01.2022
4 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 06.01.2022
5 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 06.01.2022
6 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 06.01.2022
7 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 11.01.2021
8 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Mothakpally | itkal, saklaeshpalli,mothakpalli, gaddan , venktapur | Maintenance works | 10.01.2021
9 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 10.01.2021
10 | Ratkal | Chincholi | 33/11 KV Ainapur | 10:00 AM to 2:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Maintenance works | 11.01.2021
11 | Sulepeth | Chincholi | 110/33/11 KV Sub station Chincholi | 11:00 AM to 4:00 PM | 33 KV Sulepet Nidgunda & 33 KV Chimmanchod & Ainapur | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli,Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, Chimmancho, Ainapur | Maintenance works | 11.01.2021
12 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Bifurcation of work | 12.01.2021
13 | Chimmanchod | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 2:00 PM | F6 Salebirnalli | Hasargundagi, Marpalli, salebirnalli, Thumkunta, Nagidlai | Maintenance works | 11.01.2021
14 | Konchavaram | Chincholi | 33/11KV Mudhol S/S | 10:00 AM to 2:00 PM | F1 Kolkunda NJY | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 5.01.2022
15 | Chincholi | Chincholi | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | F1 Garagpalli IP | Bakthampalli, Ganapur, Garagpalli, Iragpalli | Maintenance works | 12.01.2021
16 | Chincholi | Chincholi | 110/11 KV Chincholi | 10:00 AM to 2:00 PM | Ainolli Ip | Ainolli, Degalmadi, Fathepur, Chandrampalli, | Maintenance works | 11.01.2021

## Feb 2021 (hidden)
Schedule Outages of Sedam Division for the month of Feb-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 03.03.2022
2 |  | Sedam |  | 10:00 AM to 2:00 PM | 11KV Sedam feeder | Sedam town | Maintenance works | 04.02.2022
3 | Malkhed | Sedam | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 07.02.2022
4 | Kurkunta | Sedam | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 08.02.2022
5 | Kodla | Sedam | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 07.02.2022
6 | Mudhol | Sedam | 33/11KV Mudhol S/S | 10:00 AM to 2:00 PM | F1 Kolkunda NJY | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 08.02.2022
7 | Mothakpalli | Sedam | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 07.02.2022
8 |  | Sedam | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 11.02.2022
9 | Chimmanchod | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 1:00 PM | F5 Garampalli NJY | Chimmanchod, Narnal, Kanakpur, Garampalli | Maintenance works | 11.02.2022
10 | Ratkal | Chincholi | 33/11 KV Ainapur | 10:00 AM to 2:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Maintenance works | 09.02.2022
11 | Ratkal | Chincholi | 33/ 11 KV Ratkal | 10:00 AM to 2:00 PM | 11Kv Chandankera IP | Chandanker, Mukramba, ranapur, Kotga, Chennur | Maintenance works | 10.02.2022
12 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | 11 KV Venktapur Rural | anthavaram, venktapur, pedda thanda ontichinta, sangapur, dharma sagar, mothimuk thanda | Maintenance works | 10.02.2022
13 | Chimmanchod | Chincholi | 33/11 KV Chimmanchod | 10:00 AM to 1:00 PM | F1 11 KV Hasargundagi IP | hasargundai, marapalli, salebirnalli, tumkunta,yampalli, sikarmothakpalli, jangli peer thanda | Maintenance works | 04.02.2022
14 | Mudhol | Chincholi | 33/11KV Mudhol S/S | 10:00 AM to 2:00 PM | F1 Kolkunda NJY | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 03.02.2022
15 | Chincholi | Chincholi | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | F1 Garagpalli IP | Bakthampalli, Ganapur, Garagpalli, Iragpalli | Maintenance works | 04.02.2022
16 | Chincholi | Chincholi | 110/33/11 Kv Chincholi s/s | 10:00 AM to 1:00 PM | 11 KV Anwar Ip | somalingdalli, chicklingdalli, bhavi thanda, kalbhavi thanda | Maintenance works | 03.02.2022

## Sept-2021 (hidden)
Schedule Outages of Sedam Division for the month of Sept -2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Kamlavathi feeder | Sedam town | Maintenance works | 05.09.2021
2 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 05.09.2021
4 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 07.09.2021
5 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 06.09.2021
6 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 05.09.2021
7 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 07.09.2021
13 | Chimmanchod | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 1:00 PM | F5 Garampalli NJY | Chimmanchod, Narnal, Kanakpur, Garampalli | Maintenance works | 03.09.2021
15 | Chincholi | Chincholi | 110/11 KV Chincholi | 10:00 AM to 2:00 PM | Ainolli Ip | Ainolli, Degalmadi, Fathepur, Chandrampalli, | Maintenance works | 04.09.2021
16

## March-2022 (hidden)
Schedule Outages of Sedam Division for the month of Marc-2022
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 03.03.2022
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Jakotiya feeder | Sedam town | Maintenance works | 04.03.2022
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 03.03.2022
4 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 05.03.2022
5 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Mugnoor IP feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 05.03.2022
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Industrial feeder | Kurkunta quarry | Maintenance works | 05.03.2022
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 08.03.2022
8 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 08.03.2022
9 |  |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Malkapalli IP feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 09.03.2022
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 09.03.2022
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 10.03.2022
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 05.03.2022
13 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 10.03.2022
14 | Ratkal | Chincholi | 11KV Ainapur | 10:00 AM to 2:00 PM | Bhuyar Rural feeder | Khanapur, Bhuyar.B, Old Ningadalli, Dharmunyak thanda, Dongru nayak thanda | Bifurcation of work | 09.03.2022
15 |  | Chincholi |  | 10:00 AM to 2:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Bifurcation of work | 05.03.2022
16 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 1:00 PM | F3 Koravi NJY feeder | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli | Maintenance works | 05.03.2022
17 |  | Chincholi |  | 10:00 AM to 1:00 PM | F5 Beernalli IP | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, | Maintenance works | 05.03.2022
18 |  | Chincholi |  | 10:00 AM to 1:00 PM | F6 Gadikeshwar | Gadikeshwar, Rudnoor, Chintapalli, Raikod, Bhutpur | Maintenance works | 08.03.2022
19 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Maintenance works | 05.03.2022

## Apr-2022 (hidden)
Schedule Outages of Sedam Division for the month of April-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 04.04.2022
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Jakotiya feeder | Sedam town | Maintenance works | 05.04.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 04.04.2022
4 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 05.04.2022
5 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Mugnoor IP feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 06.04.2022
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Industrial feeder | Kurkunta quarry | Maintenance works | 07.04.2022
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 07.04.2022
8 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 06.04.2022
9 |  |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Malkapalli IP feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 09.04.2022
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 06.04.2022
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 06.04.2022
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 10.04.2022
13 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 11.04.2022
14 | Ratkal | Chincholi | 33KV Ainapur | 10:00 AM to 2:00 PM | 11 KV Bhuyar IP | Bhuyar, Khanapur, roud lingdalli | Maintenance works | 09.04.2022
15 |  | Chincholi |  | 10:00 AM to 2:00 PM | 11 KV Basanthpur IP | Basanthpur, Yelmadgi no 1 Chowki thanda, Salgar colony thanda | Maintenance works | 10.04.2022
16 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 2:00 PM | F3 Koravi NJY feeder | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli | Maintenance works | 10.04.2022
17 |  | Chincholi |  |  | F5 Beernalli IP | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, | Maintenance works | 11.04.2022
18 |  | Chincholi |  |  | F6 Gadikeshwar | Gadikeshwar, Rudnoor, Chintapalli, Raikod, Bhutpur | Maintenance works | 08.04.2022
19 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 2:00 PM | 11 kv Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Maintenance works | 09.04.2022

## Oct-2021 (hidden)
Schedule Outages of Sedam Division for the month of Oct -2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11 Sedam | Sedam town | Maintenance works | 03.10.2021
2 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11 KV Kamlavathi | Sedam town | Maintenance works | 04.10.2021
3 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal NJYfeeder | Madkal, CCI Colony, Sompally, Konthanpally | Maintenance works | 06.10.2021
4 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11 KV Sompalli | Yadhalli, Telkur, Lahoda & Sompalli | Maintenance works | 05.10.2021
5 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Musthalli, Jakanpally, Jakanpally Thanda | Maintenance works | 09.10.2021
6 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Mothakpally | itkal, saklaeshpalli,mothakpalli, gaddan , venktapur | Maintenance works | 06.10.2021
7 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Yanagundi NJY feeder | Yanagundi, Buragpalli | Maintenance works | 06.10.2021
| Mudhol |  | 33/11 KV Mudholi | 10:00 AM to 2:00 PM | 11 KV Khanderapally NJY | khandrepally, Ergaplly, lingampally, bondempally & Silarkot | Maintenance works | 04.10.2021
| Mudhol |  | 33/11 KV Mudholi |  | 11 KV Madna NJY | Madna , Bidarched, Kadthal | Maintenance works | 05.10.2021
8 | Chimmanchod | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 1:00 PM | F5 Garampalli NJY | Chimmanchod, Narnal, Kanakpur, Garampalli | Maintenance works | 06.10.2021
9 | Chimmanchod |  | 33/11KV Chimmanchod S/S | 10:00 AM to 2:00 PM | F1 11 KV Hasargundagi | Hasargundgi, Gurampalli, Marpalli, Salebirnalli, Thumkunta, Nagidlai | Maintenance works | 06.10.2021
10 | Chincholi |  | 110/11 KV Chincholi | 10:00 AM to 2:00 PM | 11 KV Chincholi | Chincholi Town | Maintenance works | 06.10.2021
11 | Chincholi |  | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | 11 Kallur Industrial | Kallur, bakthampalli, Ergapalli, Burgapalli, Ganapur | Maintenance works | 06.10.2021
12 | Chincholi |  | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | 11 KV Miriyan | Miryan , Kishtapur, Bairampalli | Maintenance works | 09.10.2021
13 | Konchavaram |  | 33/11 KV Konchavaram | 10:00 AM to 1:00 PM | 11 KV Mogdampur Rural | Mogdapur, Pochavarm, Shivrampur | Maintenance works | 06.10.2021
14 | Konchavaram |  | 33/11 KV Konchavaram | 10:00 AM to 2:00 PM | 11 KV Venktapur | Venktapur, Anthavaram, Pedda Thanda Ontichinta & Dharma Sagar | Maintenance works | 05.10.2021
15 | Nidgunda |  | 33/11 K Nidgunda | 10:00 AM to 2:00 PM | 11 Kv Nidgunda NJY | Nidgunda, Venktapur thanda Venktapur, jettur, Halkoda, Pothangal | Maintenance works | 12.10.2021
16 | Nidgunda |  | 33/11 K Nidgunda | 10:00 AM to 2:00 PM | 11 Kv Kerolii Ip | Kondampalli, Kerolli, Banthnalli & Chintpalli | Maintenance works | 13.10.2021
17 | Ratkal |  | 33/ 11 KV Ainapur | 10:00 AM to 1:00 PM | 11 KV Bhuyar IP | Bhuyar, Khanapur, roud lingdalli | Maintenance works | 06.10.201
18 | Ratkal |  | 33/ 11 KV Ratkal | 10:00 AM to 2:00 PM | 11Kv Chandankera IP | Chandanker, Mukramba, ranapur, Kotga, Chennur | Maintenance works | 08.10.2021
19 | Sulepet |  | 33/11 KV Sulepet | 10:00 AM to 1:00 PM | 11 KV Korvi NJY | Beernali, Korvi, Vajargon, Ramnagar thanda, Kudhalli | Maintenance works | 04.10.2021
20 | Sulepet |  | 33/11 KV Sulepet | 10:00 AM to 2:00 PM | F6 Gadikeshwar NJY | Gadikeshwar, Rudnoor, Chintapalli, Raikod, Bhutpur | Maintenance works | 06.10.2021

## Dec-2021 (hidden)
Schedule Outages of Sedam Division for the month of Dec -2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 2021-04-12
2 | Sedam |  |  | 10:00 AM to 2:00 PM | 11 KV Sedam | Sedam town | Maintenance works | 2021-06-12
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11 KV Mugnoor NJY | Kukunda, Totanalli, Yadga, Arebomanalli , | Maintenance works | 2021-08-12
4 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal NJY feeder | Madkal, Sompalli, Industrial, | Maintenance works | 2021-05-12
5 | Mudhol |  | 33/11 KV Mudholi | 10:00 AM to 2:00 PM | 11 KV Khanderapally NJY | khandrepally, Ergaplly, lingampally, bondempally & Silarkot | Maintenance works | 2021-08-12
6 |  |  | 33/11 KV Mudholi | 10:00 AM to 2:00 PM | 11 KV Madna NJY | Madna , Bidarched, Kadthal | Maintenance works | 2021-08-12
7 | Mothakpalli |  | 110/33/11 KV Gurmitkal | 10:00 AM to 2:00 PM | 11KV Yanagundi NJY feeder | Yanagundi, Pakal, Shankarajipur, Jiledapalli | Maintenance works | 2021-04-12
8 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 2021-06-12
9 | Kodla | Chincholi | 33/11 KV Kodla | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Musthalli, Jakanpally, Jakanpally Thanda | Maintenance works | 2021-09-12
10 | Chincholi |  | 110/33/11 Kv Chincholi s/s | 10:00 AM to 1:00 PM | 11 KV Ainolii NJY | Ainolli, dagalmadi, chandrampalli | Maintenance works | 2021-05-12
11 | Chincholi |  | 110/33/11 Kv Chincholi s/s | 10:00 AM to 1:00 PM | 11 KV Anwar NJY | somalingdalli, chicklingdalli, bhavi thanda, kalbhavi thanda | Maintenance works | 2021-10-12
12 | Chincholi |  | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | 11 Kallur Industrial | Kallur, bakthampalli, Ergapalli, Burgapalli, Ganapur | Maintenance works | 2021-06-12
13 | Konchavaram |  | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | 11 KV Venktapur | anthavaram, venktapur, pedda thanda ontichinta, sangapur, dharma sagar, mothimuk thanda | Maintenance works | 2021-06-12
14 | Konchavaram |  | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | 11 Kv Mugdhampur | Pochavaram, Shivrampur, Mugdhampur | Maintenance works | 2021-05-12
15 | Konchavaram |  | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | 11 KV Shadipur | Shadipur, Chaplanayak thanda, Sevanayak thanda | Maintenance works | 2021-04-12
16 | Nidgunda |  | 33/11 K Nidgunda | 10:00 AM to 2:00 PM | 11 Kv Vikat saga NJY | karchaked, chatrasal | Maintenance works | 2021-05-12
17 | Nidgunda |  | 33/11 K Nidgunda | 10:00 AM to 2:00 PM | 11 Kv Kerolii Ip | Kondampalli, Kerolli, Banthnalli & Chintpalli thanda | Maintenance works | 2021-06-12
18 | Ratkal |  | 33/ 11 KV Ainapur | 10:00 AM to 1:00 PM | 11 KV Bhuyar IP | Bhuyar, Khanapur, roud lingdalli | Maintenance works | 2021-09-12
19 | Ratkal |  | 33/ 11 KV Ratkal | 10:00 AM to 2:00 PM | 11 KV Basanthpur IP | Basanthpur, Yelmadgi no 1 Chowki thanda, Salgar colony thanda | Maintenance works | 2021-07-11
20 | Sulepet |  | 33/11 KV Sulepet | 10:00 AM to 1:00 PM | F3 Koravi NJY feeder | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli | Maintenance works | 2021-08-12
21 | Sulepet |  | 33/11 KV Sulepet | 10:00 AM to 2:00 PM | F5 Beernalli IP | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, | Maintenance works | 2021-04-12
22 | Chimmanchod |  | 33/11 KV Chimmanchod | 10:00 AM to 1:00 PM | F4 Chimmanchod IP | Chimmanchod, Garampalli, Kanakpur, Narnal, Nagral | Maintenance works | 2021-05-12

## OCT -2022
Schedule Outages of Sedam Division for the month of OCTOBER-2022
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Ratkal | CHINCHOLI | 33/11KV AINAPUR | 10:00 AM to 2:00 PM | 11KV BENKEPALLI NJY | BENKEPALLI,FATTU NAYAK TANDA,BHAVANGUDI TANDA,MONU NAYAK TANDA,YALMADGI NO.1 VILLAGES | Maintenance works | 2.10.2022
2 | Ratkal | CHINCHOLI | 33/11KV AINAPUR | 10:00 AM to 1:00 PM | 11KV F06 KHANAPUR NJY | KHANAPUR,ANADU NAYAK TANDA,NINGADALLI,DONGRU NAYAK TANDA,BHUYARA,RAMCHADRA NAYAK TANDA | Maintenance works | 05.10.2022
3 | CHINCHOLI | CHINCHOLI | 33/11KV MIRIYAN | 10:00 AM to 2:00 PM | 11KV KALLUR IND | Kallur,Bhirampalli,Kalbhavi tanda,Kusrampalli | Maintenance works | 12.10.2022
4 | Sulepet | CHINCHOLI | 33/11 KV Sulepet | 10:00 AM to 2:00 PM | 11KV KORVI NJY | Hodebeernalli,Korvi,Kudhalli,Korvi tanda,Hosalli H ,Vajjargav,Navadagi and Chinthkunta | Maintenance works | 23.10.2022
5 | Ratkal | CHINCHOLI | 33/11KV RATKAL | 10:00 AM to 2:00 PM | 11KV F6 AINAPUR NJY | MUKRAMABA,BEDSOOR ,KUNI TANDA,SIRSANBUGADI TANDA,KALDODDI TANDA,CHANDANKERA,KOTGA,RANAPUR,SASARGAV,CHANNAUR | Maintenance works | 28.10.2022
6 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 2022-10-03
7 | Sedam |  |  | 10:00 AM to 1:00 PM | 11KV Kamlavathi | Sedam town | Maintenance works | 2022-10-09
8 | Sedam |  |  | 10:00 AM to 2:00 PM | 11 KV Sedam | Sedam town | Maintenance works | 2022-10-06
9 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11 KV Malkhed NJY | Malkhed,Bijanalli,Kishan Singa Thanda,Utradi Mata Malkhed,Sangavi M | Maintenance works | 2022-10-04
10 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Kurkunta NJY | Kurkunta, yadhalli, hayal,lahoda, habal (T), telkur, sangavi | Maintenance works | 2022-10-06
11 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal NJY feeder | Madkal, Sompalli, Industrial, | Maintenance works | 2022-10-07
12 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Duganoor IP | Kolkunda, Malkapalli, Konapur, Raghapur, Madna | Maintenance works | 2022-10-03
13 |  |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Adaki NJ | Adaki, huda, gundepalli | Maintenance works | 2022-10-02
14 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY | Kistapur,Shankarajpur,Pakal,medak | Maintenance works | 2022-10-10
15 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Gaddana IP | Gaddana, mothakpalli, itkal, itkhal thanda, saklespalli, mothakpalli, alipur thanda gaddana, | Maintenance works | 2022-10-08
16 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Handarki NJY feeder | Mailwar,Namwar,Hulholam,Goudanalli,Handarki | Maintenance works | 2022-10-06
17 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Benakanalli NJY feeder | Allolli,Kalkamba,Benkanalli | Maintenance works | 2022-10-04