## 15.04.19 (hidden)
Schedule Outages of Sedam Division as on 15.04.2019
Sl no | Section | Sub-dvn | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill |  | Nill | Nill | 15.04.19
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda
7 | Kurkunta | Sedam | 9 am to 11 am | F2 Somapalli IP | Somapalli, Mdakal, Kontanpalli, Rajol, Eranapalli, Telkur, Habal.T, Yaddalli, Hayyal & Sangavi.T | Maintenance work | 15.04.19
8 | Sedam |  | Nill | Nill | Nill | Nill | 15.04.19
9 | Mudhol
10 | Malkhed
11 | Mothakpalli
12 | Kodla |  | 11 am to 4 pm | Batgera NJY feeder, Ranjol IP feeder, | Batgera.B, Batgera.K, Batgera gate, Ranjol, Sindhanamadu, Madwar Rudrawar, Kachwar, Chitkanpalli | NCC work | 15.04.19

## 16.04.19 (hidden)
Schedule Outages of Sedam Division as on 16.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 16.04.2019
2 | Sulepeth |  | Sulepeth 33/11KV S/S | 10.00 a.m to 12.00p.m | Mogha feeder | Yalakpalli,Huvinbhavi,Rustampur,Ganjigera,Tadpalli,Pastapur,Mogha,Mogha Thanda | NJY Biffurcation Work
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 10.00 a.m to 2.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 16.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 16.04.2019
8 | Sedam
9 | Mudhol
10 | Malkhed
11 | Mothakpalli
12 | Kodla |  | 220KV R/S Station Batgera Station | 11.00 a.m to 5.00p.m | Ranjol IP Feeder Batgera Njy Feeder | Madwar,Kachawar,Ranjol,Chitkanpally,Rudrawar,Madaranagasapalli,Sindhanmadu,Kachawar,T.Bommanahalli Villages with Ip feeder | HT-Re conductoring work (DDGJUY) | 16.04.2019

## 17.04.19 (hidden)
Schedule Outages of Sedam Division as on 17.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill | Nil | Nil | Nil | Nil | 17.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11:00 a.m to 3:00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY wroks | 17.04.2019
7 | Kurkunta | Sedam | Nil | Nil | Nil | Nil | Nil | 17.04.2019
8 | Sedam
9 | Mudhol |  | Mughol 33/11KV sub-station | 11:00 a.m to 1:00p.m | Adki feeder | Adki village, Adki thanda | Maintenance work | 17.04.2019
10 | Malkhed |  | Nil | Nil | Nil | Nil | Nil | 17.04.2019
11 | Mothakpalli
12 | Kodla

## 26.04.19 (hidden)
Schedule Outages of Sedam Division as on 26.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi | Nill | Nil | Nil | Nil | Nil | 26.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | NILL | NILL | NILL | NILL | NILL | 26.04.2019
7 | Kurkunta | Sedam | Nil | Nil | Nil | Nil | Nil | 26.04.2019
8 | Sedam
9 | Mudhol |  | NILL | NILL | NILL | NILL | NILL | 26.04.2019
10 | Malkhed |  | Nil | Nil | Nil | Nil | Nil | 26.04.2019
11 | Mothakpalli
12 | Kodla

## 27.04.19 (hidden)
Schedule Outages of Sedam Division as on 27.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 27.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 10.00 a.m to 1.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 27.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 27.04.2019
8 | Sedam
9 | Mudhol |  | Mudhol 33/11KV S/S | 7.00 a.m to 11.00p.m | F3 Mudhol Feeder | Mudhol Town | Shifting of 11KV Line Road widening work
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  | 220KV R/S Station Batgera Station | 10.00 a.m to 6.00p.m | Ranjol IP Feeder Batgera Njy Feeder | Madwar,Kachawar,Ranjol,Chitkanpally,Rudrawar,Madaranagasapalli,Sindhanmadu,Kachawar,T.Bommanahalli Villages with Ip feeder | HT-Re conductoring work (DDGJUY) | 27.04.2019

## 28.04.19 (hidden)
Schedule Outages of Sedam Division as on 28.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 28.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | Nil | Nil | Nil | Nil | 28.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 28.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  | 33/11 KV Kodla | 10.00AM to 4:00PM | Alloli | Kalkmba & Benknalli Villages | DDUGJY Works | 28.04.2019

## 30.04.19 (hidden)
Schedule Outages of Sedam Division as on 30.04.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 30.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  |  | Nil | Nil | Nil | Nil | 30.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 30.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 30.04.2019

## 01.05.19 (hidden)
Schedule Outages of Sedam Division as on 01.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 30.04.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  |  | Nil | Nil | Nil | Nil | 30.04.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 30.04.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 30.04.2019

## 02.05.19 (hidden)
Schedule Outages of Sedam Division as on 02.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 02.05.2019
2 | Sulepeth |  | SULEPETH 33/11KV S/S | 10.30 a.m to 2.00p.m | F6 Gadikeshwar Feeder | Tegaltippi,Halchera | Maintenance Work
3 | Ratkal |  |  | Nil | Nil | Nil | Nil
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11.00 a.m to 2.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | DDGJUY | 02.05.2019
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | Nil | 02.05.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 02.05.2019

## 03.05.19 (hidden)
Schedule Outages of Sedam Division as on 03.05.2019
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Chincholi | Chincholi |  | Nil | Nil | Nil | Nil | 03.05.2019
2 | Sulepeth
3 | Ratkal
4 | Konchavaram
5 | Chimmanchod
6 | Nidgunda |  | Nidgunda 33/11KV S/S | 11.30 p.m to 4.00p.m | F1 Kerolli Feeder | Kondampalli,Kerolli,Bhantanalli,Benakanalli,Chintpalli Thanda | Tripping 5 MVA Transformer | Executive Engineer O&M Sedam along with RT Sub-divn Staff Attending the Fault at 33 KV MUSS Nidagunda Due to Dark Out the station
[5 empty] | F5 Huvinhalli Feeder | Huvinahlli,Sirolli
[5 empty] | F2Nidagunda | Nidagunda,Venkatapur,Jettur,Halkoda, Potungal
[5 empty] | F4 Karchakhed | Karchakhed,Chatrasala
[5 empty] | F3 Sirolli Ipset | Huvinahlli,Sirolli,Nidagunda,Venkatapur,Jettur,Halkoda, Potungal,
7 | Kurkunta | Sedam |  | Nil | Nil | Nil | . | 03.05.2019
8 | Sedam
9 | Mudhol |  |  | Nil | Nil | Nil | Nil
10 | Malkhed |  |  | Nil | Nil | Nil | Nil
11 | Mothakpalli
12 | Kodla |  |  | Nil | Nil | Nil | Nil | 03.05.2019

## March-2021 (hidden)
Schedule Outages of Sedam Division for the month of March-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Sedam | Sedam | 220KV R/S Sedam | 10:00 AM to 2:00 PM | Sedam feeder, | Sedam town | Maintenance works | 15.03.2021
2 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | Kamalavati feeder | Sedam town | Maintenance works | 16.03.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 19.03.2021
4 |  |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV MalkhedNJY feeder | Malkhed, Bijanalli, Kishan singh thanda | Maintenance works | 20.03.2021
5 |  |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Nilhalli NJY feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 21.03.2021
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Kurkunta NJY feeder | Kurkunta, Telkur, Habal.T, | Maintenance works | 16.03.2021
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal NJY feeder | Madkal, Sompalli, Industrial | Maintenance works | 18.03.2021
8 | Mudhol |  | 33/11KV Mudhol s/s | 10:00 AM to 2:00 PM | 11KV Adki NJY feeder | Adki, Sompalli, Eranapalli, Gopanpalli | Maintenance works | 15.03.2021
9 |  |  | 33/11KV Mudhol s/s | 10:00 AM to 2:00 PM | 11KV Mudhol NJY feeder | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 21.03.2021
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Kodla NJY feeder | Kodla, Mustalli, | Maintenance works | 16.03.2021
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Alolli, Benkanalli, NJY feeder | Benkanalli, Allolli, Kalkamba, | Maintenance works | 20.03.2021
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Mothakpalli NJY feeder | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 17.03.2021
13 |  |  | 110/11KV Gurumitkal s/s | 10:00 AM to 2:00 PM | 11KV Yanagundi NJY feeder | Yanagundi, Pakal, Shankarajipur, Jiledapalli | Maintenance works | 21.03.2021
14 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 2:00 PM | F1 Nidgunda | Penchampalli, Bedagpalli, Ramteerth, Yakapur | Maintenance works | 25.03.2021 to 30.03.2021
15 |  |  |  | 10:00 AM to 2:00 PM | F2 Sulepeth | Sulepeth town | Maintenance works
16 | Konchavaram |  | 33/11KV Konchavaram s/s | 10:00 AM to 5:00 PM | Mogdampur feeder | Pochavaram, Mogadampur, Shivrampur | Maintenance works | 21.03.2021 to 30.03.2021
17 | Chimmanchod |  | 33/11KV Chimmanchod s/s | 10:00 AM to 5:00 PM | F4 Chimmanchod IP | Chimmanchod, Garampalli, Kanakpur, Narnal, Nagral | Maintenance works | 25.03.2021

## Apr-2021 (hidden)
Schedule Outages of Sedam Division for the month of April-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 05.04.2021
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Jakotiya feeder | Sedam town | Maintenance works | 08.04.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Malkhed station thanda NJY feeder | Station thanda, Huda.B , Huda.K, Hangnalli | Maintenance works | 06.04.2021
4 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 09.04.2021
5 |  |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Mugnoor IP feeder | Nilhalli, Beernalli, Hosalli, Konkanalli, Meenahabal, Tottnalli, Are-bommanalli | Maintenance works | 11.04.2021
6 | Kurkunta |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Industrial feeder | Kurkunta quarry | Maintenance works | 07.04.2021
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 09.04.2021
8 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 06.04.2021
9 |  |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Malkapalli IP feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 09.04.2021
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 12.04.2021
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 09.04.2021
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 15.04.2021
13 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 13.04.2021
14 | Ratkal | Chincholi | 11KV Ainapur | 10:00 AM to 5:00 PM | Bhuyar Rural feeder | Khanapur, Bhuyar.B, Old Ningadalli, Dharmunyak thanda, Dongru nayak thanda | Bifurcation of work | 01.04.2021 to 08.04.2021
15 |  | Chincholi |  | 10:00 AM to 5:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Bifurcation of work
16 | Sulepeth | Chincholi | 33/11KV Sulepeth s/s | 10:00 AM to 5:00 PM | F3 Koravi NJY feeder | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli | Maintenance works | 08.04.2021
17 |  | Chincholi |  |  | F5 Beernalli IP | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, | Maintenance works | 08.04.2021
18 |  | Chincholi |  |  | F6 Gadikeshwar | Gadikeshwar, Rudnoor, Chintapalli, Raikod, Bhutpur | Maintenance works | 08.04.2021
19 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 5:00 PM | Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Bifurcation of work | 08.04.2021 to 15.04.2021
20 |  | Chincholi |  |  |  |  | Bifurcation of work | 20.04.2021 to 25.04.2021

## March-2021 (C&M) (hidden)
Schedule Outages of Sedam Division for the month of March-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Mudhol | Sedam | Mudhol | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-03-02
5 | Kodla |  | Kodla | 10-30AM TO 5-30PM |  | Kodla, Mustalli | Maintenance works | 2021-03-10
9 | Mudhol |  | Kolkunda | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kolkunda, Bidarched, Kadcharla | Maintenance works | 2021-03-19
7 | Mothakpalli |  | Tolmamdi | 10-30AM TO 5-30PM |  | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 2021-03-15
11 | Malkhed |  | Malkhed | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-24
2 | Sulepeth |  | Sulepete | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-04
3 | Chincholi | Chincholi | Miriyan | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-06
4 | Konchavaram |  | Konchawaram | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-08
6 | Ratkal |  | Ainapur | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-12
8 | Nindgunda |  | Nidagunda | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-17
10 | Ratkal |  | Ratkal | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-22
12 | Chimmanchod |  | Chimmanchod | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-03-29

## April-2021 (C&M) (hidden)
Schedule Outages of Sedam Division for the month of April-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Date
1 | Malkhed | Sedam | Malkhed | 10-30AM TO 5-30PM |  | Malkhed, Bijanalli, Kishan singh thanda | Maintenance works | 2021-04-01
2 | Kodla |  | Kodla | 10-30AM TO 5-30PM |  | Kodla, Mustalli, | Maintenance works | 2021-04-28
3 | Mothakpalli |  | Tolmamdi | 10-30AM TO 5-30PM |  | Gadadhan, Mothakpalli, Venkatapur, Venkatapur thanda | Maintenance works | 2021-04-07
4 | Mudhol |  | Kolkunda | 10-30AM TO 5-30PM |  | Kolkunda, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-04-12
5 | Mudhol |  | Mudhol | 10-30AM TO 5-30PM |  | Mudhol, Kottapalli, Kottapalli thanda, Bidarched, Kadcharla | Maintenance works | 2021-04-17
6 | Ratkal | Chincholi | Ainapur | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-05
7 | Nidgunda |  | Nidagunda | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-09
8 | Ratkal |  | Ratkal | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-15
9 | Sulepeth |  | Sulepete | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-19
10 | Chincholi |  | Miriyan | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-22
11 | Konchavaram |  | Konchawaram | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-26
12 | Chimmanchod |  | Chimmanchod | 10-30AM TO 5-30PM |  |  | Maintenance works | 2021-04-30

## Aug-2021
Schedule Outages of Sedam Division for the month of Aug-2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Shirolli feeder | Sedam town | Maintenance works | 09.08.2021
2 |  |  |  | 10:00 AM to 2:00 PM | 11KV Sedam feeder | Sedam town | Maintenance works | 10.08.2021
3 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Kukkunda IP | Kukunda, Totanalli, Yadga, Arebomanalli , | Maintenance works | 04.08.2021
7 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 06.08.2021
8 | Mudhol |  | 33/11KV Kolkunda s/s | 10:00 AM to 2:00 PM | 11KV Kolkunda NJY feeder | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 6.08.2021
10 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli NJY feeder | Gundalli, Mustalli, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, nachwar | Maintenance works | 11.08.2021
11 |  |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 02.08.2021
12 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Mothakpally | itkal, saklaeshpalli,mothakpalli, gaddan , venktapur | Maintenance works | 11.08.2021
13 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 13.08.2021
15 |  | Chincholi | 33/11 KV Ainapur | 10:00 AM to 2:00 PM | Bhavangudi IP feeder | Benkepalli, Yalmadagi thanda, Pattu nayak thanda, Road Ningadalli, Ainapur | Maintenance works | 07.08.2021
16 | Sulepeth | Chincholi | 110/33/11 KV Sub station Chincholi | 11:00 AM to 4:00 PM | 33 KV Sulepet Nidgunda & 33 KV Chimmanchod & Ainapur | Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli,Halchera, Hodebeernalli, Koravi, Navadagi, Hosalli. Gadikeshwar, Rudnoor, Chintapalli, Chimmancho, Ainapur | Maintenance works | 08.05.2021
19 | Konchavaram | Chincholi | 33/11KV Konchavaram S/S | 10:00 AM to 1:00 PM | Bonaspur feeder | Laxmasagar, Shirvreddypalli, Linganagar thanda, Bonaspur | Bifurcation of work | 02.08.2021 to 15.08.2021
|  | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 2:00 PM | F6 Salebirnalli | Hasargundagi, Marpalli, salebirnalli, Thumkunta, Nagidlai | Maintenance works | 07.08.2021
| Konchavaram | Chincholi | 33/11KV Mudhol S/S | 10:00 AM to 2:00 PM | F1 Kolkunda NJY | Kolkunda, Malkapalli, Konapur, Raghapur | Maintenance works | 02.08.2021
|  | Chincholi | Chincholi | 33/11 KV Miriyan | 10:00 AM to 1:00 PM | F1 Garagpalli IP | Bakthampalli, Ganapur, Garagpalli, Iragpalli | 03.08.2021

## Sept-2021
Schedule Outages of Sedam Division for the month of Sept -2021
Sl no | Section | Sub-dvn | Sub station | Outages in No. of hours | Name of the feeder | Affected villages | Reason for schedule | Remarks
1 | Sedam |  | 220KV R/S Sedam | 10:00 AM to 2:00 PM | 11KV Kamlavathi feeder | Sedam town | Maintenance works | 05.09.2021
2 | Malkhed |  | 33/11KV Malkhed s/s | 10:00 AM to 2:00 PM | 11KV Surwar IP feeder | Surwar, Satpatnalli, Bibballi, Kachur, Tarnalli, | Maintenance works | 05.09.2021
4 |  |  | 110/11KV Kurkunta | 10:00 AM to 2:00 PM | 11KV Madkal IP feeder | Madkal, Sompalli, Industrial | Maintenance works | 07.09.2021
5 | Kodla |  | 33/11KV Kodla s/s | 10:00 AM to 2:00 PM | 11KV Gundalli IP feeder | Bhimasagar, Jakanpalli, jakanpalli thanda, tunnur, bilkal, Devnoor, dugnoor, Handraki | Maintenance works | 06.09.2021
6 | Mothakpalli |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Chandapur IP feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 05.09.2021
7 |  |  | 33/11KV Tolmamadi s/s | 10:00 AM to 2:00 PM | 11KV Kistapur NJY feeder | Chandapur, Kistapur, Gajlapur, Kistapur thanda | Maintenance works | 07.09.2021
13 | Chimmanchod | Chincholi | 33/11KV Chimmanchod S/S | 10:00 AM to 1:00 PM | F5 Garampalli NJY | Chimmanchod, Narnal, Kanakpur, Garampalli | Maintenance works | 03.09.2021
15 | Chincholi | Chincholi | 110/11 KV Chincholi | 10:00 AM to 2:00 PM | Ainolli Ip | Ainolli, Degalmadi, Fathepur, Chandrampalli, | Maintenance works | 04.09.2021