## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (Aug-2023)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | YADGIR | UNIT-I | 110/33/11KV YADGIR | TOWN | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | JUNGLE CUTTING/DTC CLEANING | 944839565 | shahapur pet,chatan area
2 | YADGIR | UNIT-I | 110/33/11KV YADGIR | INDUSTRIAL | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | JUNGLE CUTTING/DTC CLEANING | 944839565 | Worknalli road
3 | YADGIR | UNIT-II | 110/33/11KV YADGIR | LAXMI NAGAR | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | TC YARD CLEANING | 9480844516 | basaweshwara nagar, veerbhadreshwara nagar
4 | YADGIR | UNIT-II | 110/33/11KV YADGIR | RAILWAY STATION | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | JUNGLE CUTTING/DTC CLEANING | 9480844516 | Ayush Hospital, sahara colony
5 | YADGIR | HATTIKUNI | 33 KV | THANAGUNDHI | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | TC YARD CLEANING | 9448395655 | BASAVANTAPUR,BASAVANTAPUR THANDA
6 | YADGIR | KADECHIR | 33 KADECHUR | KADECHUR NJY | 12-08-2023&13-08-2023 | 9:00 | 0.54167 | JUNGLE CUTTING/DTC CLEANING | 9845401556 | SHETTALLI,RAJANALLI
7 | Gurmitkal | Gurmitkal | 110kv Gurmitkal | f3 chandriki | 12.08.2023 | 10:00 | 12.00pm | Maintainance work | 9448395653 | kchandriki,keshwar,putpak
8 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | Kandkur NJY | 12.08.2023 | 10:00 | 12.00pm | Maintainance work | 9900590783 | Kandkur , Chintanahalli, Magdampur & paspool
9 | Gurmitkal | Gajarkot | 110/33/11 KV Konkal | F6 Anpur njy | 13.08.2023 | 10:00 | 0.5625 | Maintainance work | 8152021594 | anpur,kuntimari,minaspur
10 | Gurmitkal | Jaigram | 33/11 KV Gajarkot | rampur ip | 26.08.2023 | 10:00 | 0.5625 | Maintainance work | 9448395697 | Rampur ,shivapur,tatlgera,yempad
11 | Gurmitkal | Konkal | 110/33/11 KV Konkal | Minaspur IP | 27.08.2023 | 10:00 | 12.00pm | Maintainance work | 8152021594 | ammappally, muslepally, minaspur
12 | Hunasagi | Hunasagi Rural | 33/11KV Hunasagi | Sadab NJY | 26.08.2023 | 08.00AM | 12.00PM | Maintainace Work | 9480844510 | Maddinamani, Devapur J , Kawri Camp , Islampur Cors,Islampur,Kolihal,Kolihal Dodda Tanda, Kolihal Sanna Tanda, S K P Camp, Gundalager,Araker Cross ,Araker J,Yadahalli,Yadahalli Camp, Sadab Cross, Sadab
13 | Hunasagi | Kodekal | 33/11KV Kodekal | Rajankolur IP | 27.08.2023 | 08.00AM | 12.00PM | Maintainace Work | 7624801670 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.K
14 | Shahapur | Bendegumbali | 33/11 kv station Bendegumbali | Gonal Njy F-1 feeder | 12.08.2023 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847432 | Bendegumbali,Kadrapur,Gonal
15 | Shahapur | Wandurga | 33/11 kv station Gogi | Hoskera IP Feeder | 13.08.2023 | 10:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847427 | Hoskera,Wandurga,Channur,Kakkasagera,Aldal
16 | Shahapur | Wandurga | 33/11 kv station Gogi | Wandurga Njy Feeder | 12.08.2023 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Karkalli,Rabbanalli,Rajapur,Wandurga
17 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Hattigudur Njy Feeder | 26.08.2023 | 9:00 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Hattigudr,Bommanalli,Hayyal.b,Aikur,Aneksugur,Madarkal
18 | Shahapur | Sagar | 33KV Muss Sagar | Shettigera Njy Feeder | 13.08.2023 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Ganganal,Dariyapur,Shettigera,Mahalroza,Yallamma Guddacross,Shettigera Doddi
19 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 27.08.2023 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Gogi,Singanalli,Kanchalkavi
20 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 12.08.2023 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | Mudbul,Hothpeth,Halbhavi,Madriki,Hulkal.k,Maktapur,Hothpeth Thanda,Solapur,Kodamanalli,Shakapur,Diggi,Sadyapur,Saidapur
21 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-2 Halisagar Feeder | 26.08.2023 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Laxmi nagar,Devinagar,Mallayyanagar,Venkateshnagar,Ganganagar,Shirwal cross,S.B.Nagar
22 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-1 Shahapur Feeder | 12.08.2023 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Ganeshnagar,Jalgaroni,Oldsbi Bank,Ground t/c,Machkardoddi
23 | Shahapur | Sirwal | 110KV Muss Shahapur | Sirwal Njy Feeder | 27.08.2023 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Sirwal,Ibrahimpur,Anabi,Itaga.s
24 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 13.08.2023 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Khanapur,Gundgurthi,Tadibidi,Kurkunda,Hundekal
25 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 27.08.2023 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | Vidyanagar,Kawaspura,Ganganagar,Newbusstand,Industrial area,Indranagar
26 | Shorpaur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 12.08.2022 | 0.375 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
27 | Shorpaur | KEMBHAVI | 110/11KV, KEMBHAVI | F12-KEMBHAVI | 26.08.2022 | 0.41667 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | KEMBHAVI
28 | Shorpaur | Unit-2 | 33KV/11kv,Ammapur | F1-MANGALORE NJY | 12.08.2022 | 0.375 | 4:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR,JAALIBENCHI, MANGALORE,KANNALLI,BAICHBAL,KUDLGI,KACHAKNOOR,K.TALLAHALLI
29 | Shorpaur | Unit-2 | 33KV/11kv,Ammapur | F1-MANGALORE NJY | 26.08.2022 | 9:00 | 5:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR,JAALIBENCHI, MANGALORE,KANNALLI,BAICHBAL,KUDLGI,KACHAKNOOR,K.TALLAHALLI
30 | Shorpaur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 12.08.2022 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
31 | Shorpaur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 26.08.2022 | 10:00 | 2:30 | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
32 | Shorpaur | kakkera | 33kv/11kv,Kakkera | F3-KAKKERA | 12.08.2022 | 10:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9900464673 | KAKKERA
33 | Shorpaur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F4-W/S | 12.08.2022 | 0.41667 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | WATER SUPPLY TOWN
34 | Shorpaur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F4-W/S | 26.08.2022 | 0.41667 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | WATER SUPPLY TOWN