## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (May-2024)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | YADGIR | UNIT-I | 110/33/11KV YADGIR | Ambedkar Chowk | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9448395656 | GANDHI CHOWK MAILAPUR BSE ,KANAK NAGAR
2 | YADGIR | UNIT-II | 110/33/11KV YADGIR | Laxminagar | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTNG & TC YARD CLEANING | 9480844516 | MILAT NAGAR,OLD BUS STAND,POLICE QTRS,JUDGE QTRS
3 | YADGIR | YADGIR RURAL | 110/33/11KV YADGIR | Sawoor | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTNG & TC YARD CLEANING | 9448395652 | BELGERA , ASHANAL
4 | YADGIR | BALICHAKRA | 33/11KV, Balichakra | Mailapur | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9480847384 | NAGLAPUR,BALICHAKRA
5 | YADGIR | KADECHUR | 33/11KV, Kadechuru | Kadechuru | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 8970211942 | KADECHUR ,CHANDAPUR
6 | YADGIR | Saidapur | 110/11KV Saidapur | Badiyal NJY | 11-05-2024&12-05-2024 | 9:00 | 13:00 | JUNGLE CUTTING/DTC CLEANING | 9591883890 | ANOOR K, BHIMANALLI,
7 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F6-PARSNALLI | 11.05.2024 | 9:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | PARSNALLI, NADKOOR,YERIYAPUR,KARDKAL,JAINAPUR, KIRDALLI,YEGGANDODDI, GODRIHAL
8 | Shorapur | KEMBHAVI | 110/11KV, KEMBHAVI | F6-PARSNALLI | 25.05.2024 | 10:00 | 04:00PM | Jungle cutting,Transformer Structure work | 8431600179 | PARSNALLI, NADKOOR,YERIYAPUR,KARDKAL,JAINAPUR, KIRDALLI,YEGGANDODDI, GODRIHAL
9 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F2-AMMAPUR IP | 11.05.2024 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
10 | Shorapur | Unit-2 | 33KV/11kv,Ammapur | F2-AMMAPUR IP | 25.05.2024 | 9:00 | 5:00PM | Jungle cutting,Transformer Structure work | 9880083649 | AMMAPUR, JAALIBENCHI, MANGALORE, KANNALLI, BAICHBAAL, KOODLIGI, KACHAKNOOR, K. TALLAHALLI, KANNAHALLI CAMP
11 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 11.05.2024 | 9:00 | 4:00PM | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
12 | Shorapur | DEVAPUR | 33kv/11kv,Kakkera | F3-MOUNESHWAR | 25.05.2024 | 10:00 | 2:30 | Jungle cutting,Transformer Structure work | 8431600179 | JHUMAR CAMP, HUNSIHOLE, LINGADALLI, BANDOLI, TINTINI, CHANDPUR, DEVAPUR
13 | Shorapur | kakkera | 33kv/11kv,Kakkera | F5- W/S | 11.05.2024 | 0.41667 | 4:00PM | Jungle cutting,Transformer Structure work | 9900464673 | WATER SUPPLY, KAKKERA TOWN
14 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 11.05.2024 | 0.41667 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | MANGAL BAZAR,DOOL PET,MARGAMMA TEMPLE, KADECHOOR
15 | Shorapur | SHORAPUR TOWN | 110/33/11 KVA Muss ,SURPUR | F9-RANGANPET | 25.05.2024 | 10:00 | 4.00PM | Jungle cutting,Transformer Structure work | 9448775504 | MANGAL BAZAR,DOOL PET,MARGAMMA TEMPLE, KADECHOOR
16 | Shahapur | Bendegumbali | 110/33/11KV Muss Wadgera | Machnoor Njy Feeder | 11.05.2024 | 0.375 | 12:00PM | Jungle cutting,Transformer Structure work | 9480847465 | Kandalli,Konhalli,Bhilhar,Arjunagi,Shivanoor,Joldadagi
17 | Shahapur | Wadgera | 110/33/11KV Muss Wadgera | Wadgera Town | 11.05.2024 | 0.41667 | 12:00PM | Jungle cutting,Transformer Structure work | 9448395685 | Wadgera Town
18 | Shahapur | Wadgera | 33/11 kv station Wadgera | Gursanagi Njy Feeder | 12.05.2024 | 0.375 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395685 | Balkal,Marmakal,Naikal,Managanal,Gursanagi,Hulkal.J,Nalwadagi,Naikal Thanda
19 | Shahapur | Hattigudur | 220KV Muss Hattigudur | Hattigudur Njy Feeder | 25.05.2024 | 0.375 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395687 | Hattigudur,Hayyal.B,Hayyal.K,Basavanthpur,Aikur,Anwar,Munmutagi,Aneksugur,Madarkal
20 | Shahapur | Sagar | 33KV Muss Sagar | Shettigera Njy Feeder | 11.05.2024 | 9:00AM | 11:30PM | GOS Works,Jungle cutting, | 9480847468 | Shettigera,Mahalroza,Ekkigaddi,Yallamma Temple,Renuka Nagar,Dariyapur,Dariyapur Cross,Ganganal
21 | Shahapur | Wandurga | 33/11 kv station Chamnal | Chamnal Njy Feeder | 26.05.2024 | 0.375 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Chamnal,Nadihal,Gundapur,Chamnal Thanda,Nadihal Thanda
22 | Shahapur | Wandurga | 33/11 kv station Chamnal | Budnur Njy Feeder | 11.05.2024 | 0.375 | 1:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480847427 | Budnur,Ukkinal,Chamnal Kisan Thanda,Ukkinal Thanda,Kalu Nayak Thanda,Bheemu Nayak Thanda
23 | Shahapur | Gogi | 33KV Muss Gogi | Gogi Feeder | 12.05.2024 | 10.00AM | 1.00PM | Maintainace Work | 9448395686 | Singanalli,Kanchalakavi,Gogi
24 | Shahapur | Gogi | 110KV Muss Shahapur | Mudbul Njy Feeder | 25.05.2024 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395686 | Diggi,Saidapur,Hulkal.K,Madriki,Mudbul,Hothpeth,Saldapur
25 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-2 Halisagar Feeder | 12.05.2024 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Laxminagar,Halisagar,Kanakanagar,Devinagar
26 | Shahapur | Unit-1 | 110KV Muss Shahapur | F-1 Shahapur Feeder | 11.05.2024 | 10.00AM | 1.00PM | Jungle cutting,Transformer Structure work | 9448395684 | Market Area,Gandhi Chowk,
27 | Shahapur | Dornalli | 110KV Muss khanapur | Chatnalli Njy Feeder | 26.05.2024 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Chatnalli,Gundalli,Karanagi,Chatnalli Thanda,Tangadagi,Dornalli
28 | Shahapur | Khanapur | 110KV Muss khanapur | Gundagurthi Njy Feeder | 12.05.2024 | 10.00AM | 1.00PM | Maintainace Work | 9448455006 | Hanchinal,Tekaral,Gundagurthi,Bolari,Kyatnal
29 | Shahapur | Unit-2 | 110KV Muss Shahapur | Rakamagera Feeder | 25.05.2024 | 10.00AM | 1.00PM | Maintainace Work | 9480847461 | Khaji Colony,Mustafa Area,Indranagar,Asar Mohalla,Vidyanagar
30 | Hunasagi | Rajankollur | 33/11KV Kodekal | Geddalamari IP | 11.05.2024 | 08.00AM | 12.00PM | Maintainace Work | 9480847551 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.K
31 | Hunasagi | Kodekal | 33/11KV Kodekal | Rajankolur IP | 12.05.2024 | 08.00AM | 12.00PM | Maintainace Work | 9480847551 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Geddalamari tanda,Jumalapur,Jumalapur tanda,Hanamasagar,Hulikeri,Ammapur S.K
32 | Gurmitkal | Gurmitkal | 110/33/11 KV Gurmitkal | CHANDRIKI NJY | 11.05.2024 | 0.41667 | 12.00pm | Maintainance work | 9480847314 | putpak,chandriki, dantapur, mallapur , keshawar, madepalli
33 | Gurmitkal | Kandkoor | 110/33/11 KV Konkal | ANPUR NJY | 11.05.2024 | 0.41667 | 12.00pm | Maintainance work | 7619284818 | Anpur,edepalli.muslepalli.kuntimari.gurnoor
34 | Gurmitkal | Gajarkot | 33/11 KV Gajarkot | CHAPETLA IP | 12.05.2024 | 0.41667 | 0.5625 | Maintainance work | 9972437272 | kakalwar,siddapur,chapetla
35 | Gurmitkal | Jaigram | 33/11 KV Jaigram | JAIGRAM NJY | 25.05.2024 | 0.41667 | 0.5625 | Maintainance work | 9449384104 | Jaigram,chelleri,idloor.sanklapur.azlapur.bassapur
36 | Gurmitkal | Konkal | 110/33/11 KV Konkal | KANDKUR NJY | 26.05.2024 | 0.41667 | 12.00pm | Maintainance work | 8152021594 | Chinnakar,kandkur,dharampur.Gunjanoor.paspool.magdhampur.parmeshpalli.budur.borabanda.nazrapur