## Feb-2023
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Ballari Rural for Feb 2023
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | AFFECTED AREAS
[6 empty] | From | To
1 | Rural Sub Division | SO-3/RSD | 110KV Ballari south | F30- Siddapura Road | 13.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Siddapura road, Halakundi, Mundaragi
2 | Rural Sub Division | SO-3/RSD | 110KV Ballari south | F-27 Andral | 13.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Cherakunta, Mundaragi, SJ Kote
3 | Rural Sub Division | SO-3/RSD | 110KV Ballari south | F43- Tapal Steel Industrial | 13.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Guggarahatti, Tappal steel
4 | Rural Sub Division | SO-3/RSD | 110KV Ballari south | F-29 Mincheri (NJY) | 13.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Mundaragi, Andral, Cherakunta
5 | Rural Sub Division | SO-3/RSD | 110KV Ballari south | F-26 Charakunta IP | 13.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468
6 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | F1- Yashashwini sponge iron pvt ltd | 15.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Halakundi, industrial
7 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | F2- MINCHARI I.P.SET | 15.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Mundaragi, Mincheri,
8 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | F4-Sudhakar pipes | 15.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Mundaragi Industrial
9 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | F5-Apparel park | 15.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Mundaragi Industrial
10 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | F6-Gurunath Rice mill | 15.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365468 | Mundaragi Industrial
11 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | Fdr 01: Daroji feeder(Tentative) | 10.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9480813522 | New & old Maddapura,Thimmlapura
12 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | Fdr 02: Thimmalapura | 10.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9480813522 | Thimmlapura, Yelbenchi, Basanna camp,Boring camp, Daroji, Hale Daroji, Hale Madapura, Hosa Madapura
13 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | Fdr 03: KPTCL & BPS | 10.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9480813522 | 400KV,pavaman Industries
14 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | Fdr 04:Kudithi town | 10.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9480813522 | Veniveerapura, Kudatini town
15 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | Fdr 05: Kuduthini Ind Area | 10.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9480813522 | Kudathini
16 | Sandur Sub Division | Thoranagal | 110/11KV Thoranagal | NILL
17 | Rural Sub Division | Moka | 110/11KV Moka | NILL
18 | Rural Sub Division | Tekkalakote | 110/11KV Tekkalakote | NILL
19 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | NILL
20 | Rural Sub Division | north | 110/11KV North | F-5 Sanganakal | 20.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Sanganakal
21 | Rural Sub Division | somasamudra | 110/11KV Somasamudra | F-1 (NJY) | 21.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Vasudevanagar camp, Balajinagar camp, Jalinbenche, Koramma camp, Vijayanagar camp, Korlagundi
22 | Rural Sub Division | somasamudra | 110/11KV Somasamudra | F-2 Somasamudra (IP) | 21.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Kolur cross, V T camp, Dammur, D Kaggal, Laxminagar camp, Vakrani camp, Somasamudra, Veeranjaneyya camp, Kolagal, Mallareddy camp, Bhagyanagar camp,Koluru, Madhire
23 | Rural Sub Division | somasamudra | 110/11KV Somasamudra | F-3 Sridharagadda (NJY) | 21.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Laxminagar camp, vakrani camp. Somasamudra, veeranjaneyya camp, Mallareddy camp, Bhagyanagar camp, Kolur, Madhire
24 | Rural Sub Division | somasamudra | 110/11KV Somasamudra | F-4 Korlagundi (IP) | 21.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Gudar Nagar, Shridharagadda, Balajinagar camp, jalibenche, Korlagundi,
25 | Rural Sub Division | somasamudra | 110/11KV Somasamudra | F-5 Doctor camp (NJY) | 21.02.2023 | 10:00 | 17:00 | Quarterly Maintenance | 9448365470 | Shridharagadda, Docor camp, Basaveshwara layout

## Jan-2023
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Ballari Rural for Feb 2023
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | AFFECTED AREAS
[6 empty] | From | To
16 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 01: Taranagar | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | Taranagara
17 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 02: water works | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | Toranagallu Village
18 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 03: coffee thota | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | Thorangal village
19 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 05: Vaddu NJY | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | Vaddu,Talur,Joga,Nagalapura,Bannihatti,S Gangalapura,Taranagara,Muraripura,S Basapura,Kurekuppa
20 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 06: Kurekuppa Town | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | Kurekuppa town ,thorangal RS
21 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 07: Toranagallu Village | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | S Basapura,Kurekuppa
22 | Rural Sub Division | Thoranagal | 110/11KV Thoranagal | Fdr 08: Basapura IP | 18.01.2023 | 10:00 | 17:00 | Annual Maintenace | 9480813522 | vaddu, talur,joga,nagalapura,Bannihatti,S Gangalapura ,Taranagara,Muraripura
23 | Rural Sub Division | Moka | 110/11KV Moka | NILL
24 | Rural Sub Division | kudutini | 110/11KV Kudutini | NILL
25 | Rural Sub Division | SO-3 | 110/11KV South | NILL
26 | Rural Sub Division | SO-3 | 110/11KV Halkundi | NILL
27 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-52 Rupangundi | 08.01.2023 to 12.01.2023 | for 1 hour |  | Bay works | 9480813521 | Thirumalanagar, Babbakunta, Shankarabande, Maremma camp,Mahalakshmi camp, Y Budhihal, Mincheri, S J Kote, B N halli, Benchi Kottal, vijayapura camp, Ibrahimpura
|  | Bislahalli | 110/11KV Bislahalli | F-53 Shankarabande | 08.01.2023 to 12.01.2023 | for 1 hour |  | Bay works | 9480813521 | Thirumalanagar, Babbakunta, Shankarabande, Maremma camp,Mahalakshmi camp, Y Budhihal, Mincheri, S J Kote, B N halli, Benchi Kottal, vijayapura camp, Ibrahimpura
|  | Bislahalli | 110/11KV Bislahalli | F-54 Bisilahalli | 08.01.2023 to 12.01.2023 | for 1 hour |  | Bay works | 9480813521 | Bisalahalli, T budhihal
|  | Bislahalli | 110/11KV Bislahalli | F-55 Asundi | 08.01.2023 to 12.01.2023 | for 1 hour |  | Bay works | 9480813521 | Bisalahalli, Bevinahalli, Kakku bevinahalli, Amarapura, Kammarachedu, Thalamamadi, Vighneshwara camp, laxmamma camp, Dhanalakshmi camp, Bisalahalli, Bevinahalli, Kakka bevinahalli, Amarapura, T Budhihal, Godehal, Asundi,Bisalahalli, T budhihal
|  | Bislahalli | 110/11KV Bislahalli | F-56 Hagari | 08.01.2023 to 12.01.2023 | for 1 hour |  | Bay works | 9480813521 | Bisalahalli, Bevinahalli, Kakku bevinahalli, Amarapura, Kammarachedu, Thalamamadi, Vighneshwara camp, laxmamma camp, Dhanalakshmi camp, Bisalahalli, Bevinahalli, Kakka bevinahalli, Amarapura, T Budhihal, Godehal, Asundi
28 | Rural Sub Division | Tekkalakote | 110/11KV Tekkalakote | NILL
29 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | NILL
30 | Rural Sub Division | north | 110/11KV North
31 | Rural Sub Division | somasamudra | 110/11KV Somasamudra

## Mar-2023
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Ballari Rural for March-2023
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | AFFECTED AREAS
[6 empty] | From | To
1 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | F2-Chaganur | 19.03.2023 | 10:00 | 16:00 | quarterly maintenance | 8722333845 | Meenahalli, Shidaginmola, K Veerapura, Veerapura, Chaganur
2 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | F4-APTS | 19.03.2023 | 10:00 | 16:00 | quarterly maintenance | 8722333845 | P D Halli, Kaggal, Lingadevanahalli, Yalapi, Joladarashi, chellagurki,
3 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | F5-Hagari | 19.03.2023 | 10:00 | 16:00 | quarterly maintenance | 8722333845 | P D Halli, Kaggal, Lingadevanahalli, Yalapi, Joladarashi, chellagurki,
4 | Rural Sub Division | P.D.Halli | 110/11KV P.D.Halli | F1-Meenahalli | 19.03.2023 | 10:00 | 16:00 | quarterly maintenance | 8722333845 | Meenahalli, Shidaginmola, K Veerapura, Veerapura
5 | Sandur Sub Division | Thoranagal | 110/11KV Thoranagal | NILL
6 | Rural Sub Division | Kuduthini | 110/11KV Kuduthini | NILL
7 | Rural Sub Division | SO-3/RSD | 110/11KV Ballari South | NILL
8 | Rural Sub Division | SO-3/RSD | 110/11KV Halkundi | NILL
9 | Rural Sub Division | Moka | 110/11KV Moka | F1 BD Halli | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Moka, B D Halli, D N halli
10 | Rural Sub Division | Moka | 110/11KV Moka | F2 Masidipura | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Gudadur, Gotur, K K Hal, Masidipura, Vanenur
11 | Rural Sub Division | Moka | 110/11KV Moka | F4 Shivapura | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Shivapura, Ashok Nagar camp, Sanganakal, Kappagal, Siriwara, Chaagnaur,
12 | Rural Sub Division | Moka | 110/11KV Moka | F5 Water works | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Shivapura
13 | Rural Sub Division | Moka | 110/11KV Moka | F12 Basarkod | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Gotur, K K Hal, Masidipura, Hosa Masidipura, Vanenuru, Karchedu, Basarakodu, Basarakodu camp, hire Hadligi, Hire Hadligi camp,
14 | Rural Sub Division | Moka | 110/11KV Moka | F13 Basarkodu | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Moka, Karchedu, Basarakodu,Hire hadligi,
15 | Rural Sub Division | Moka | 110/11KV Moka | F14 Kappagallu | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Shivapura, Ashok Nagar camp, Kappagal, Siriwara, Chagnaur,
16 | Rural Sub Division | Moka | 110/11KV Moka | F15 Moka | 14.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Moka, B D Halli
17 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-52 Shankarbanda | 13.03.2023 | 11:00 | 6:00 | quarterly maintenance | 9480813521 | Thirumalanagar, Babbakunta, Shankarabande, Maremma camp,Mahalakshmi camp, Y Budhihal, Mincheri, S J Kote, B N halli, Benchi Kottal, vijayapura camp, Ibrahimpura
18 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-53 Shankarabande | 13.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Thirumalanagar, Babbakunta, Shankarabande, Maremma camp,Mahalakshmi camp, Y Budhihal, Mincheri, S J Kote, B N halli, Benchi Kottal, vijayapura camp, Ibrahimpura
19 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-54 Bisilahalli | 13.03.2023 | 11:00 | 6:00 | quarterly maintenance | 9480813521 | Bisalahalli, T budhihal
20 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-55 Asundi | 13.03.2023 | 11:00 | 18:00 | quarterly maintenance | 9480813521 | Bisalahalli, Bevinahalli, Kakku bevinahalli, Amarapura, Kammarachedu, Thalamamadi, Vighneshwara camp, laxmamma camp, Dhanalakshmi camp, Bisalahalli, Bevinahalli, Kakka bevinahalli, Amarapura, T Budhihal, Godehal, Asundi,Bisalahalli, T budhihal
21 | Rural Sub Division | Bislahalli | 110/11KV Bislahalli | F-56 Asundi(Kamarchedu) | 13.03.2023 | 11:00 | 6:00 | quarterly maintenance | 9480813521 | Bisalahalli, Bevinahalli, Kakku bevinahalli, Amarapura, Kammarachedu, Thalamamadi, Vighneshwara camp, laxmamma camp, Dhanalakshmi camp, Bisalahalli, Bevinahalli, Kakka bevinahalli, Amarapura, T Budhihal, Godehal, Asundi
22 | Rural Sub Division | Donimalai | 110/11KV Donimalai | NILL
23 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F1 -Kurugodu | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Kurugodu Town
24 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-2 Ganikehal | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Genikihal, Hosa Genikihal, Hale Genikihal,
25 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-5 Sindigeri | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Annapoorneshwari Camp,Sindhigeri, Byluru, Vaddatti Cross, Malleshwara camp, Gopalapuram camp.
26 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-7 Badinatti | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Badanahatti, Vaddatti, Saptagiri Camp, Gangabhavani camp
27 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-3 Kalkamba | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Kallakamba, Kerekere, Mushtigatta, Srinivasa camp, Laxmipura
28 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-4 H Veerapura | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Kallakamba, Kerekere, Mushtigatta, Srinivasa camp, Laxmipura, Yellapura, Yellapura cross,somalapura cross, somalapura, Chitaginahal, H Veerapura, Arjun raj camp,Nagaraj camp, Meenakere H Veerapura, Kyadigihal Meenakere, Maruti camp
29 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-6 Pattanaseragu | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Yellapura cross, yellapura, Maruti camp, Guttiganur, Pattana seragu,
30 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-8 LIS | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Genikihal, Hosa Genikihal, Hale Genikihal, Kyadigihal, Annapoorneshwari Camp,Sindhigeri, Byluru, Vaddatti Cross, Malleshwara camp, Gopalapuram camp.
31 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-9 Badanatti | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Badanahatti, Vaddatti, Saptagiri Camp, Gangabhavani camp, Yerrangali, Siddaamanahalli, Krishnanagar Camp.
32 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-11 Chitiginahalu | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Kallakamba, Srinivas camp, Laxmipura, Somalapura, Chitaginahal, H Veerapura, Arjun raj camp.
33 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F12-Mushtagatta IP | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Mustigatta,kerekere,kalkamba
34 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-13 Kyadigehalu IP | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Kyadigehalu, Genkihal
35 | Rural Sub Division | Kurugodu | 110/11KV Kurugodu | F-14 Veerapura | 03.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Idle feeder
36 | Rural Sub Division | North | 110/11KV North
37 | Rural Sub Division | Somasamudra | 110/11KV Somasamudra
38 | Rural Sub Division | Allipura | 220KV Allipura | NILL
39 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F1 Sirigeri | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Tekkalakote
40 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F2 Nittur | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Nittur
41 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F3 HT LIS | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Mannur Sugur
42 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F4 HT lis | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Tekkalakote town, Nittur, Herakal, Halekote, Devinagara
43 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F-5 Buduguppa | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Buduguppa
44 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F-6 NJY Halekote | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Kuriganoor
45 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F-7 K Belagal | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Belagal
46 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F 8 NJY Balkundi | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Balakundi, Uppar Hosalli, Matsugur, Kuriganur, Budaguppa.
47 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F 9 Herakal | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Herakal, Tekkalakote
48 | Siruguppa Sub Division | Tekkalakote | 110/11KV Tekkalakote | F-10 Byrapura | 17.03.2023 | 10:00 | 5:00 | quarterly maintenance | 9480813760 | Byrapura
49 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F1 Shanavaspura | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Sanavasapur, Darur
50 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F2 Sirigeri | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Sirigeri, Sanavasapur, Byrapura, Dasapura, Konchigeri, Siddarapura, Malapura, Muddatnur, Channapatna, Havinalu, Gundiganur, Sirigericross.
51 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F3 HT | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Shanvasapur, Karur
52 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F4 Konchageri | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Konchigeri, Dasapura, Sidarampur, Shanavasapura.
53 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F6 Havinal | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Sirigeri, Havinalu
54 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F7 Gundignoor | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Sirigeri, Gundiganur
55 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F-8 Karuru | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Karur
56 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F-9 H.Hosalli | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Darur, Hagalur, H.Hosalli
57 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F-10 Taluru | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Darur, Karur, Gosabala, Hagalur, H.Hosalli, Talur, Ulur, Uttanur.
58 | Siruguppa Sub Division | Sirigeri Cross | 110/11KV Sirigeri Cross | F-11 Uthanuru | 13.03.2023 | 10:00 | 5:00 | quarterly maintenance | 7892540199 | Uttanur, Darur
59 | Sandur Sub Division | Chornur | 66/11KV Chornur | F1 - Kalingere | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Agrahara/Kanive Agrahara, D Upparahalli,Devara Mallapura,Genatikatte,Hale Vaddinakatte,Hirehal,Hosa addinakatte,Huchenahalli,Kalingeri,Mallarahalli,Nallabande,Ramachari Gollarahatti,S Upparahalli,Sovenahalli,Suravanahalli Gollarahatti,Suravanahalli Lakkalahalli,Thippanamaradi,Vaderahalli
60 | Sandur Sub Division | Chornur | 66/11KV Chornur | F2 - Sovenahalli | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Agrahara/Kanive Agrahara,Genatikatte,Hale Vaddinakatte,Hosa Vaddinakatte,Huchenahalli,Kammatur,Mallarahalli,Nallabande,Ramachari ,Suravanahalli ,Vaderahalli,Gollarahatti,SuravanahalliGollarahatti,Sovenahalli,Upparahalli,Suravanahalli Lakkalahalli
61 | Sandur Sub Division | Chornur | 66/11KV Chornur | F4 - Chornur | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Chornur Bommaghatta, Gouripura, Jodikasakanahalli, mmaraguddi,C Gollarahatti,Tokenahalli, Devara BuddenaHalli, Obalapura,Seliyyappanahalli,Mattajanahalli
62 | Sandur Sub Division | Chornur | 66/11KV Chornur | F3- Shettikeri | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Kalingere,bandri,shettigere
63 | Sandur Sub Division | Chornur | 66/11KV Chornur | F5 - Bandri NJY | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | D Upparahalli,Devara Mallapura,Hirehal,Kalingeri,Kammatur,Thippanamaradi
64 | Sandur Sub Division | Chornur | 66/11KV Chornur | F6 - Swamihalli | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Thyagadalu, Jigenahalli, Yerenahalli, Swamyhalli, Nagenahalli, Hosur Devarahalli/ Kanakapura Yaradamanahalli Tonasigere Gollalingamanahalli Bommalagunda Motalakunta
65 | Sandur Sub Division | Chornur | 66/11KV Chornur | F7 - Bommagatta | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | Bommaghatta,Bommalagunda,C Gollarahatti,Chornur,Devara BuddenaHalli,Devarahalli/ Kanakapura,Gollalingamanahalli,Gouripura,Hosur,Jigenahalli,Jodikasakanahalli,Mattajanahalli,Motalakunta,Nagenahalli,Obalapura,Seliyyappanahalli,Swamyhalli,Thyagadalu,Tokenahalli,Tonasigere,Tummaraguddi,Yaradamanahalli,Yerenahalli,
66 | Sandur Sub Division | Chornur | 66/11KV Chornur | F8 - Nidagurthi | 10.03.2023 | 10:00 | 5:00 | quarterly & Yearly maintenance | 9480813531 | 73 Hulikunte,Bandri,Chikka kereyaginahalli,Girenahalli,Hire kereyaginahalli,Kapatral,Katinakamba,Kodihalli,Kodihalli Gollarahatti,Kondapura,N Mallapura,New Jogikallu,Nidagurthi,Old Jogikallu,Shriramashettihalli,Uttaramalai.
67 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F1 Metrike | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | M Gangalapura,Metriki,Gundlahalli,M Ramasagara,M Lakkalahalli,M Basapura
68 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F2 Rajapura | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | Kererampura,Thimmalapura,Koracharahatti,U Mallapura,Rajapura,Malapura, Neeralahalla,Ubbalagandi
69 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F3 Anthapura | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | Tumati,Tumati Thanda,Anthapura,Anthapura Koracharahatti,Marutla,Lingadahalli,Kodal,Chikka Anthapura,Sultanapura/Yarabanahalli,Havinamadugu
70 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F4 Vittalapura | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | Tumati,Tumati Thanda,Anthapura,Anthapura,Koracharahatti,Marutla,Lingadahalli,Kodal,Chikka Anthapura,Sultanapura/Yarabanahalli Havinamadugu.
71 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F5 Basapura | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | M Gangalapura,Metriki,Gundlahalli,M Ramasagara,M Lakkalahalli,M Basapura
72 | Sandur Sub Division | Vittalapura | 33KV Vittalapura | F6 Hubblgundi | 15.03.2023 | 9:00 | 5:00 | quarterly maintenance | 9449597417 | Kererampura,Thimmalapura Koracharahatti,U Mallapura,Rajapura,Malapura,Neeralahalla,Ubbalagandi

## October-2023
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Ballari Rural for October-2023
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | AFFECTED AREAS
[6 empty] | From | To
1 | RSD Ballari | 110KV Ballari south | 110KV Ballari south | F30- Siddapura Road | 22.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Siddapura road, Halakundi, Mundaragi
2 | RSD Ballari | 110KV Ballari south | 110KV Ballari south | F-27 Andral | 22.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Cherakunta, Mundaragi, SJ Kote
3 | RSD Ballari | 110KV Ballari south | 110KV Ballari south | F43- Tapal Steel Industrial | 22.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Guggarahatti, Tappal steel
4 | RSD Ballari | 110KV Ballari south | 110KV Ballari south | F-29 Mincheri (NJY) | 22.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Mundaragi, Andral, Cherakunta
5 | RSD Ballari | 110KV Ballari south | 110KV Ballari south | F-26 Charakunta IP | 22.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Charkunta, Burranayakanahalli, Mundrigi
6 | RSD Ballari | 110KV Halakundi | 110KV Halakundi | F1- Yashashwini sponge iron pvt ltd | 26.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Halakundi, industrial
7 | RSD Ballari | 110KV Halakundi | 110KV Halakundi | F2- MINCHARI I.P.SET | 26.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Mundaragi, Mincheri,
8 | RSD Ballari | 110KV Halakundi | 110KV Halakundi | F4-Sudhakar pipes | 26.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Mundaragi Industrial
9 | RSD Ballari | 110KV Halakundi | 110KV Halakundi | F5-Apparel park | 26.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Mundaragi Industrial
10 | RSD Ballari | 110KV Halakundi | 110KV Halakundi | F6-Gurunath Rice mill | 26.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9448365468 | Mundaragi Industrial
11 | RSD Ballari | Erragudi | 33Kv Erragudi | F-1 D.Nagenahalli | 26.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | D N Halli, Thambrahalli,
12 | RSD Ballari | Erragudi | 33Kv Erragudi | F-2 G N Halli | 26.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | byalachinthe, G N Halli,
13 | RSD Ballari | Erragudi | 33Kv Erragudi | F-3 Hale Erragudi | 26.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Hale yerragudi, Hosa yerragudi, Benakal, Sindhwala,
14 | RSD Ballari | Erragudi | 33Kv Erragudi | F5 Syndawala | 26.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Hale yerragudi, Hosa yerragudi, Benakal, Sindhwala, M Gonal, Jalihal, bommanahal
15 | RSD Ballari | Erragudi | 33Kv Erragudi | F6-Jalihal | 26.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Gonal, Jalihalli, Bommnahall
16 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F1- Guttiganur | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Emmiganur, Orvai cross, Orvai, Guttiganur, Brahmin camp,
17 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F2- Somalapura | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Emmiganur, Somalapura cross, Somalapura, Thaatharaj camp, Doddaraj camp
18 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F3- Emmiganur | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Emmiganur, Muddapura, Haal anjineya camp, Balapura
19 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F4-Muddapur | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Emmiganur Town, Brahmin camp, Doddaraj camp, Thatharaj camp, Haal anjineya camp, orvai cross, orvai, Guttiganur, Pattana seragu
20 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F5-Nelludi | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Plastic factory, Shantinagar, Mehaboob Nagar, Balapura, Hosa nelludi, hale Nelludi, Kottal, Nelludi Kottal, Shankar singh camp
21 | RSD Ballari | Emmiganur | 33Kv Emmiganur | F6- Nelludi | 04.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Shantinagar, Mehaboob Nagar, Balapura, Hosa nelludi, hale Nelludi, Kottal, Nelludi Kottal, Shankar singh camp
22 | RSD Ballari | Gududur | 33Kv Gududur | F-1 D Kaggal | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | D Kaggal IP
23 | RSD Ballari | Gududur | 33Kv Gududur | F-2 Gududar | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Gudadur
24 | RSD Ballari | Gududur | 33Kv Gududur | F3-Handihall | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Handihal, Chanal
25 | RSD Ballari | Gududur | 33Kv Gududur | F4-NJY Gudadur | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | gudadur, Handihal, Chanal,
26 | RSD Ballari | Gududur | 33Kv Gududur | F5-Channal | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Chanal
27 | RSD Ballari | Gududur | 33Kv Gududur | F6-Talur | 17.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Rupanagudi, Rayapura, Kuntanahal,
28 | RSD Ballari | Rupangudi | 33/11KV Rupangudi | F95-Rupangudi | 10.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Rupanagudi, Rayapura, Kuntanahal,
29 | RSD Ballari | Rupangudi | 33/11KV Rupangudi | F96-Rupangudi | 10.10.2023 | 9:00 | 18:00 | Quarterly Maintenance | 9448271606 | Talur, Uluru
30 | Siruguppa | Tekkalakote | 33Kv Tekkalkote | F1-Balkundi | 06.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Balakoundi, Uppara Hosalli
31 | Siruguppa | Tekkalakote | 33Kv Tekkalkote | F2-Udegolea | 06.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Udegolam, Nadavi
32 | Siruguppa | Tekkalakote | 33Kv Tekkalkote | F4-Halekolte | 06.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Halekote
33 | Siruguppa | Tekkalakote | 33Kv Tekkalkote | F-5 Tekkalakote | 06.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418
34 | Siruguppa | Hatcholli | 33Kv Hatcholli | F2 Kududrhal | 10.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Kudurahal, Nagalapur, Sridargadde, Honarahalli, Chikkaballari
35 | Siruguppa | Hatcholli | 33Kv Hatcholli | F3 Vattamurani | 10.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Matur, TS Kudalur, Vattumurani, Beerahalli, KK Hal, Basarahalli, AK Hal, BG Dinni, Kotalachinta, Surya Camp.
36 | Siruguppa | Hatcholli | 33Kv Hatcholli | F4 Chikka Ballari | 10.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Hatcholli, Chikkaballari.
37 | Siruguppa | Hatcholli | 33Kv Hatcholli | F5- Hatcholli | 10.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Hatcholli, Chikkaballari, Hanarahalli, Sridargadde, Nagalapura, Kudurahal
38 | Siruguppa | Hatcholli | 33Kv Hatcholli | F6 - Beerali | 10.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Matur, TS Kudalur, Vattumurani, Beerahalli, KK Hal, Basarahalli, AK Hal, BG Dinni, Kotalachinta, Surya Camp.
39 | Siruguppa | Karur | 33Kv Karur | F1-Darur | 12.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Uttanur, Darur
40 | Siruguppa | Karur | 33Kv Karur | F3-Karur | 12.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Darur
41 | Siruguppa | Karur | 33Kv Karur | F4-Kosabal | 12.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Karur
42 | Siruguppa | Karur | 33Kv Karur | F5-Mat-Sugur | 12.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Gosabala
43 | Siruguppa | Karur | 33Kv Karur | F6-Uthanur | 12.10.2023 | 10:00 | 17:00 | Monthly Maintenance | 9449597418 | Matsugur