## Outages
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement Showing the details of scheduled outages of O&M division Yadgir (May-2021)
Sl.no | Name of the Sub-Divison | Name of the section | Name of the Sub-Station | Name of Feeder’s/ DTC’s | Date of outage | Time |  | Nature of work | Contact Number of concerned officer | Affected Areas
[6 empty] | From | To
1 | Hunasagi | Hunasagi Rural | 33/11KV Hunasagi | B.Salavadagi | 23.01.2021 | 08.00AM | 12.00PM | Maintainace Work | 97480844510 | Bannahatti,Kojapur,Kuppi,Dyamanal,Malnoor,Gulabal
2 | Hunasagi | Rajankollur | 33/11KV Kodekal | Geddalamari IP | 24.01.2021 | 08.00AM | 12.00PM | Maintainace Work | 9480847503 | Rajwal,Rajwal tanda,Kadadaral,Kadadaral tanda,kumbarabanchhi,Geddalamari,Gedda
3 | Gurmitkal | Gurmitkal | 110/33/11 KV Gurmitkal | Gurmitkal town | 23.01.2021 | 10:00 | 13:30 | Maintainance work | 9448395653 | Gurmitkal town
4 | Gurmitkal | Kandkur | 110/33/11 KV Konkal | Dharampur IP | 24.01.2021 | 10:00 | 13:30 | Maintainance work | 7619284818 | Chinnkar , Dharmpur, Budur
5 | Gurmitkal | Gajarkot | 33/11 KV Gajarkot | Kakalwar NJY | 23.01.2021 | 10:00 | 13:30 | Maintainance work | 9448395697 | chapetla , kakalwar,MT pally,siddapur
6 | Gurmitkal | Jaigram | 33/11 KV Jaigram | Jaigram NJY | 23.01.2021 | 10:00 | 13:30 | Maintainance work | 9449384104 | Jaigram,idloor, sankalapur,azalapur
7 | Shorapur | Shorapur Rural | 33/11 KV Tippanatagi | Mavinamatti IP | 23.01.2021 | 10.00 AM | 12.00 PM | Maintainace | 9880083649 | Mavinmatti, Chigiral, Mangloor , Hal ammapur, B doddi & Chikkanahali
8 | Shorapur | Shorapur Rural | 33/11 KV Tippanatagi | Goudagera NJY | 24.01.2021 | 10:00 | 15:00 | Maintainace | 9880083649 | Tippanatagi, Anjanay camp, Malagatti and Goudagera
9 | Shorapur | Kembhavi | 110/33/11KV Kembhavi | Towm | 23.01.2021 | 10:00 | 12:00 | Maintainace | 9620571212 | New bustand area, UKP Camp, Saneev Nagar, and Old Govt Hospital
10 | Shorapur | Kembhavi | 110/33/11KV Kembhavi | Dasimay NJY | 24.01.2021 | 10:30 | 12:30 | Maintainace | 9620571212 | Mudnoor, Pattepur, Kembhavi, Rampur, Shakapur and Teggahalli
11 | Yadgir | Hattikuni | 33/11 kv station Yergol | F6 Yergol NJY | 23.01.2021 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9845793224 | Yergol,Tana nayak tandaa, Tavaru, Allipur
12 | Yadgir | Thangundi | 33/11 kv station Thangundi | F1 TUMKUR NJY | 23.01.2021 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9845793224 | Tumkur,Thangundi, Achola, Hedagimadra
13 | Yadgir | Yadgir Rural | 110/33/11 KVA Muss Yadgir | F11 Sawoor | 23.01.2021 | 9:00 | 12:00PM | Jungle cutting,Transformer Structure work | 9448395652 | Sawoor, Malhar, Lingeri,Mustoor,Koilur
14 | Yadgir | Unit-I | 110/33/11 KVA Muss Yadgir | F9 Town | 23.01.2021 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9448395656 | Mailapur Agasi,Gunj,Gandhi Chowk
15 | Yadgir | Unit-II | 110/33/11 KVA Muss Yadgir | F5-Laxminagar | 23.01.2021 | 9:00 | 12:00PM | GOS Works,Jungle cutting,Transformer Structure work | 9480844516 | Aziz calony,Laxminagra,Gandhi Nagar
16 | Shahapur | Shahapur town | 110KV Shahapur | Halisagar | 23.01.2021 | 10:00 | 11:00 | Jungle Cutting | 9448395684 | Laxmingar , Devingar, SB Nagar , Venkateshwar Nagar, Mallayya Nagar, Halisagar, Chandu TC area and Kanya kolur road
Note on F12: AET Shorapur: