## Divn-I (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Cells | Nos Cells | Battery Stand | Condition of Battery | Remarks
1 | Guduru S/s | Make: Banavathy, Sl.No. 346 | Make Exide 100AH | 55 | Good | Working
2 | H.Haruthi S/s | Make: IEA, Sl.No. 349 | Aajco | 55 | Good | Working
3 | Kadgcnhi S/s | Make: IEA, Sl.No 325 | Exide 100AH | 55 | Good | Working
4 | Khajuri S/s | Make: IEA, Sl.No 255 | Exide 100AH | 55 | Broken Stand | Working
5 | M.Hipparga S/s | Make: Abhaya Electric 2007/152 | Aajco | 55 | Broken Stand | Working
6 | Gobbur S/s | Abhaya Electric, Sl.No. 20071153 | Make:Aajco | 55 | Good | Working
7 | Azdapur S/s | Make: Abhaya Electric | Make: Exide | 55 | Good | Working
8 | Sarsamba S/s | Make: Banavathy and Company Bangalore Sl.No. 418 | Make: Aajco, 110V, 100AH | 55 | Broken Stand | Working
9 | Revoor S/s | 110Volt DC, 100AH, Make: I.E.A | 55Nos of Cells, 2Volt each Premier make, 100AH | 55 | Battery Stand | Working
10 | Jidaga S/s | Make : Sanjivini | Exide Battery Cells | 55 | Good | Working
11 | Hasargundgi S/s | Make: Abhaya Electricals, Sl.No. 2010/062 | Make: Exide, 100AH, 2Volts | 55 | Good | Working
12 | Jambaga S/s | IEA Make, 110V/100AH, Sl.No. 314 | Make: Exide, 100AH, 2Volts | 55 | Stand Broken | Working | Stand required immediately repalcement
13 | Azdapur S/s | IEA Make, 110V/100AH, | Make: Exide, 100AH, 2Volts | 55 | Good | Working
14 | Udchana S/s | Make: Banavathy, Sl.No. 439 | Make Aajco | 55 | Good | Working
15 | Mannur S/s | Make: Banavathy, Sl.No. 340 | Make Exide 100AH | 55 | Good | Working
16 | V.K.Salgar S/s | Make: IEA, | Make: Exice | 55 | Broken Stand | Working
17 | Nimbarga S/s | IEA Make, 110V/100AH, SlNo. 225, | Excide Cells , 2Volt 100AH | 55 | Broken Stand | Working

## Battery Charger Divn-1 (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Float | Boost | Remarks
1 | 33/11Kv Guduru S/s | Make: Banavathy, Sl.No. 346 | Working | Not working | Charger to be serviced by manufacturer
2 | 33/11Kv H.Haruthi S/s | Make: IEA, Sl.No. 349 | Working | Not working | Charger to be serviced by manufacturer
3 | 33/11Kv Kadgcnhi S/s | Make: IEA, Sl.No 325 | Working | Not working | Charger failed installed portable charger
4 | 33/11Kv Khajuri S/s | Make: IEA, Sl.No 255 | Working | Not working | Charger to be servicing
5 | 33/11Kv M.Hipparga S/s | Make: Abhaya Electric 2007/152 | Working | Not working | Charger to be servicing
| Takdal |  | Working | Not working | Charger to be servicing
6 | 33/11Kv Gobbur S/s | Abhaya Electric, Sl.No. 20071153 | Working | Working | Charger should be working
7 | 33/11Kv Azdapur S/s | Make: Abhaya Electric | Working | Working | Charger should be working
8 | 33/11Kv Sarsamba S/s | Make: Banavathy and Company Bangalore Sl.No. 418 | Working | Working | Charger should be working
9 | 33/11Kv Revoor S/s | 110Volt DC, 100AH, Make: I.E.A | Working | Not Working | Charger to be servicing
10 | 33/11Kv Jidaga S/s | Make : Sanjivini | Working | Working | Charger should be working
11 | 33/11Kv Hasargundgi S/s | Make: Abhaya Electricals, Sl.No. 2010/062 | Working | Working | Charger should be working
12 | 33/11Kv Jambaga S/s | IEA Make, 110V/100AH, Sl.No. 314 | Working | Not working | Charger to be servicing
13 | 33/11Kv Azdapur S/s | IEA Make, 110V/100AH, | Working | Working | Charger should be working
14 | 33/11Kv Udchana S/s | Make: Banavathy, Sl.No. 439 | Working | Working | Charger should be working
15 | 33/11Kv Mannur S/s | Make: Banavathy, Sl.No. 340 | Working | Not working | Charger to be servicing
16 | 33/11Kv V.K.Salgar S/s | Make: IEA, | Working | Not working | Charger to be servicing
17 | 33/11Kv Nimbarga S/s | IEA Make, 110V/100AH, SlNo. 225, | Working | working | Charger to be servicing

## Nove-16 (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement showing the requirement of Battery set and Battery Charger in 33/11Kv Sub-stations of C&M Division, GESCOM, Kalaburagi.
SL.No | O&M Division | Sub-stations | Battery Set | Battery Charger | Remarks
1 | Division-I | 33/11Kv Guduru S/s | Needed | Boost not working | Boost to be repaired
2 |  | 33/11Kv H.Haruthi S/s | Needed | Boost not working | Boost to be repaired
3 |  | 33/11Kv Revoor S/s | Needed | Boost not working | Boost to be repaired
4 |  | 33/11Kv Hasargundgi S/s | Needed | Boost not working | Boost to be repaired
5 |  | 33/11Kv Mannur S/s | Needed | Boost not working | Boost to be repaired
6 |  | 33/11Kv Udchana S/s | Needed | Boost not working | Boost to be repaired
7 |  | 33/11Kv Azadpur S/s | Needed | Boost not working | Boost to be repaired
8 |  | 33/11Kv Jambaga S/s | Needed | Boost not working | Boost to be repaired
9 |  | 33/11Kv Khajuri S/s | Needed | Needed | Battery cells are dead & Charger not working
10 |  | 33/11Kv M.Hipparga S/s | Needed | Boost not working | Boost to be repaired
11 |  | 33/11Kv Tadkal S/s | Needed | Needed | Battery cells are dead & Charger not working
12 |  | 33/11Kv Sarsamba S/s | Needed | Needed | Battery cells are dead & Charger not working
13 |  | 33/11Kv Jidaga S/s | Needed | Boost not working | Boost to be repaired
14 |  | 33/11Kv V.K.Salgar S/s | Needed | Boost not working | Boost to be repaired
15 |  | 33/11Kv Nimbarga S/s | Needed | Needed | Battery cells are dead & Charger not working
16 | Division-II | 33/11Kv Nelogi S/s | Needed | Boost not working | Boost to be repaired
17 |  | 33/11Kv Bilwara S/s | Good | Boost not working | Boost to be repaired
18 |  | 33/11Kv Ankalga S/s | Needed | Good | Battery cells are dead & Charger not working
19 |  | 33/11Kv Malli S/s | Good | Good | Battery set and charger are in good condition
20 |  | 33/11Kv Alloli S/s | Needed | Boost not working | Boost to be repaired
21 |  | 33/11Kv Hebbal S/s | Good | Needed | Battery cells are dead & Charger not working
22 |  | 33/11Kv GundgurthiS/s | Good | Good | Battery set and charger are in good condition
23 |  | 33/11Kv Kalagi S/s | Needed | Needed | Battery cells are dead & Charger not working
24 | Sedam Division | 33/11Kv Kodla S/s | Needed | Needed | Battery cells are dead & Charger not working
25 |  | 33/11Kv Mudhol S/s | Needed | Good | Battery cells are dead
26 |  | 33/11Kv Sulepeth S/s | Needed | Good | Battery cells are dead
27 |  | 33/11Kv Chimmanchod S/s | Needed | Good | Battery cells are dead
28 |  | 33/11Kv Konchavaram S/s | Needed | Good | Battery cells are dead
29 |  | 33/11Kv Malkhed S/s | Needed | Good | Battery cells are dead
30 |  | 33/11Kv Miriyan S/s | Needed | Needed | Battery cells are dead & Charger not working
31 | Yadgir | 33/11Kv Hattikuni
32 |  | 33/11Kv Ballichakra
33 |  | 33/11Kv Jaigram
34 |  | 33/11Kv Gajarkot
35 |  | 33/11Kv Thanagundi
36 |  | 33/11Kv Kodekal
37 |  | 33/11Kv Wadgera
38 |  | 33/11Kv Hunsagi
39 |  | 33/11Kv Bendegumbli
40 |  | 33/11Kv Pet-ammapur
41 |  | 33/11Kv Chamnal
42 |  | 33/11Kv Thippanatagi
43 |  | 33/11Kv Kakkera
44 |  | 33/11Kv Gogi
45 |  | 33/11Kv Sagara

## Battery Cells Divn-1 (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Condition Battery Charger | Cells | Battery No of Cells |  | Battery Stand | Condition of Battery set
[5 empty] | Working | Not Working
1 | Guduru S/s | Make: Banavathy, Sl.No. 346 |  | Make Exide 100AH | 55 | Nill | Good | Good
2 | H.Haruthi S/s | Make: IEA, Sl.No. 349 |  | Aajco | 55 | 17 | Good
3 | Azdapur S/s | IEA Make, 110V/100AH, |  | Make: Exide, 100AH, 2Volts | 55 |  | Good
4 | Udchana S/s | Make: Banavathy, Sl.No. 439 |  | Make Aajco | 55 |  | Good
5 | Mannur S/s | Make: Banavathy, Sl.No. 340 |  | Make Exide 100AH | 55 |  | Good
6 | Gobbur S/s | Abhaya Electric, Sl.No. 20071153 |  | Make:Aajco | 55 |  | Good
7 | Hasargundgi S/s | Make: Abhaya Electricals, Sl.No. 2010/062 |  | Make: Exide, 100AH, 2Volts | 55 |  | Good
8 | Revoor S/s | 110Volt DC, 100AH, Make: I.E.A |  | 55Nos of Cells, 2Volt each Premier make, 100AH | 55 |  | Battery Stand
9 | Kadgcnhi S/s | Make: IEA, Sl.No 325 |  | Exide 100AH | 55 |  | Good
10 | Khajuri S/s | Make: IEA, Sl.No 255 |  | Exide 100AH | 54 |  | Broken Stand
11 | M.Hipparga S/s | Make: Abhaya Electric 2007/152 |  | Aajco | 55 |  | Broken Stand
12 | Tadkal S/s |  |  |  | 55 |  | Broken Stand
13 | Sarsamba S/s | Make: Banavathy and Company Bangalore Sl.No. 418 |  | Make: Aajco, 110V, 100AH | 53 |  | Broken Stand
14 | Jidaga S/s | Make : Sanjivini |  | Exide Battery Cells | 55 |  | Good
15 | Jambaga S/s | IEA Make, 110V/100AH, Sl.No. 314 |  | Make: Exide, 100AH, 2Volts | 55 |  | Stand Broken
16 | V.K.Salgar S/s | Make: IEA, |  | Make: Exice | 55 |  | Broken Stand
17 | Nimbarga S/s | IEA Make, 110V/100AH, SlNo. 225, |  | Excide Cells , 2Volt 100AH | 55 |  | Broken Stand

## Battery Charger SDM (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Float | Boost | Remarks
1 | Malkhed | Make: Banavathy and Company Banglore Sl.No. 337 | Working | Not working | Charger to be servicing
2 | Konchavram | Make: IEA Sl.No | Working | Not working | BC problem not working
3 | Kodla | Make: Servilike Engineer Pvt Ltd Sl.No. JN-501/2 | Working | Not working | Charger failed installed portable charger
4 | Sulepeth | Make: IEA, Sl.No. 358 | Working | Not working | BC Float not working
5 | Nidgunda | Make: Dubas | Working | Working | Charger to be servicing
6 | Mudhol | Make: Servilink Engineer Pvt Ltd., Sl.No. GN-501/1 | Working | Working | Charger should be working
7 | Ratkal | Make: IEA Sl.No 312 | Not working | Not working | Power pack
8 | Miriyan | Exide Sl.No.TV-100 | Not working | Not working | BC Float not working
9 | Chimmanchod | Exide Sl.No.TM-100P | Working | Not Working

## Battery Cells SDM (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Cells | Battery No of Cells |  | Battery Stand | Condition of Battery | Remarks
|  |  |  | Working | Not Working
1 | Malkhed | Make: Banavathy and Company Banglore Sl.No. 337 | Make: Aajco 100 AH | 55 |  | Good
2 | Konchavram | Make: IEA Sl.No |  | 55 |  | Good
3 | Kodla | Make: Servilike Engineer Pvt Ltd Sl.No. JN-501/2 |  | 55 |  | Good
4 | Sulepeth | Make: IEA, Sl.No. 358 | Make: Premier | 53 |  | Broken Stand
5 | Nidgunda | Make: Dubas |  | 55 |  | Broken Stand
6 | Mudhol | Make: Servilink Engineer Pvt Ltd., Sl.No. GN-501/1 |  | 55 |  | Good
7 | Ratkal | Make: IEA Sl.No 312 |  | 53 |  | Good
8 | Miriyan | Exide Sl.No.TV-100 |  | 53 |  | Broken Stand
9 | Chimmanchod | Exide Sl.No.TM-100P |  | 55 |  | Battery Stand

## Battery Charger Divn-II (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Float | Boost | Remarks
1 | 33/11Kv Allolli | Make: Sanjnni | Working | Not working | Charger to be servicing
2 | 33/11Kv Nalwar | Make IEA Sl.No.138 | Working | Working | Charger should be working
3 | 33/11Kv Hebbal | Make: Abhaya Electric 2007/152 | Working | Not working | Charger failed installed portable charger
4 | 33/11Kv Nelogi | Make: Banavathy & Co. Sl.No: 418 | Not working | Continue | Charger to be servicing
5 | 33/11Kv Bilwara | Make: Banavathy & Co. Sl.No: 336 | Working | Not working | Charger to be servicing
6 | 33/11Kv Malli | Make: Abhaya Electric 12/13 | Working | Working | Charger should be working
7 | 33/11Kv Ankalga | Make: Dubas Ltd Bangalore, Sl.No. DUC-0081 | Not working | Not working | Charger should be working
8 | 33/11Kv Gundgurhi | Make: Abhaya Electric 2007/152 | Not working | Working | Charger should be working
9 | 33/11Kv Kalagi |  | Working | Not Working | Charger to be servicing

## Divn-II (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Cells | Battery No of Cells |  | Battery Stand | Condition of Battery | Remarks
|  |  |  | Working | Not Working
1 | 33/11Kv Allolli | Make: Sanjnni | Make Exide 100AH | 55 | Working | Good
2 | 33/11Kv Nalwar | Make IEA Sl.No.138 | Made India | 54 |  | Good
3 | 33/11Kv Hebbal | Make: Abhaya Electric 2007/152 | Aajco | 55 |  | Good
4 | 33/11Kv Nelogi | Make: Banavathy & Co. Sl.No: 418 | Aajco | 53 |  | Good
5 | 33/11Kv Bilwara | Make: Banavathy & Co. Sl.No: 336 | Aajco | 55 |  | Good
6 | 33/11Kv Malli | Make: Abhaya Electric 12/13 | Make:Exide | 55 |  | Good
7 | 33/11Kv Ankalga | Make: Dubas Ltd Bangalore, Sl.No. DUC-0081 | Aajco | 53 |  | Broken Stand
8 | 33/11Kv Gundgurhi | Make: Abhaya Electric 2007/152 | Aajco | 53 |  | Good
9 | 33/11Kv Kalagi

## YDG Div fill format (hidden)
SL.No | Name of Substation | Battery Charger Make and Sl No. | Cells | Nos Cells | YOM | Service | Battery Stand | Condition of Battery | Remarks
Working
Working
Working

## Battery Cells Divn-1 (2) (hidden)
SL.No | Name of Substation | Cells | Battery No of Cells |  | Battery Stand | Condition of Battery set
|  |  | Working | Not Working
1 | Guduru S/s | Make Exide 100AH | 55 | Nill | Good | Good
2 | H.Haruthi S/s | Aajco | 55 | 17 | Good
3 | Azdapur S/s | Make: Exide, 100AH, 2Volts | 55 |  | Good
4 | Udchana S/s | Make Aajco | 55 |  | Good
5 | Mannur S/s | Make Exide 100AH | 55 |  | Good
6 | Gobbur S/s | Make:Aajco | 55 |  | Good
7 | Hasargundgi S/s | Make: Exide, 100AH, 2Volts | 55 |  | Good
8 | Revoor S/s | 55Nos of Cells, 2Volt each Premier make, 100AH | 55 |  | Battery Stand
9 | Kadgcnhi S/s | Exide 100AH | 55 |  | Good
10 | Khajuri S/s | Exide 100AH | 54 |  | Broken Stand
11 | M.Hipparga S/s | Aajco | 55 |  | Broken Stand
12 | Tadkal S/s |  | 55 |  | Broken Stand
13 | Sarsamba S/s | Make: Aajco, 110V, 100AH | 53 |  | Broken Stand
14 | Jidaga S/s | Exide Battery Cells | 55 |  | Good
15 | Jambaga S/s | Make: Exide, 100AH, 2Volts | 55 |  | Stand Broken
16 | V.K.Salgar S/s | Make: Exice | 55 |  | Broken Stand
17 | Nimbarga S/s | Excide Cells , 2Volt 100AH | 55 |  | Broken Stand

## Divn-1 (hidden)
SL.No | Name of Substation | Existing 33Kv CBS | Make | YOM | Sl.No. | Status | Remarks
1 | 33/11Kv Jambaga | 33Kv Incoming line breaker | ABB | 30000927 |  | Breaker not operating | Requires servicing by manfucture
|  | 33Kv Power Transfomer breaker | ABB | 30000928 |  | Breaker not operating
2 | 33/11K Madan Hipparga | 33Kv Incoming line breaker | CGL | 2007 | 24653C | Breaker in service
|  | 33Kv Power Transfomer breaker-I |  |  |  | Breaker not operating
33Kv Power Transfomer breaker-II
6
7
8
9

## RTI File as on 31.5.19 (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
PÀæ ¸ÀA | PÀqÀvÀ ¸ÀASÉå | «µÀAiÀÄ | PÀqÀvÀzÀ°ègÀÄªÀ ¥ÀÄlUÀ¼À ¸ÀASÉå | PÀqÀvÀ ¥ÁægÀ©ü¹zÀ ¢£ÁAPÀ | PÀqÀvÀ «¯ÉÃªÁj ªÀiÁrzÀ ¢£ÁAPÀ (PÀqÀvÀ ªÀÄÄPÁÛAiÀÄ UÉÆ½¹zÀ ¢£ÁAPÀ | PÀqÀvÀzÀ ªÀVÃðPÀgÀt | PÀqÀvÀ £Á±ÀUÉÆ½¹zÀ ¢£ÁAPÀ | µÀgÁ
1 | PÀqÀvÀ-1 | DeÁzÀ¥ÀÆgÀ G¥À-PÉÃAzÀæ | 402 | 02.08.2007 | -- | G¥À-PÉÃAzÀæ PÀqÀvÀ | --
2 | PÀqÀvÀ-2 | UÉÆ§ÄâgÀ G¥À-PÉÃAzÀæ | 126 | 15.08.2008 | -- | CzÉÃ | --
3 | PÀqÀvÀ-3 | UÀÆqÀÄgÀ G¥À-PÉÃAzÀæ | 258 | 11.12.2016 | -- | CzÉÃ | --
4 | PÀqÀvÀ-4 | ºÀqÀV¯ï ºÁgÀÆw G¥À-PÉÃAzÀæ | 178 | 19.03.2013 | -- | CzÉÃ | --
5 | PÀqÀvÀ-5 | ºÀ¸ÀgÀUÀÄªÀÄqÀV G¥À-PÉÃAzÀæ | 485 | 19.06.2008 | -- | CzÉÃ | --
6 | PÀqÀvÀ-6 | dA§UÁ G¥À-PÉÃAzÀæ | 228 | 24.12.2012 | -- | CzÉÃ | --
7 | PÀqÀvÀ-7 | fqÀUÁ G¥À-PÉÃAzÀæ | 107 | 27.09.2007 | -- | CzÉÃ | --
8 | PÀqÀvÀ-8 | PÀqÀUÀAa G¥À-PÉÃAzÀæ | 34 | 20.10.2012 | 07.04.2016 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
9 | PÀqÀvÀ-9 | RdÆj G¥À-PÉÃAzÀæ | 115 | 02.01.2014 | -- | CzÉÃ | --
10 | PÀqÀvÀ-10 | ªÀiÁ.»¥ÀàgÀUÁð G¥À-PÉÃAzÀæ | 242 | 24.05.2008 | -- | CzÉÃ | --
11 | PÀqÀvÀ-11 | ªÀÄtÆÚgÀ G¥À-PÉÃAzÀæ | 159 | 21.04.2007 | -- | CzÉÃ | --
12 | PÀqÀvÀ-12 | ¤A§UÁð G¥À-PÉÃAzÀæ | 255 | 20.10.2012 | -- | CzÉÃ | --
13 | PÀqÀvÀ-13 | gÉÃªÀÇgÀ (©) G¥À-PÉÃAzÀæ | 109 | 23.12.2006 | -- | CzÉÃ | --
14 | PÀqÀvÀ-14 | ¸ÀgÀ¸ÀA¨Á G¥À-PÉÃAzÀæ | 427 | 17.11.2012 | -- | CzÉÃ | --
15 | PÀqÀvÀ-15 | vÀqÀPÀ¯ï G¥À-PÉÃAzÀæ | 89 | 28.02.2013 | -- | CzÉÃ | --
16 | PÀqÀvÀ-16 | GqÀZÁt G¥À-PÉÃAzÀæ | 216 | 10.08.2007 | -- | CzÉÃ | --
17 | PÀqÀvÀ-17 | «.PÉ.¸À®UÀgÀ G¥À-PÉÃAzÀæ | 119 | 31.12.2012 | -- | CzÉÃ | --
18 | PÀqÀvÀ-18 | ZËªÀqÁ¥ÀÆgÀ G¥À-PÉÃAzÀæ | 62 | 07.12.2012 | 21.09.2015 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
19 | PÀqÀvÀ-19 | ¥sÀgÀvÁ¨ÁzÀ G¥À-PÉÃAzÀæ | 7 | 11.06.2015 | 12.02.2014 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
20 | PÀqÀvÀ-20 | PÀªÀ®UÁ (©) G¥À-PÉÃAzÀæ | 422 | 15.09.2014 | -- | CzÉÃ | --
21 | PÀqÀvÀ-151 | PÀªÀÄ¯Á¥ÀÆgÀ G¥À-PÉÃAzÀæ | 562 | 01.03.2017 | -- | CzÉÃ | --
Gulbarga Division-II
22 | PÀqÀvÀ-21 | C¼ÉÆÃ½î G¥À-PÉÃAzÀæ | 705 | 12.12.2008 | -- | CzÉÃ | --
23 | PÀqÀvÀ-22 | CAPÀ®UÁ G¥À-PÉÃAzÀæ | 190 | 30.05.2006 | -- | CzÉÃ | --
24 | PÀqÀvÀ-23 | ©¼ÀªÁgÀ G¥À-PÉÃAzÀæ | 133 | 21.04.2007 | -- | CzÉÃ | --
25 | PÀqÀvÀ-24 | UÀÄAqÀUÀÆwð G¥À-PÉÃAzÀæ | 171 | 08.03.2008 | -- | CzÉÃ | --
26 | PÀqÀvÀ-25 | ºÉÃ¨Áâ¼À G¥À-PÉÃAzÀæ | 194 | 05.06.2007 | -- | CzÉÃ | --
27 | PÀqÀvÀ-26 | PÁ¼ÀV G¥À-PÉÃAzÀæ | 315 | 25.04.2013 | -- | CzÉÃ | --
28 | PÀqÀvÀ-27 | £ÉÃ¯ÉÆV G¥À-PÉÃAzÀæ | 112 | 21.02.2008 | -- | CzÉÃ | --
29 | PÀqÀvÀ-29 | £Á®ªÁgÀ G¥À-PÉÃAzÀæ | 42 | 09.05.2013 | 23.03.2016 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
30 | PÀqÀvÀ-30 | AiÀiÁqÁæ«Ä G¥À-PÉÃAzÀæ | 28 | 22.12.2012 | 25.06.2015 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
31 | PÀqÀvÀ-31 | ªÀÄ½î G¥À-PÉÃAzÀæ | 189 | 11.01.2013 | -- | CzÉÃ | --
32 | PÀqÀvÀ-40 | ¸À£Àßw G¥À-PÉÃAzÀæ | 289 | 20.01.2016 | -- | CzÉÃ | --
33 | PÀqÀvÀ-152 | PÀÆrzÀUÁð G¥À-PÉÃAzÀæ | 276 | 02.09.2017 | -- | CzÉÃ | --
PÀ®§ÄgÀV £ÀUÀgÀ «¨sÁUÀ
34 | PÀqÀvÀ-129 | PÉ.¹.n UÉÃmï f.L G¥À-PÉÃAzÀæ | 377 | 28.10.2015 | -- | G¥À-PÉÃAzÀæ PÀqÀvÀ | --
35 | PÀqÀvÀ-130 | ±ÁAw£ÀUÀgÀ f.L G¥À-PÉÃAzÀæ | 2020 | 01.03.2016 | -- | CzÉÃ | --
36 | PÀqÀvÀ-131 | ¸À«ð¸ï ¸ÉÖÃ±À£ï f.L G¥À-PÉÃAzÀæ | 586 | 01.03.2016 | -- | CzÉÃ | --
37 | PÀqÀvÀ-132 | ºÉÊPÉÆÃlð f.L G¥À-PÉÃAzÀæ | 212 | 01.03.2016 | -- | CzÉÃ | --
38 | PÀqÀvÀ-133 | f.f.ºÉZï f.L G¥À-PÉÃAzÀæ | 353 | 18.11.2016 | -- | CzÉÃ | --
PÀbÉÃj PÀqÀvÀ
39 | PÀqÀvÀ-68 | ¦.PÀÆå.JªÀiï £ÀªÀÄÆ£É |  |  | -- | PÀbÉÃj PÀqÀvÀ | --
40 | PÀqÀvÀ-71 | DqÀ½vÀ PÀqÀvÀ | 483 | 06.04.2018 | -- | CzÉÃ | --
41 | PÀqÀvÀ-72 | ¸ÀÆvÉÆÛÃ¯É | 11 | 06.04.2018 | -- | CzÉÃ | --
42 | PÀqÀvÀ-76 | ¸À¨sÉAiÀÄ «ZÁgÀuÉUÀ¼ÀÄ | 136 | 02.04.2018 | -- | CzÉÃ | --
43 | PÀqÀvÀ-77 | ¸ÁªÀÄ£Áå ¥ÀvÀæ ªÀåªÀºÀgÁUÀ¼ÀÄ | 183 | 28.03.2018 | -- | CzÉÃ | --
44 | PÀqÀvÀ-78 | ºÉÆ¸À G¥À-PÉÃAzÀæUÀ¼À ¥Àæ¸ÁÛªÀ£É | 12 | 26.08.2018 | -- | CzÉÃ | --
45 | PÀqÀvÀ-81 | ¹&JªÀiï «¨sÁUÀ ªÀÄÄAUÀqÀ ¥ÀvÀæ | 154 | 11.03.2018 | -- | CzÉÃ | --
46 | PÀqÀvÀ-82 | «ZÁgÀuÉ | 49 | 24.05.2018 | -- | CzÉÃ | --
47 | PÀqÀvÀ-88 | ¥ÀjªÀvÀðPÀUÀ¼À ¥ÀvÀæ ªÀåªÀºÀgÁUÀ¼ÀÄ | 40 | 31.03.2018 | -- | CzÉÃ | --
48 | PÀqÀvÀ-89 | ¥ÀjªÀvÀðPÀUÀ¼À zÀÄgÀ¹Û | 155 | 06.04.2018 | -- | CzÉÃ | --
49 | PÀqÀvÀ-91 | ¸ÁÌqÁ | 333 | 24.08.2016 | -- | CzÉÃ | --
50 | PÀqÀvÀ-95 | Dgï.n.L | 83 | 24.04.2018 | -- | CzÉÃ | --
51 | PÀqÀvÀ-98 | C¥ÀWÁvÀ ªÀgÀ¢ | 308 | 03.06.2008 | -- | CzÉÃ | --
52 | PÀqÀvÀ-112 | 33/11PÉ«í G¥À-PÉÃAzÀæ ¥Àæ±ÁßºÀð CAzÁdÄ. | 87 | 03.10.2015 | -- | CzÉÃ | --
PÁAiÀÄð¤ªÁðºÀPÀ C©üAiÀÄAvÀgÀgÀÄ («),
¹&JªÀiï «¨sÁUÀ, UÀÄ«¸ÀPÀA¤, PÀ®§ÄgÀV.

## RTI File as on 28.5.2020 Kannda
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
PÀæ ¸ÀA | PÀqÀvÀ ¸ÀASÉå | «µÀAiÀÄ | PÀqÀvÀzÀ°ègÀÄªÀ ¥ÀÄlUÀ¼À ¸ÀASÉå 2018-2019 | PÀqÀvÀzÀ°ègÀÄªÀ ¥ÀÄlUÀ¼À ¸ÀASÉå 2019-2020 | PÀqÀvÀ ¥ÁægÀ©ü¹zÀ ¢£ÁAPÀ | PÀqÀvÀ «¯ÉÃªÁj ªÀiÁrzÀ ¢£ÁAPÀ (PÀqÀvÀ ªÀÄÄPÁÛAiÀÄ UÉÆ½¹zÀ ¢£ÁAPÀ | PÀqÀvÀzÀ ªÀVÃðPÀgÀt | PÀqÀvÀ £Á±ÀUÉÆ½¹zÀ ¢£ÁAPÀ | µÀgÁ
1 | PÀqÀvÀ-1 | DeÁzÀ¥ÀÆgÀ G¥À-PÉÃAzÀæ | 402 | 424 | 02.08.2007 | -- | G¥À-PÉÃAzÀæ PÀqÀvÀ | --
2 | PÀqÀvÀ-2 | UÉÆ§ÄâgÀ G¥À-PÉÃAzÀæ | 126 | 150 | 15.08.2008 | -- | CzÉÃ | --
3 | PÀqÀvÀ-3 | UÀÆqÀÄgÀ G¥À-PÉÃAzÀæ | 258 | 265 | 11.12.2016 | -- | CzÉÃ | --
4 | PÀqÀvÀ-4 | ºÀqÀV¯ï ºÁgÀÆw G¥À-PÉÃAzÀæ | 178 | 220 | 19.03.2013 | -- | CzÉÃ | --
5 | PÀqÀvÀ-5 | ºÀ¸ÀgÀUÀÄAqÀV G¥À-PÉÃAzÀæ | 485 | 626 | 19.06.2008 | -- | CzÉÃ | --
6 | PÀqÀvÀ-6 | dA§UÁ G¥À-PÉÃAzÀæ | 228 | 525 | 24.12.2012 | -- | CzÉÃ | --
7 | PÀqÀvÀ-7 | fqÀUÁ G¥À-PÉÃAzÀæ | 107 | 132 | 27.09.2007 | -- | CzÉÃ | --
8 | PÀqÀvÀ-8 | PÀqÀUÀAa G¥À-PÉÃAzÀæ | 34 | 34 | 20.10.2012 | 07.04.2016 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
9 | PÀqÀvÀ-9 | RdÆj G¥À-PÉÃAzÀæ | 115 | 189 | 02.01.2014 | -- | CzÉÃ | --
10 | PÀqÀvÀ-10 | ªÀiÁ.»¥ÀàgÀUÁð G¥À-PÉÃAzÀæ | 242 | 249 | 24.05.2008 | -- | CzÉÃ | --
11 | PÀqÀvÀ-11 | ªÀÄtÆÚgÀ G¥À-PÉÃAzÀæ | 159 | 181 | 21.04.2007 | -- | CzÉÃ | --
12 | PÀqÀvÀ-12 | ¤A§UÁð G¥À-PÉÃAzÀæ | 255 | 267 | 20.10.2012 | -- | CzÉÃ | --
13 | PÀqÀvÀ-13 | gÉÃªÀÇgÀ (©) G¥À-PÉÃAzÀæ | 109 | 134 | 23.12.2006 | -- | CzÉÃ | --
14 | PÀqÀvÀ-14 | ¸ÀgÀ¸ÀA¨Á G¥À-PÉÃAzÀæ | 427 | 473 | 17.11.2012 | -- | CzÉÃ | --
15 | PÀqÀvÀ-15 | vÀqÀPÀ¯ï G¥À-PÉÃAzÀæ | 89 | 119 | 28.02.2013 | -- | CzÉÃ | --
16 | PÀqÀvÀ-16 | GqÀZÁt G¥À-PÉÃAzÀæ | 216 | 234 | 10.08.2007 | -- | CzÉÃ | --
17 | PÀqÀvÀ-17 | «.PÉ.¸À®UÀgÀ G¥À-PÉÃAzÀæ | 119 | 134 | 31.12.2012 | -- | CzÉÃ | --
18 | PÀqÀvÀ-18 | ZËªÀqÁ¥ÀÆgÀ G¥À-PÉÃAzÀæ | 62 | 126 | 07.12.2012 | 21.09.2015 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
19 | PÀqÀvÀ-19 | ¥sÀgÀvÁ¨ÁzÀ G¥À-PÉÃAzÀæ | 7 | 59 | 11.06.2015 | 12.02.2014 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
20 | PÀqÀvÀ-20 | PÀªÀ®UÁ (©) G¥À-PÉÃAzÀæ | 422 | 473 | 15.09.2014 | -- | CzÉÃ | --
21 | PÀqÀvÀ-151 & 32 | PÀªÀÄ¯Á¥ÀÆgÀ G¥À-PÉÃAzÀæ | 562 | 870 | 01.03.2017 | -- | CzÉÃ | --
Gulbarga Division-II
22 | PÀqÀvÀ-21 | C¼ÉÆÃ½î G¥À-PÉÃAzÀæ | 705 | 865 | 12.12.2008 | -- | CzÉÃ | --
23 | PÀqÀvÀ-22 | CAPÀ®UÁ G¥À-PÉÃAzÀæ | 190 | 215 | 30.05.2006 | -- | CzÉÃ | --
24 | PÀqÀvÀ-23 | ©¼ÀªÁgÀ G¥À-PÉÃAzÀæ | 133 | 157 | 21.04.2007 | -- | CzÉÃ | --
25 | PÀqÀvÀ-24 | UÀÄAqÀUÀÆwð G¥À-PÉÃAzÀæ | 171 | 207 | 08.03.2008 | -- | CzÉÃ | --
26 | PÀqÀvÀ-25 | ºÉÃ¨Áâ¼À G¥À-PÉÃAzÀæ | 194 | 233 | 05.06.2007 | -- | CzÉÃ | --
27 | PÀqÀvÀ-26 | PÁ¼ÀV G¥À-PÉÃAzÀæ | 315 | 360 | 25.04.2013 | -- | CzÉÃ | --
28 | PÀqÀvÀ-27 | £ÉÃ¯ÉÆV G¥À-PÉÃAzÀæ | 112 | 147 | 21.02.2008 | -- | CzÉÃ | --
29 | PÀqÀvÀ-31 & 28 | ªÀÄ½î G¥À-PÉÃAzÀæ | 189 | 303 | 11.01.2013 | -- | CzÉÃ | --
30 | PÀqÀvÀ-29 | £Á®ªÁgÀ G¥À-PÉÃAzÀæ | 42 | 80 | 09.05.2013 | 23.03.2016 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
31 | PÀqÀvÀ-30 | AiÀiÁqÁæ«Ä G¥À-PÉÃAzÀæ | 28 | 54 | 22.12.2012 | 25.06.2015 | CzÉÃ | -- | 110PÉ«í G£Àßw PÀj¸À¯ÁVzÉ.
32 | PÀqÀvÀ-31 | ªÀÄ½î G¥À-PÉÃAzÀæ | 189 | 303 | 11.01.2013 | -- | CzÉÃ | --
33 | PÀqÀvÀ-40&34 | ¸À£Àßw G¥À-PÉÃAzÀæ | 289 | 232 | 20.01.2016 | -- | CzÉÃ | --
34 | PÀqÀvÀ-152 & 33 | PÀÆrzÀUÁð G¥À-PÉÃAzÀæ | 276 | 510 | 02.09.2017 | -- | CzÉÃ | --
PÀ®§ÄgÀV £ÀUÀgÀ «¨sÁUÀ
35 | PÀqÀvÀ-31 | ªÀÄzÀgÁ¸ÀºÀ½î | 0 | 273 | 23.10.2017 | -- | G¥À-PÉÃAzÀæ PÀqÀvÀ | --
36 | PÀqÀvÀ-129 | PÉ.¹.n UÉÃmï f.L G¥À-PÉÃAzÀæ | 377 | 377 | 28.10.2015 | -- | CzÉÃ | --
37 | PÀqÀvÀ-130 & 101 | ±ÁAw£ÀUÀgÀ f.L G¥À-PÉÃAzÀæ | 2020 | 2474 | 01.03.2016 | -- | CzÉÃ | --
38 | PÀqÀvÀ-131 & 102 | ¸À«ð¸ï ¸ÉÖÃ±À£ï f.L G¥À-PÉÃAzÀæ | 586 | 693 | 01.03.2016 | -- | CzÉÃ | --
39 | PÀqÀvÀ-132 &103 | ºÉÊPÉÆÃlð f.L G¥À-PÉÃAzÀæ | 212 | 253 | 01.03.2016 | -- | CzÉÃ | --
40 | PÀqÀvÀ-133 & 104 | f.f.ºÉZï f.L G¥À-PÉÃAzÀæ | 353 | 396 | 18.11.2016 | -- | CzÉÃ | --
PÀbÉÃj PÀqÀvÀ
40 | PÀqÀvÀ-68 | ¦.PÀÆå.JªÀiï £ÀªÀÄÆ£É |  |  |  | -- | PÀbÉÃj PÀqÀvÀ | --
41 | PÀqÀvÀ-71 | DqÀ½vÀ PÀqÀvÀ | 483 | 913 | 06.04.2018 | -- | CzÉÃ | --
42 | PÀqÀvÀ-72 | ¸ÀÆvÉÆÛÃ¯É | 11 | 18 | 06.04.2018 | -- | CzÉÃ | --
43 | PÀqÀvÀ-76 | ¸À¨sÉAiÀÄ «ZÁgÀuÉUÀ¼ÀÄ | 136 | 161 | 02.04.2018 | -- | CzÉÃ | --
44 | PÀqÀvÀ-77 | ¸ÁªÀÄ£Áå ¥ÀvÀæ ªÀåªÀºÀgÁUÀ¼ÀÄ | 183 | 232 | 28.03.2018 | -- | CzÉÃ | --
45 | PÀqÀvÀ-78 | ºÉÆ¸À G¥À-PÉÃAzÀæUÀ¼À ¥Àæ¸ÁÛªÀ£É | 12 | 12 | 26.08.2018 | -- | CzÉÃ | --
46 | PÀqÀvÀ-81 | ¹&JªÀiï «¨sÁUÀ ªÀÄÄAUÀqÀ ¥ÀvÀæ | 154 | 154 | 11.03.2018 | -- | CzÉÃ | --
47 | PÀqÀvÀ-83 | «ZÁgÀuÉ | 49 | 108 | 24.05.2018 | -- | CzÉÃ | --
48 | PÀqÀvÀ-88 | ¥ÀjªÀvÀðPÀUÀ¼À ¥ÀvÀæ ªÀåªÀºÀgÁUÀ¼ÀÄ | 40 | 312 | 31.03.2018 | -- | CzÉÃ | --
49 | PÀqÀvÀ-89 | ¥ÀjªÀvÀðPÀUÀ¼À zÀÄgÀ¹Û | 155 | 239 | 06.04.2018 | -- | CzÉÃ | --
50 | PÀqÀvÀ-91 & 55 | ¸ÁÌqÁ | 333 | 416 | 24.08.2016 | -- | CzÉÃ | --
51 | PÀqÀvÀ-95 & 48 | Dgï.n.L | 83 | 130 | 24.04.2018 | -- | CzÉÃ | --
52 | PÀqÀvÀ-98 & 46 | C¥ÀWÁvÀ ªÀgÀ¢ | 308 | 354 | 03.06.2008 | -- | CzÉÃ | --
53 | PÀqÀvÀ-112 & 62 | 33/11PÉ«í G¥À-PÉÃAzÀæ ¥Àæ±ÁßºÀð CAzÁdÄ. | 87 | 183 | 03.10.2015 | -- | CzÉÃ | --
PÁAiÀÄð¤ªÁðºÀPÀ C©üAiÀÄAvÀgÀgÀÄ («),
¹&JªÀiï «¨sÁUÀ, UÀÄ«¸ÀPÀA¤, PÀ®§ÄgÀV.

## Eng RTI File as Eng
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Sl.No | File No | Subject | No. of Pages in the file | File opened | File completion date | File transferred date | File disposed date | Remarks
1 | F-1 | Azadpur S/s | 424 | 02.08.2007 | -- | Sub-station files | --
2 | F-2 | Gobbur S/s | 150 | 15.08.2008 | -- | -- Do-- | --
3 | F-3 | Gudur S/s | 265 | 11.12.2016 | -- | -- Do-- | --
4 | F-4 | Hadgil Haruthi | 220 | 19.03.2013 | -- | -- Do-- | --
5 | F-5 | Hasrgundgi S/s | 626 | 19.06.2008 | -- | -- Do-- | --
6 | F-6 | Jambaga S/s | 525 | 24.12.2012 | -- | -- Do-- | --
7 | F-7 | Jidga S/s | 132 | 27.09.2007 | -- | -- Do-- | --
8 | F-8 | Kadganchi S/s | 34 | 20.10.2012 | 07.04.2016 | -- Do-- | -- | Upgraded to 110kV
9 | F-9 | Khajuri S/s | 189 | 02.01.2014 | -- | -- Do-- | --
10 | F-10 | M.Hipparga | 249 | 24.05.2008 | -- | -- Do-- | --
11 | F-11 | Mannur S/s | 181 | 21.04.2007 | -- | -- Do-- | --
12 | F-12 | Nimbarga S/s | 267 | 20.10.2012 | -- | -- Do-- | --
13 | F-13 | Revoor (B) S/s | 134 | 23.12.2006 | -- | -- Do-- | --
14 | F-14 | Sarsamba S/s | 473 | 17.11.2012 | -- | -- Do-- | --
15 | F-15 | Tadkal S/s | 119 | 28.02.2013 | -- | -- Do-- | --
16 | F-16 | Udchan S/s | 234 | 10.08.2007 | -- | -- Do-- | --
17 | F-17 | V.K.Salgar | 134 | 31.12.2012 | -- | -- Do-- | --
18 | F-18 | Choudapur S/s | 126 | 07.12.2012 | 21.09.2015 | -- Do-- | -- | Upgraded to 110kV
19 | F-19 | Farthabad S/s | 59 | 11.06.2015 | 12.02.2014 | -- Do-- | -- | Upgraded to 110kV
20 | F-20 | Kawalga S/s | 473 | 15.09.2014 | -- | -- Do-- | --
21 | F-151 | Kamalappur S/s | 870 | 01.03.2017 | -- | -- Do-- | --
Gulbarga Division-II
22 | F-21 | Alloli S/s | 865 | 12.12.2008 | -- | -- Do-- | --
23 | F-22 | Ankalga | 215 | 30.05.2006 | -- | -- Do-- | --
24 | F-23 | Bilwara S/s | 157 | 21.04.2007 | -- | -- Do-- | --
25 | F-24 | Gundagurthi S/s | 207 | 08.03.2008 | -- | -- Do-- | --
26 | F-25 | Hebbal S/s | 233 | 05.06.2007 | -- | -- Do-- | --
27 | F-26 | Kalagi | 360 | 25.04.2013 | -- | -- Do-- | --
28 | F-27 | Nelogi S/s | 147 | 21.02.2008 | -- | -- Do-- | --
29 | F-29 | Nalwar S/s | 80 | 09.05.2013 | 23.03.2016 | -- Do-- | -- | Upgraded to 110kV
30 | F-30 | Yadrami S/s | 54 | 22.12.2012 | 25.06.2015 | -- Do-- | -- | Upgraded to 110kV
31 | F-31 | Malli S/s | 303 | 11.01.2013 | -- | -- Do-- | -- |  | 8
32 | F-40 | Sannathi S/s | 232 | 20.01.2016 | -- | -- Do-- | --
33 | F-152 | Kudidarga S/s | 510 | 02.09.2017 | -- | -- Do-- | --
Gulbarga City Division
34 | F-129 | KCT Gate Tengali Layout GIS sub-station | 377 | 28.10.2015 | -- | -- Do-- | --
35 | F-130 | Shanti Nagar GIS sub-station | 2474 | 01.03.2016 | -- | -- Do-- | --
36 | F-131 | Service station-44 GIS sub-station | 693 | 01.03.2016 | -- | -- Do-- | --
37 | F-132 | High Court GIS sub-station | 253 | 01.03.2016 | -- | -- Do-- | --
38 | F-133 | Govt General Hospital GIS sub-station | 396 | 18.11.2016 | -- | -- Do-- | --
Name of the Office Files
39 | F-68 | PQM Formats |  |  | -- | Office Files | --
40 | F-71 | Establishment/O.M | 913 | 06.04.2018 | -- | -- Do-- | --
41 | F-72 | Circular | 18 | 06.04.2018 | -- | -- Do-- | --
42 | F-76 | Meeting proceedings | 161 | 02.04.2018 | -- | -- Do-- | --
43 | F-77 | General corrspondence | 232 | 28.03.2018 | -- | -- Do-- | --
44 | F-78 | New Station proposals | 12 | 26.08.2018 | -- | -- Do-- | --
45 | F-81 | C&M Division Budget | 154 | 11.03.2018 | -- | -- Do-- | --
46 | F-82 | Enquiry | 108 | 24.05.2018 | -- | -- Do-- | --
47 | F-88 | Power Transformer Corrspondence |  | 31.03.2018 | -- | -- Do-- | --
48 | F-89 | Transformer Failure | 239 | 06.04.2018 | -- | -- Do-- | --
49 | F-91 | Scada | 416 | 24.08.2016 | -- | -- Do-- | --
50 | F-95 | RTI | 130 | 24.04.2018 | -- | -- Do-- | --
51 | F-98 | Accident Report | 354 | 03.06.2008 | -- | -- Do-- | --
52 | F-112 | 33/11Kv Sub-station Dismentling Estimate | 183 | 03.10.2015 | -- | -- Do-- | --
Executive Engineer (Ele),
C&M Division, GESCOM, Kalaburagi.

## DECEMBER (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement showing the requirement of Battery Sets in 33/11Kv Sub-stations of C&M Division, GESCOM, Kalaburagi. Annexure-I
SL.No | O&M Division | 33/11Kv Sub-stations | Date of Commission | Date of Failure | Remarks
1 | Division-I | Hadgil Haruthi | 27.03.2007 | 2012 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
2 |  | Revoor | 31.03.2008 | 2013
3 |  | Azadpur | 20.09.2008 | 2013
4 |  | Jambaga | 1994 | 2015
5 |  | V.K.Salgar | 2002 | 2016
6 |  | Khajuri | 2000 | 2013
7 |  | M.Hipparga | 31.10.2009 | 2015
8 |  | Tadkal | 2001 | 2016
9 |  | Sarsamba | 2001 | 2012
10 |  | Nimbarga | 2002 | 2015
11 | Division-II | Ankalga | 24.01.2008 | 2014 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
12 |  | Kalagi | 1993 | 2010
13 | Sedam Division | Kodla | 18.02.2008 | 2015 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH. | 8
14 |  | Sulepeth | 01.10.2007 | 2015
15 |  | Konchavaram | 2002 | 2015
16 |  | Ratkal | 2001 | 2012
17 |  | Miriyan | 2008 | 2015
18 |  | Malkhed | 2008 | 2012
19 | Yadgir | Hattikuni | 04.11.2000 | 2015 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
20 |  | Ballichakra | 08.11.1999 | 2015
21 |  | Jaigram | 04.10.2006 | 2016
22 |  | Gajarkot | 26.04.2008 | 2016
23 |  | Wadgera | 2002 | 2005
24 |  | Sagara | 2001 | 2013
25 |  | Kakkera | 2002 | 2014
26 |  | Kodekal | 2009 | 2016
27 |  | Gogi | 04.12.1999 | 2015
Executive Engineer (Ele),
C&M Division, GESCOM, Kalaburagi.

## Nove-16 (2) (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement showing the requirement of Battery set and Battery Charger in 33/11Kv Sub-stations of C&M Division, GESCOM, Kalaburagi.
SL.No | O&M Division | Sub-stations | Date of Commission | Battery Set & Charger | Remarks
1 | Division-I | 33/11Kv H.Haruthi S/s | 27.03.2007 | Needed | 9 Years Serviced
2 |  | 33/11Kv Revoor S/s | 31.03.2008 | Needed | 8 Years Serviced
3 |  | 33/11Kv Azadpur S/s | 20.09.2008 | Needed | 8 Years Serviced
4 |  | 33/11Kv Jambaga S/s | 1994 | Needed | 22 Years Serviced
5 |  | 33/11Kv Khajuri S/s | 2000 | Needed | 16 Years Serviced
6 |  | 33/11Kv M.Hipparga S/s | 31.10.2009 | Needed | 07 Years Serviced
7 |  | 33/11Kv Tadkal S/s | 2001 | Needed | 15 Years Serviced
8 |  | 33/11Kv Sarsamba S/s | 2001 | Needed | 15 Years Serviced
9 |  | 33/11Kv Nimbarga S/s | 1994 | Needed | 22 Years Serviced
10 | Division-II | 33/11Kv Ankalga S/s | 24.01.2008 | Needed | 08 Years Serviced
11 |  | 33/11Kv Kalagi S/s | 1993 | Needed | 23 Years Serviced
P.T.O
12 | Sedam Division | 33/11Kv Kodla S/s | 18.02.2008 | Needed | 08 Years Serviced | 8
13 |  | 33/11Kv Mudhol S/s | 01.12.2007 | Needed | 09 Years Serviced
14 |  | 33/11Kv Sulepeth S/s | 01.10.2007 | Needed | 09 Years Serviced
15 |  | 33/11Kv Konchavaram S/s | -- | Needed | Battery cells are dead
16 |  | 33/11Kv Malkhed S/s | 2008 | Needed | 08 Years Serviced
17 | Yadgir | 33/11Kv Hattikuni | 04.11.2000 | Needed | 16 Years Serviced
18 |  | 33/11Kv Ballichakra | 08.11.1999 | Needed | 17 Years Serviced
19 |  | 33/11Kv Jaigram | 04.10.2006 | Needed | 10 Years Serviced
20 |  | 33/11Kv Gajarkot | 26.04.2008 | Needed | 08 Years Serviced
21 |  | 33/11Kv Wadgera | 04.09.1994 | Needed | 22 Years Serviced
22 |  | 33/11Kv Gogi | 04.12.1999 | Needed | 17 Years Serviced

## DECEMBER (2) (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement showing the requirement of Battery Sets in 33/11Kv Sub-stations of C&M Division, GESCOM, Kalaburagi. Annexure-I
SL.No | O&M Division | 33/11Kv Sub-stations | Year of Commission | Failed during the year | No of years served | Remarks
1 | Division-I | Hadgil Haruthi | 2007 | 2012 | 5 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
2 |  | Revoor | 2008 | 2013 | 5
3 |  | Azadpur | 2008 | 2013 | 5
4 |  | Jambaga | 1994 | 2015 | 21
5 |  | V.K.Salgar | 2002 | 2016 | 14
6 |  | Khajuri | 2000 | 2013 | 13
7 |  | M.Hipparga | 2009 | 2015 | 6
8 |  | Tadkal | 2001 | 2016 | 15
9 |  | Sarsamba | 2001 | 2012 | 11
10 |  | Nimbarga | 2002 | 2015 | 13
11 | Division-II | Ankalga | 2008 | 2014 | 6 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
12 |  | Kalagi | 1993 | 2010 | 17
13 | Sedam Division | Kodla | 2008 | 2015 | 7 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH. | 8
14 |  | Sulepeth | 2007 | 2015 | 8
15 |  | Konchavaram | 2002 | 2015 | 13
16 |  | Ratkal | 2001 | 2012 | 11
17 |  | Miriyan | 2008 | 2015 | 7
18 |  | Malkhed | 2008 | 2012 | 4
19 | Yadgir | Hattikuni | 2000 | 2015 | 15 | One battery set includes 55 Nos of cells each of 02 Volts, 100AH.
20 |  | Ballichakra | 1999 | 2015 | 16
21 |  | Jaigram | 2006 | 2016 | 10
22 |  | Gajarkot | 2008 | 2016 | 8
23 |  | Wadgera | 2002 | 2005 | 3
24 |  | Sagara | 2001 | 2013 | 12
25 |  | Kakkera | 2002 | 2014 | 12
26 |  | Kodekal | 2009 | 2016 | 7
27 |  | Gogi | 1999 | 2015 | 16
Executive Engineer (Ele),
C&M Division, GESCOM, Kalaburagi.

## Battery charger (hidden)
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Statement showing the battery chargers are not working boost/boost & float mode in 33/11kV Sub-station coming under Chowdapur, Sarsamba & Kadganchi Nodal Officer area in C&M Division, GESCOM, Kalabuagi.
SL.No | 33/11Kv Sub-stations | Battery Charger Make | Sl.No. | MFD | Boost/Float
1 | Revoor | Ms/. Indian Electrical Accessories | 356 | 14.10.2016 | Boost not working
2 | Mannur | Ms. Banavathy | 347 | 2007 | Boost not working
3 | Jambaga | Ms/. Indian Electrical Accessories | 314 | 26.05.2005 | Boost not working
4 | Nimbarga | Ms/. Indian Electrical Accessories | 313 | 26.05.2005 | Boost not working
5 | Jidaga | M/s Sanjeevini | -- | 2007 | Boost not working
6 | Sarsamba | Ms/. Indian Electrical Accessories | -- | 2000 | Boost not working
7 | Tadkal | Ms/. Indian Electrical Accessories | 168 | 21.08.1999 | Boost not working
8 | V.K.Salgar | M/s.. Banavathy | -- | 11.06.2002 | Boost not working
9 | Madan Hippraga | M/s. Abhaya | -- | 2008 | Boost not working
10 | Khajuri | Ms/. Indian Electrical Accessories | 258 | 03.12.2013 | Boost not working
11 | Gundgurhti | M/s. Abhaya | 151 | 2007 | Boost not working
12 | Hebbal | M/s. Abhaya | 152 | 2007 | Boost & Float not working
13 | Sannathi | M/s. Abhaya | 5 | 2016 | Float not working
14 | Nelogi | M/s. Banavathy | 418 | 2008 | Boost not working
15 | Bilwar | M/s. Banavathy | 336 | 2007 | Boost & Float not working
M/s. Banavathy Service Engineer
Sri. Veeresh -9741338826
M/s. Abhaya Service Engineer
Sri. Manjunath -9972370031