**Gulbarga Electricity Supply Company Limited**

**e-mail:** **eescadagescom@gmail.com** **Corporate Office**

**Phone No: 08472-276157 GESCOM, Kalaburagi**

**Mobile No: 94480-45600 585102**

**No: GESCOM/CEE(O)/SEE(MRT-LDC)/EEE/AEE/SCADA/CCC/2019-20/ F-2 Date:30-03-2021**

 **- : N O T E :-**

**Sub: - 220 kV station wise re-allocation of Power for 31-03-2021**

**220KVwise re-allocation of power is as shown below :**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sl. No** | **District** | **Name of 220 kV Station** | **GESCOM Allocation** |  | **Allocation by Other ESCOMs** | **Total 220 kV Allocation** |
|  |
| **In MU** | **In MW** |  | **From/To** | **In MU** | **In MW** | **In MU** |
| 1 | BELLARY | Ittagi | 4.010 | 122-183 |   | **To BESCOM** | **0.31** | 14 | 2.120 |
| 2 |   | Alipur | 4.290 | 157-235 |   |   |   |   | 2.24 |
|   | RAICHUR | Raichur | 2.730 | 79-143 |   |   |   |   | 2.55 |
|   |   | Mallat | 1.830 | 80-123 |   |   |   |   |   |
| 4 |   | Lingasugur | 1.060 | 64-100 |   | From HESCOM | 0.015 | 1 | 0.98 |
| 5 |   | Sindanoor | 3.460 | 119-183 |   |   |   |   | 2.29 |
| 6 | KOPPAL | Munirabad(Lingapur) | 3.946 | 130-200 |   |   |   |   | 1.94 |
| 7 |   |   |   |   |   |   |   |   | 1.35 |
| 8 |   | Kustagi | 3.790 | 111-168 |   |   |   |   | 2.02 |
| 9 |   | Ilkal. | **0.000** | **0.000** |  | **To HESCOM** | **0.639** | 25 | **0.47** |
| 10 |   | Bandergal | 0.000 | 0.000 |   | From HESCOM | 0.048 | 2 | 0.048 |
| 11 | GULBARGA | Kapnoor | 3.664 | 142-215 |   |   |   |   | 2.31 |
| 12 |   | Shahabad | **1.400** | 58-84 |   | **To HESCOM** | **0.421** | 10 | **0.89** |
| 13 |   | Sedam | 1.280 | 46-73 |   |   |   |   | 0.78 |
| 14 | BIDAR | Humnabad | 2.660 | 81-124 |   |   |   |   | 1.65 |
| 15 |   | Halbarga | 3.660 | 89-137 |   |   |   |   | 1.88 |
| 16 | YADGIR | Shahapur | 3.150 | 99-157 |   |   |   |   | 1.76 |
| 17 | HT KALYANI | H.T Kalyani | 1.190 | 46-71 |   |   |   |   | 0.25 |
| 18 |   | Haveri | 0.000 | 0 |   | From HESCOM | 0.16 | 10 | 22.99 |
|   |   |   | 0.000 | 0 |   | (Mylara) |   |   | 0 |
|   |   | Gadag | 0.000 | 0 |   |   |   |   | 0 |
|   |   | Gadag |   | 0 |   | From HESCOM | 0.23 | 12 | 0.23 |
|   |   |   |   |   |   | (Betegera) |   |   | 0 |
|   |   | **Total** | **42.12** | **1424-2184** |  |  | **0.453** | **25** | **34.923** |

**Note: The allocation confirmed by other ESCOMS to be incorporated at SLDC Bangalore for allocation at 220 kV**

 **Station as noted above.**

This should be introduced with immediate effect. Further changes if any will be intimated at the earliest. The Zonal Chief Engineers, Elect. GESCOM, are requested to monitor the consumption and to restrict the load at 220 KV stations as per the allocation by staggering the load at downstream stations. If necessary, they can reallocate the consumption/load of 220 KV stations in their Zone well within the total allocation of their 220 KV Station.

 **Chief Engineer (Electy)**

 **Operation, GESCOM,**

Kalaburagi.

**To.**

1. The Chief Engineer, Elect, O&M Zone, GESCOM, Kalaburagi/Bellary.
2. The Chief Engineer, Elect, SLDC, KPTCL, Bangalore for information.
3. The Chief Engineer, Elect, Transmission Zone, KPTCL, Kalaburagi.
4. PS to the Principle Secretary to Govt. Energy Department and Chairman ESCOM’s, VIKAS SOUDHA, Bangalore for kind notice of the Principle Secretary.
5. All the Superintending Engineers, El., O&M Circle, GESCOM, Kalaburagi/Bidar/Bellary/Raichur.

6 The Superintending Engineer (El)., (MRT/LDC),Corporate Office , GESCOM