Gulbarga Electricity Supply Company Limited

e-mail: eescadagescom@gmail.com                                                                      Corporate Office

Phone No: 08472-276157		                                                    GESCOM, Kalaburagi

Mobile No: 94480-45600						                  585102

No: GESCOM/CEE(O)/SEE(MRT-LDC)/EEE/AEE/SCADA/CCC/2019-20/F-2 Date: 27-04-2024

- : N O T E:-

Sub: - 220 kV station wise re-allocation of Power for 28.04.2024

220KV wise re-allocation of power is as shown below :

| Sl. No | District | Name of 220 kV Station | GESCOM Allocation | Allocation by Other ESCOMs |
| --- | --- | --- | --- | --- |
|  |  |  | In MU | In MW | From/To | In MU | In MW |
| 1 | BELLARY | Ittagi | 2.130 | 105-174 | To BESCOM | 0.05233 | 6 |
| 2 |  | Kudalgi | 2.321 | 42-70 |  |  |  |
| 3 |  | Alipur | 4.153 | 107-179 |  |  |  |
| 4 | RAICHUR | Raichur | 2.190 | 105-175 |  |  |  |
| 5 |  | Mallat | 0.643 | 20-33 |  |  |  |
| 6 |  | Lingasugur | 1.094 | 84-139 | From HESCOM | 0 | 0 |
| 7 |  | Sindanoor | 2.012 | 73-121 |  |  |  |
| 8 | KOPPAL | Munirabad (Lingapur) | 1.963 | 57-96 |  |  |  |
| 9 |  | Kustagi | 2.713 | 107-179 |  |  |  |
| 10 |  | Halvarthi | 0.783 | 37-61 |  |  |  |
| 11 |  | Gangavathi | 1.223 | 39-65 |  |  |  |
|  |  | Ilkal. |  |  | To HESCOM | 0.564 | 40 |
|  |  | Bandergal |  |  | From HESCOM | 0.031 | 1 |
| 12 | GULBARGA | Kapnoor | 3.282 | 110-183 |  |  |  |
| 13 |  | Shahabad | 2.371 | 62-103 | To HESCOM | 0.000 | 0 |
| 14 |  | Sedam | 2.736 | 47-78 |  |  |  |
| 15 | BIDAR | Humnabad | 2.690 | 71-118 |  |  |  |
| 16 |  | Halbarga | 2.470 | 68-113 |  |  |  |
| 17 | YADGIR | Shahapur | 2.630 | 111-185 |  |  |  |
|  | HT KALYANI | H.T Kalyani | 0.131 | 5-9 |  |  |  |
| 18 | YADGIR | Ramsamudra | 0.657 | 37-61 |  |  |  |
|  | Haveri |  |  | From HESCOM | 0.10572 | 4 |
|  |  |  |  | (Mylara) |  |  |
|  | Gadag |  |  |  |  |  |
|  | Gadag |  |  | From HESCOM | 0 | 0 |
|  |  |  |  | (Betegera) |  |  |
|  | Total | 38.19 | 1285-2140 |  |

Note:  The allocation confirmed by other ESCOMS to be incorporated at SLDC Bangalore for allocation at 220 kV

Station as noted above.

This should be introduced with immediate effect.  Further changes if any will be intimated at the earliest. The Zonal Chief Engineers, Elect. GESCOM, are requested to monitor the consumption and to restrict the load at 220 KV stations as per the allocation by staggering the load at downstream stations.  If necessary, they can reallocate the consumption/load of 220 KV stations in their Zone well within the total allocation of their 220 KV Station.

Chief Engineer (Electy)

Operation , GESCOM,

Kalaburagi.

To.

- The Chief Engineer, Elect, O&M Zone, GESCOM, Kalaburagi/Bellary.

- The Chief Engineer, Elect, SLDC, KPTCL, Bangalore for information.

- The Chief Engineer, Elect, Transmission Zone, KPTCL, Kalaburagi.

- PS to the Principle Secretary to Govt. Energy Department and Chairman ESCOM’s, VIKAS SOUDHA, Bangalore   for kind notice of the Principle Secretary.

- All the Superintending Engineers, El., O&M Circle, GESCOM, Kalaburagi/Bidar/Bellary/Raichur.

6.    The Superintending Engineer (El)., (MRT/LDC),Corporate Office , GESCOM, Kalaburagi