## Talukwise FEBRUARY-21
GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED
Talukawise Average Hours of Power Supply Arranged in GESCOM for the month of February-2021
Name of District | Sl. No | Name of Taluk | Urban | Industrial | NJY | W/S | Rural |  | Total | IP SET
[7 empty] | 3 - Phase | 1- Phase |  |  | RAND()*(A2-A1)+A1
GULBARGA | 1 | GULBARGA | 23:41 | 23:30 | 23:27 | 23:49 | 0:00 | 0:00 | 0:00 | 6:33 | MAX | MIN
| 2 | ALAND | 23:24 | 0:00 | 23:06 | 23:29 | 6:49 | 7:47 | 14:36 | 6:35 | 22:55 | 22:28
| 3 | CHINCHOLI | 23:19 | 23:07 | 23:13 | 23:37 | 0:00 | 0:00 | 0:00 | 6:36
| 4 | CHITAPUR | 23:03 | 23:11 | 23:07 | 0:00 | 0:00 | 0:00 | 0:00 | 6:53
| 5 | AFZALPUR | 23:02 | 0:00 | 23:16 | 0:00 | 0:00 | 0:00 | 0:00 | 6:01
| 6 | JEWARGI | 23:21 | 23:34 | 22:45 | 0:00 | 0:00 | 0:00 | 0:00 | 6:12
| 7 | SEDAM | 23:11 | 23:37 | 22:49 | 0:00 | 0:00 | 0:00 | 0:00 | 6:18
| 8 | KALAGI | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
| 9 | SHAHBAD | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
| 10 | YEDRAMI | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 6:57
AVERAGE |  |  | 23:17 | 16:43 | 23:06 | 23:39 | 6:49 | 7:47 | 14:36 | 6:31
BIDAR | 1 | BIDAR | 23:27 | 23:31 | 23:34 | 23:45 | 0:00 | 0:00 | 0:00 | 6:54
| 2 | BASAVAKALYAN | 23:39 | 23:36 | 23:04 | 23:23 | 0:00 | 0:00 | 0:00 | 6:51
| 3 | AURAD | 23:27 | 22:27 | 22:53 | 23:37 | 0:00 | 0:00 | 0:00 | 6:45
| 4 | BHALKI | 23:23 | 0:00 | 22:48 | 23:25 | 0:00 | 0:00 | 0:00 | 6:50
| 5 | HUMNABAD | 23:25 | 23:48 | 23:09 | 23:19 | 0:00 | 0:00 | 0:00 | 6:57
| 6 | HULSOOR | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
| 7 | CHITAGUPPA | 23:39 | 0:00 | 23:16 | 0:00 | 0:00 | 0:00 | 0:00 | 6:35
| 9 | KAMALNAGAR | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
AVERAGE |  |  | 23:30 | 23:21 | 23:07 | 23:30 | 0:00 | 0:00 | 0:00 | 6:49
YADGIR | 1 | YADGIR | 23:21 | 23:40 | 23:04 | 0:00 | 0:00 | 0:00 | 0:00 | 6:30
| 2 | SHAHPUR | 23:15 | 23:28 | 22:25 | 23:10 | 0:00 | 0:00 | 0:00 | 6:40
| 3 | SURPUR | 22:59 | 0:00 | 22:21 | 0:00 | 0:00 | 0:00 | 0:00 | 6:54
| 4 | GURMITKAL | 23:08 | 23:24 | 23:18 | 23:06 | 0:00 | 0:00 | 0:00 | 6:39
| 5 | WADGERA | 23:43 | 0:00 | 23:21 | 23:36 | 0:00 | 0:00 | 0:00 | 6:56
| 6 | HUNSAGI | 22:02 | 0:00 | 22:34 | 0:00 | 0:00 | 0:00 | 0:00 | 6:44
AVERAGE |  |  | 23:05 | 23:31 | 22:50 | 23:17 | 0:00 | 0:00 | 0:00 | 6:44
RAICHUR | 1 | DEODURGA | 23:58 | 23:59 | 23:58 | 23:59 | 0:00 | 0:00 | 0:00 | 6:57
| 2 | LINGSUGUR | 23:09 | 23:10 | 22:58 | 23:24 | 6:57 | 8:56 | 15:52 | 6:53
| 3 | MANVI | 23:58 | 0:00 | 23:59 | 0:00 | 0:00 | 0:00 | 0:00 | 6:59
| 4 | RAICHUR | 23:35 | 23:51 | 23:59 | 23:58 | 0:00 | 0:00 | 0:00 | 6:59
| 5 | SINDHANOOR | 23:13 | 23:37 | 22:51 | 23:37 | 0:00 | 0:00 | 0:00 | 6:54
| 6 | SIRWAR | 23:59 | 23:58 | 23:59 | 0:00 | 0:00 | 0:00 | 0:00 | 6:59
| 7 | MASKI | 23:14 | 0:00 | 22:52 | 23:00 | 6:51 | 8:51 | 15:42 | 6:56
AVERAGE |  |  | 23:35 | 23:43 | 23:31 | 23:36 | 6:54 | 8:53 | 15:47 | 6:57
KOPPAL | 1 | GANGAVTHI | 23:16 | 23:50 | 23:15 | 23:47 | 0:00 | 0:00 | 0:00 | 7:00
| 2 | KOPPAL | 23:28 | 23:17 | 23:06 | 23:26 | 0:00 | 0:00 | 0:00 | 6:50
| 3 | KUSTAGI | 23:01 | 0:00 | 23:07 | 0:00 | 6:47 | 8:37 | 15:23 | 6:56
| 4 | YELBURGA | 23:34 | 0:00 | 23:39 | 23:38 | 0:00 | 0:00 | 0:00 | 6:45
| 5 | KANAKGIRI | 22:38 | 0:00 | 22:18 | 0:00 | 0:00 | 0:00 | 0:00 | 6:57
| 6 | KARATAGI | 23:17 | 23:34 | 23:14 | 23:17 | 0:00 | 0:00 | 0:00 | 6:59
AVERAGE |  |  | 20:30 | 23:33 | 23:07 | 23:32 | 6:47 | 8:37 | 15:23 | 6:55
BELLARY | 1 | BELLARY | 23:23 | 23:41 | 22:53 | 23:32 | 0:00 | 0:00 | 0:00 | 6:43
| 2 | HAGARIBOMANA HALLI | 23:11 | 23:33 | 23:05 | 23:19 | 0:00 | 0:00 | 0:00 | 6:52
| 3 | HUVIN HADAGALI | 23:11 | 0:00 | 22:41 | 23:19 | 0:00 | 0:00 | 0:00 | 6:30
| 4 | KUDLIGI | 23:17 | 0:00 | 23:23 | 0:00 | 0:00 | 0:00 | 0:00 | 6:10
| 5 | SANDUR | 23:21 | 0:00 | 22:45 | 23:02 | 0:00 | 0:00 | 0:00 | 6:51
| 6 | SIRIGUPPA | 23:19 | 23:18 | 22:37 | 23:06 | 0:00 | 0:00 | 0:00 | 6:40
| 7 | HOSPET | 23:31 | 23:32 | 23:08 | 22:19 | 0:00 | 0:00 | 0:00 | 6:58
| 8 | KAMPLI | 23:37 | 23:42 | 23:21 | 20:36 | 0:00 | 0:00 | 0:00 | 6:21
| 9 | KOTTUR | 23:26 | 0:00 | 23:00 | 0:00 | 0:00 | 0:00 | 0:00 | 6:45
AVERAGE |  |  | 23:22 | 23:33 | 22:59 | 22:45 | 0:00 | 0:00 | 0:00 | 6:39
5

## AVG. DISTRICTWISE FEBUARY-2021
GULBAGRA ELECTRICITY SUPPLY COMPANY LIMITED, KALABURAGI
DISTRICT WISE AVERAGE HOURS OF POWER SUPPLY OF 11KV FEEDERS FOR THE MONTH OF FEBRAURY-2021
SL. NO. | District | U | IND | NJY | WS | R 3-Ph. | R 1-Ph. | Total Rural | EIP
1 | Kalaburagi | 23:17 | 16:43 | 23:06 | 23:39 | 6:49 | 7:47 | 14:36 | 6:31
2 | Bidar | 23:30 | 23:21 | 23:07 | 23:30 | 0:00 | 0:00 | 0:00 | 6:49
3 | Yadgir | 23:05 | 23:31 | 22:50 | 23:17 | 0:00 | 0:00 | 0:00 | 6:44 |  | 23:26 | Urban
4 | Raichur | 23:35 | 23:43 | 23:31 | 23:36 | 6:54 | 8:53 | 15:47 | 6:57
5 | Koppal | 20:30 | 23:33 | 23:07 | 23:32 | 6:47 | 8:37 | 15:23 | 6:55 |  | 23:30 | IND
6 | Ballari | 23:22 | 23:23 | 23:10 | 23:16 | 0:00 | 0:00 | 0:00 | 6:43
GESCOM |  | 22:53 | 22:22 | 23:09 | 23:28 | 6:50 | 8:26 | 15:15 | 6:46 |  | 23:20 | W/S
Schedule Hours of Power Supply |  | 24:00 | 24:00 | 24:00 | 24:00 | 7:00 | 9:00 | 16:00 | 7:00
[11 empty] | 23:01 | NJY
[10 empty] | 8:36 | 6:09 | Rural
[11 empty] | 6:24 | EIP
Schedule
Actual