## YEARWISE GESCOM DATA (SLDC)
YEARWISE GESCOM DATA AS PER SLDC
Sl. No | Year | Peak Demand Met (in MW) | Energy Cons. (in MU) | Peak Cons. (in MU)
9 | 2019-20 | 1977 | 8031.05 | 29.94
10 | 2020-21 | 1740 | 7723.92 | 29.53
Min |  | 1740 | 6151.7 | 29.53
Max |  | 1977 | 8031.05 | 29.94
Average |  | 1858.5 | 7091.375 | 29.735
Average data of DCC,GESCOM
Normal Load Range : 1000-1500 MW
Average Consumption Per Day : 17.47 to 28.60 MU | [5 empty] | #REF!
Average Consumption Per Month : 714.14 MU
Average Consumption Per Year : 7500 to 7900 MU
Per day peak consumption met : 29.94 MU |  |  |  |  | 150
Peak Demand Met : 1977 MW (26-12-2019)