## Mar-22
Tentative Planned Outages for the month of Mar-2022 of Hospet Urban
Name of Division | Name of Subdivision | Name of SubStation | Name of Feeder | Feeder Code | DATE | Feeder Type | Outage From | Outage To | Duration Of Outage | Outage Type | Area Affected | Reason of Outage
Hosapete Urban | USD-1 | 33KV MUSS, HOSAPETE | F-5 AMARAVATHI FEEDER | 40020575589 | 2022-03-08 | URBAN | 10.00 AM | 1.00 PM | 3.00 HRS | Scheduled | Industrial area, Rajeev Nagar, Chittawadigi, Amaravathi, Sai Ram Badavane, Kalyan Nagar, Mallinath Layout | Line GOS Maintainance
| USD-1 | 33KV MUSS, HOSAPETE | F-9Chinthamani | 40020575587 | 2022-03-11 | URBAN | 10.00 AM | 1.00 PM | 3.00 HRS | Scheduled | Amaravathi, IB, College Road | Line GOS Maintainance
| USD-1 | 33KV MUSS, HOSAPETE | F-10 Patel Nagar | 40020575588 | 2022-03-15 | URBAN | 10.00 AM | 1.00 PM | 3.00 HRS | Scheduled | Chapal Gadda, Patel Nagar, Station Road | Line GOS Maintainance
| USD-1 | 110KV Sanklapura | F-9 NC COLONY | 40020575600 | 2022-03-08 | URBAN | 10.00 AM | 1.00 PM | 3.00 HRS | Scheduled | Chapparadahalli, Harihara Road, Gandhi Colony, Vivekananda Nagar, Sandur Road, Dam Road | Jungle cutting & line GOS maintainance
| USD-1 | 110KV Sanklapura | F-11 TSP | 40020575598 | 2022-03-11 | URBAN | 10.00 AM | 1.00 PM | 3.00 HRS | Scheduled | TB Dam, Gokul Nagar, Sonia Nagar | Jungle cutting & line GOS maintainance
| USD-2 | 110KV MUSS SANKALAPURA | F8-MP.PRAKASH NAGAR | 40020575601 | 11.03.2022 | URBAN | 10:00 | 13:00 | 3:00 | Scheduled | MP.PRAKASH NAGAR, SANKALAPURA, A.S.GUDI, SAI COLONY, KN.HALLI | GOS MAINTENANCE
| USD-2 | 33KV MUSS | F11 HAMPI ROAD | 40020575584 | 16.03.2022 | URBAN | 10:30 | 14:00 | 0.14583 | Scheduled | SUNNADA BHAATTI , JAIN COLONY , HAMPI ROAD, | GOS MAINTENANCE AND JUNGLE CUTTING
| USD-2 | 110KV MUSS SANKALAPURA | F3- Hospet City | 40020575586 | 23.03.2022 | URBAN | 11:00 | 14:00 | 3:00 | Scheduled | Sirisinakallu, Bellary Road, Arvind Nagar, Bus Depo Area, Ukkadakeri | GOS AligntmentMAINTENANCE
| RSD | 110/11KV MUSS Kampli | Kampli Town | F2 | 13.03.2022 | Urban | 09:00:00AM | 11:00:00AM | 2 Hours | Scheduled | Main Bazar, Basavanna Temple, Housing Board Colony, Sn Pet Are | Mantanance Work
| RSD | 110/11KV MUSS Kampli | Kampli Kottal | F4 | 16.03.2022 | Urban | 10:00:00AM | 12:00:00PM | 2 Hours | Scheduled | Vinayaka Nagara, Idira Nagara, Sanapura Road, Kottal Road | DTC Wiring
| RSD | 110/11KV MUSS Kampli | Industrial | F3 | 18.03.2022 | Urban | 09:00:00AM | 01:00:00PM | 4Hours | Scheduled | Kottal | GOS Mantanance
| RSD | 110/11KV MUSS Kampli | Basaveshwara Nagara | F12 | 21.03.2022 | Urban | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Basaveshwara Nagara, Maruthi Nagara | Line Mantanance
| RSD | 110/11KV MUSS Kampli | Prabhu Camp | F13 | 28.03.2022 | Urban | 10:00:00AM | 12:00:00PM | 2 Hours | Scheduled | Sugar Factory, Prabhu Camp, Huligemma Camp | Line Mantanance
| RSD | 110/11KV MUSS Kamalapura | Kamalapura Town | F12 | 11.03.2022 | Urban | 09:00:00AM | 12:00:00PM | 3 Hours | Scheduled | Kamalapura Town | Jungle Cutting
| RSD | 110/11KV MUSS Kamalapura | Nallapura | F3 | 17.01.2022 | NJY | 09:00:00AM | 12:00:00PM | 3 Hours | Scheduled | Nallapura, Hosa Chinnapura SR Thanda | GOS Mantanance
| RSD | 110/11KV MUSS Kamalapura | Malapanagudi | F2 | 25.03.2022 | Rural | 11:00:00AM | 06:00:00PM | 7 Hours | Scheduled | Hosa Malapanagudi, galemmagudi | Stringing of 11KV Loose Spans
| RSD | 110/11KV MUSS Kamalapura | University | F4 | 28.03.2022 | Rural | 12:00:00AM | 02:00:00PM | 2 Hours | Scheduled | University, Nallapura | GOS Mantanance & Jungle Cutting
| RSD | 110/11KV MUSS Kampli | Vidyapeeta | F6 | 14.03.2022 | NJY | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Ramasagara, Kanavi Thimmalapura | Jungle Cuuting
| RSD | 110/11KV MUSS Kampli | KT Pura | F8 | 15.03.2022 | IP | 07:00:00AM | 10:00:00PM | 3 Houurs | Scheduled | KT Pura Gouramma kere | Jungle Cuuting
| RSD | 110/11KV MUSS Kampli | Belagodhal | F3 | 24.03.2022 | IP | 10:00:00PM | 02:00:00PM | 4 Houurs | Scheduled | Belagodhal | Jungle Cuuting
| RSD | 110/11KV MUSS Sanklapura | Basavanadurga | F5 | 10.03.2022 | NJY | 11:00:00PM | 01:00:00PM | 2 Hours | Scheduled | Kakubalu, GV Gere, Pk Halli & Vaddarahalli | Jungle Cutting
| RSD | 110/11KV MUSS Sanklapura | P.K.Halli | F7 | 18.03.2022 | IP | 10:30:00PM | 12:30:00PM | 1 Hour | Scheduled | Kakubalu, GV Gere, Kallahalli & Rajapura | DTC Mantainance
| RSD | 110/11KV MUSS Sanklapura | B.V.gere | F7 | 20.03.2022 | IP | 10:00:00AM | 11:00:00AM | 1 Hour | Scheduled | Nagenahalli, Hosuru, Basavanadurga, Benakapura | 11KV GOS Mantanance
| RSD | 110/11KV MUSS Kamalapura | Rajapura | F13 | 25.03.2022 | NJY | 11:30:00AM | 12:30:00PM | 1 Hour | Scheduled | PK Halli, Vadrahalli, BV Gere | Stringing of 11KV Loose Spans
| RSD | 110/11KV MUSS Kamalapura | Hostel | F13 | 27.03.2022 | NJY | 10:00:00AM | 1:00:00PM | 3Hours | Scheduled | PK Halli, Vadrahalli, BV Gere , Gadiganuru, Dharmasagara & Bhuvanahalli | Replacement of Damaged Poles
| RSD | 66/11KV Venkatapura | M.M.Halli | F1 | 15.03.2022 | Urban | 9:00:00AM | 11:00:00AM | 2 Hours | Scheduled | M.M.Halli Town & Nandibandi Pumpset | Jungle Cutting & Insulater Manatanance
| RSD | 66/11KV Venkatapura | Thimmalapura | F9 | 16.03.2022 | NJY | 10:00:00PM | 01:00:00PM | 3 Houurs | Scheduled | Garaga, Nagalapura, Pothalakatte & TB Thanda ETC | Stringing of 11KV Loose Spans
| RSD | 66/11KV Venkatapura | Galemmagudi | F2 | 17.03.2022 | NJY | 10:00:00PM | 01:00:00PM | 3 Houurs | Scheduled | Hanumanahalli, Galemmagudi Danapura | GOS Mantanance & Jungle Cutting
| RSD | 66/11KV Venkatapura | Nagalapura | F8 | 22.03.2022 | IP | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Gunda, Byalakundi, DN Kere & Gollarahalli | Jungle Cutting
| RSD | 66/11KV Venkatapura | Chilakanahatti | F6 | 25.03.2022 | IP | 11:00:00AM | 01:00:00PM | 2 Hours | Scheduled | Haruvanahalli, Chilakanahatti, Thimmalapura & TB Thanda | Jungle Cutting & replacement of Pin Insulater